## Assumptions
Disclaimer: EirGrid has provided this program as an aid to Suppliers and Demand Customers. Although every effort has been made to ensure the accuracy of the material contained in this spreadsheet, complete accuracy cannot be guaranteed. EirGrid cannot accept any responsibility whatsoever for loss or damage occasioned or claimed to have been occasioned, in part or in full, as a consequence of any person acting, or refraining from acting, as a result of a matter contained in this spreadsheet.
Demand TUoS Sample Charges
Customer Parameters | Input Assumptions
Charging Period | 01-31 Oct 2009
Supplier | ABC Energy Plc.
Supplier's Customer | XYZ Factory
Connection to
Connection Voltage
Maximum Import Capacity @ exit point * | 5 | if none select "0"
Load Factor * | 72% |  | 1460
Day Load Factor * (Day Hours - 8am to 11pm) | 66% |  | 1000
Highest Metered Demand @ exit point * | 4.5 | required if MIC is "0" | 0.68493
Unauthorised Usage estimate * | 0
Applicable Tariff Schedule | DTS-T
For MIC values in MVa multiply by 0.95 MW/MVa
* input based on demand & consumption at customer location exclusive of application of distribution loss factors
DTS-T per unit charges before VAT** | 6.9177
0.69177
DTS-T per unit charges after VAT** | 8.4051
0.84051
**based on customer consumption before distribution loss adjustment if applicable
Disclaimer: EirGrid has provided this program as an aid to Suppliers and Demand Customers. Although every effort has been made to ensure the accuracy of the material contained in this spreadsheet, complete accuracy cannot be guaranteed. EirGrid cannot accept any responsibility whatsoever for loss or damage occasioned or claimed to have been occasioned, in part or in full, as a consequence of any person acting, or refraining from acting, as a result of a matter contained in this spreadsheet.
Note on B14: Peak is assumed to occur during Day Hours. Day Hours DLAF is applied to the value to determine the HMD at the grid exit point.
Note on B15: Peak is assumed to occur during Day Hours. Day Hours DLAF is applied to the value to determine the unauthorised usage at the grid exit point.

## DTS-T
EXAMPLE CHARGES: TARIFF SCHEDULE DTS-T
Customer Parameters | Input Assumptions
Tariffs approved by the CER effective | October 1st 2009
Charging Period | 01-31 Oct 2009
Supplier | ABC Energy Plc.
Supplier's Customer | XYZ Factory
Connection Voltage | 110 kV or higher
Connection to | Transmission System
Maximum Import Capacity @ exit point * | 5
Load Factor * | 72%
Day Load Factor * (Day Hours - 8am to 11pm) | 66%
Highest Metered Demand @ exit point * | 4.5
Day Hours in month | 456.25
Total Average Hours in Month | 730
Day Time Metered Energy Transferred | 1355.0625
Total Metered Energy Transferred | 2365.2
Charge Calculation | Values
€ Euro
(a) Network Capacity Charge | 5647.41 | Terms and values used to find the "Charging Capacity"
MIC | 5 | 5 | MIC
Network Capacity Charge Rate (DTS-T) | 1254.98 | 4.5 | Highest Metered Demand
Highest Metered Demand | 4.5 | 4 | 80% of MIC
Charging Capacity | 4.5 | 1 | MIC minus 4 MW
(b) Network Unauthorised Usage Charge | 0
Network Unauthorised Usage Charge Rate | 691.657
Unauthorised Usage | 0
(c) Network Transfer Charge | 4720.7
Network Transfer Charge Rate | 1.9959
Total Metered Energy Transferred | 2365.2
(d) System Services Charge | 5510.92
System Services Charge Rate | 2.33
Total Metered Energy Transferred | 2365.2
(e) Capacity Margin Charge | 482.81
Demand Side Management Charge Rate | 0.3563
Metered Energy Transferred in Day Hours | 1355.0625
Total Account Charges before VAT | 16361.84
VAT | 3517.7956
Total Account Charges after VAT | 19879.6356
DTS-T per unit charges before VAT | 6.9177
0.69177
DTS-T per unit charges total | 8.4051
0.84051
Disclaimer: EirGrid has provided this program as an aid to Suppliers and Demand Customers. Although every effort has been made to ensure the accuracy of the material contained in this spreadsheet, complete accuracy cannot be guaranteed. EirGrid cannot accept any responsibility whatsoever for loss or damage occasioned or claimed to have been occasioned, in part or in full, as a consequence of any person acting, or refraining from acting, as a result of a matter contained in this spreadsheet.

## DTS-D1
EXAMPLE CHARGES: TARIFF SCHEDULE DTS-D1
Customer Parameters | Input Assumptions
Tariffs approved by the CER effective | October 1st 2009
Charging Period
Supplier
Supplier's Customer
Connection Voltage | 110 kV or higher
Connection to | Transmission System
Maximum Import Capacity @ exit point * | 5
Load Factor * | 72%
Day Load Factor * (Day Hours - 8am to 11pm) | 66%
Highest Metered Demand @ exit point * | 4.5
Day Hours in month | 456.25
Total Average Hours in Month | 730
Day Time Metered Energy Transferred | 1355.0625
Total Metered Energy Transferred | 2365.2
Distribution Loss Factor - Day Hours | 1
Distribution Loss Factor - Night Hours | 1
Adjusted Day Hours Metered Energy Transfer | 1355.0625
Adjusted Nights Hours Metered Energy Transfer | 1010.1375
Adjusted Total Hours Metered Energy Transfer | 2365.2
Charge Calculation | Values
€ Euro
(a) Network Capacity Charge | 0 | Terms and values used to find the "Charging Capacity"
MIC | 5 | 5 | MIC x HADLAF
Network Capacity Charge Rate (DTS-D1) | 0 | 4.5 | Highest Metered Demand x HADLAF
Highest Metered Demand | 4.5 | 4 | 80% of MIC x HADLAF
Charging Capacity | 4.5 | 1 | MIC x HADLAF minus 4 MW
(b) Network Transfer Charge | 0
Network Transfer Charge Rate | 0
Total Metered Energy Transferred | 2365.2
(c) System Services Charge | 0
System Services Charge Rate | 0
Total Metered Energy Transferred | 2365.2
(d) Capacity Margin Charge | 0
Demand Side Management Charge Rate | 0
Metered Energy Transferred in Day Hours | 1355.0625
Total Account Charges before VAT | 0
VAT | 0
Total Account Charges after VAT | 0
DTS-D1 per unit charges before VAT (based on customer consumption before loss adjustment) | 0
0
DTS-D1 per unit charges after VAT (based on customer consumption before loss adjustment) | 0
0
* input based on demand & consumption at customer location exclusive of application of distribution loss factors
Disclaimer: EirGrid has provided this program as an aid to Suppliers and Demand Customers. Although every effort has been made to ensure the accuracy of the material contained in this spreadsheet, complete accuracy cannot be guaranteed. EirGrid cannot accept any responsibility whatsoever for loss or damage occasioned or claimed to have been occasioned, in part or in full, as a consequence of any person acting, or refraining from acting, as a result of a matter contained in this spreadsheet.

## DTS-D2
EXAMPLE CHARGES: TARIFF SCHEDULE DTS-D2
Customer Parameters | Input Assumptions
Tariffs approved by the CER effective | October 1st 2009
Charging Period
Supplier
Supplier's Customer
Connection Voltage | 110 kV or higher
Connection to | Transmission System
Maximum Import Capacity @ exit point * | 5
Load Factor * | 72%
Day Load Factor * (Day Hours - 8am to 11pm) | 66%
Highest Metered Demand @ exit point * | 4.5
Day Hours in month | 456.25
Total Average Hours in Month | 730
Day Time Metered Energy Transferred | 1355.0625
Total Metered Energy Transferred | 2365.2
Distribution Loss Factor - Day Hours | 1
Distribution Loss Factor - Night Hours | 1
Adjusted Day Hours Metered Energy Transfer | 1355.0625
Adjusted Nights Hours Metered Energy Transfer | 1010.1375
Adjusted Total Hours Metered Energy Transfer | 2365.2
Charge Calculation | Values
€ Euro
(a) Network Capacity Charge | 0
Network Capacity Charge Rate (DTS-D2) | 0
Metered Energy Transferred in Day Hours | 1355.0625
(b) Network Transfer Charge | 0
Network Transfer Charge Rate | 0
Total Metered Energy Transferred | 2365.2
(c) System Services Charge | 0
System Services Charge Rate | 0
Total Metered Energy Transferred | 2365.2
(d) Capacity Margin Charge | 0
Demand Side Management Charge Rate | 0
Metered Energy Transferred in Day Hours | 1355.0625
Total Account Charges before VAT | 0
VAT | 0
Total Account Charges after VAT | 0
DTS-D2 per unit charges before VAT (based on customer consumption before loss adjustment) | 0
0
DTS-D2 per unit charges after VAT (based on customer consumption before loss adjustment) | 0
0
* input based on demand & consumption at customer location exclusive of application of distribution loss factors
Disclaimer: EirGrid has provided this program as an aid to Suppliers and Demand Customers. Although every effort has been made to ensure the accuracy of the material contained in this spreadsheet, complete accuracy cannot be guaranteed. EirGrid cannot accept any responsibility whatsoever for loss or damage occasioned or claimed to have been occasioned, in part or in full, as a consequence of any person acting, or refraining from acting, as a result of a matter contained in this spreadsheet.

## Tariff Rates & Loss Factors
Tariff Parameters | Value € | DLAF TABLE
Network Capacity Charge Rate (DTS-T) | 1254.98 | LU | DAY | NIGHT | VOLTAGE LEVEL
Network Capacity Charge Rate (DTS-D1) | 1053.1217 | 1 | 1 | 1 | 110 kV or higher
Network Capacity Charge Rate (DTS-D2) | 4.3337 | 2 | 1.019 | 1.016 | 38 kV
Network Unauthorised Usage Charge Rate | 691.657 | 3 | 1.043 | 1.036 | MV (10/20kV)
Network Transfer Charge Rate | 1.9959 | 4 | 1.092 | 1.078 | LV (<10 kV)
System Services Charge Rate | 2.33 | 1 | Box 3 Output
Demand Side Management Charge Rate | 0.3563
Tariff Effective Date | October 1st 2009 | VAT |  | LU | TARIFF | VALID
|  | 21.5% |  | 0 | DTS-D2 | 0
|  |  |  | 1 | DTS-T | 1
|  |  |  | 2 | DTS-D1 | 0
|  |  |  | 1 | DTS-T
|  |  |  | LU | CONN TO
|  |  |  | 1 | Transmission System
|  |  |  | 2 | Distribution System
|  |  |  | 1 | Box 2 Output