## Cover Sheet
Demand Side Unit MW Capacity and System Services Application Form for 3 letter codeDSU 41MW

## Scope
Scope of Works to be undertaken by DSU
To be provided by the DSU (summary of what they wish to do undertake as part of this application)
1. Overview of works that are being carried out, E.G scope of changes, impact of changes etc
This will then be communicated internally within EirGrid and used as refernence throughout the testing process
2. Summary of changing parameters E.G 4 units transfering and 2 new units or system services only
3. Tests needed are - Aggregate test, speed of response test or signal updates.
Overview
Summary of Changing parameters
Tests that are required

## Version History
Version Control
Version | Date | Written by: | Reviewed by: | Approved by: | Description of changes | Change requested by
Template

## Introduction and Notes
Recent changes to the Application: New Scope Tab inserted, this tab needs to be completed by DSU New version History Tab, when any updates are needed to original application the version histroy will be updated by DSU Grid Code definition tab has been removed. We have a Link in the General DSU Tab for both NI and EirGirid Grid code for referncing at very bottom of the General DSU Tab for reference. System Services Tab has been removed. General DSU tab 1. Anything highlighted in yellow must be filled in by DSU 2. Cells 14 to 18 are locked for editing , these cells must be completed through the Site specific tab, anything that is highlighted yellow in the General DSU tab and can only be edited through the site specific tab will have a note beside it. 3. Demand Side Unit Notice time and Demand side Unit response time will be per whole DSU and cannot exceed a total of 60mins. Row 21 is locked and is a sumation of these values which will go red if above the 60mins Minimum down time cannot be greater then 30 mins if so this will be highighted red if this rule if breeched Maximum down time must be less then 120 mins or this cell will be highlighted red if this rule if breeched Minimum off time not greater than 2 hours or this cell will be highlighted red if this rule if breeched Row 25 & 26 Ramp up rate and ramp down rate is based on a formula, you cannot enter a number in this cell that is less then 1.667% of demand side unit capacity Any row that is highlighted yellow with no note beside it specifying "edit through site specific" can be edited through the General DSU tab. Row 14 is new and refers to Grid code and compliance. Site Specific Tab 1.Everything Highlighted in Green in this tab must be completed 2.MIC and MEC values are now compulsary to fill in 3. Rows 31 to 40 must not go above Row 14 Maximum available capacity 4. System Services Information is now in the Site specific tab and values must be filled in here to compete the section in the General DSU tab 5. Row 17 Demand side unit capacity cannot go above row 14 (MIC & MEC combined) if this is the case the cell will higlight yellow and the application will be denied. This form specifies the information required by EirGrid and SONI Transmission System Operators for all Demand Side Units. All applications and queries shall be referred to DSU@eirgrid.com and connections@soni.ltd.uk for Ireland and Northern Ireland respectively. All System Services queries shall be referred to DS3@eirgrid.com. Applicants shall complete all questions within this form for which TSO processing timelines apply. The application form shall be submitted for new or existing DSUs based on the technical characteristics of the DSU. Incomplete applications shall not be submitted and will not be processed. Existing DSU Operators that do not proceed with the agreed testing schedule within one month of the application form being deemed complete, will be required to re-submit the application. New and existing applications shall be submitted for any of the following: 1. Amendment of DSU Operating Characteristics. 2. Revisions, changes or updates to the application information. 3. Addition and removal of individual demand sites. 4. Increasing and decreasing DSU MW capacity, System Service capability and individual demand site (IDS) capacity. Standard processing timelines apply for each received application submission. An application is processed in series until an Operational Certificate or System Service compliance status has been achieved. Each application shall include all previous certified application information. Applications are deemed fully complete by the TSO when all the necessary information has been provided to the TSO. Applications may be deemed complex by the TSO which require additional information outside of that included within the application form. Please only include the following: • Individual Demand Sites as per lastest issued Operational Certificate; • New or existing Individual Demand Sites requiring changes as part of this application. Sites with Non Quarter Hour Meters should not be included in this application form as they will not be processed. New DSU applications shall include a signed 'Demand Side Unit System Operator Interface Agreement' and a Signed Grid Code Acknowledgement and Compliance Declaration. For the purpose of this Application Form: • “TSO” is the holder of the licence to operate the Transmission System; • “DSO” is the holder of the licence to operate the Distribution System in Ireland; • “DNO” is the holder of the licence to own the Distribution System in Northern Ireland; • “Applicant” is the company or person representing the Demand Side Unit; • “Application Form” or “Form” is the Demand Side Unit Application Form. Definitions of terms used in this form can be found as applicable in the Glossary of the relevant Grid Code or the DS3 System Service Contract.
The DSU applicant shall note that there are some sections included in this form that are only applicable to one jurisdiction and these are noted within the application. The DSU applicant shall select N/A from the dropdown menu for any questions that are not applicable to the jurisdiction stated in this application. DSU applicants shall apply and register separately as part of the Single Electricity Market and for DS3 System Services contracts. For the application of System Services, a DSU shall be registered within SEM and have completed compliance testing. Individual Demand Sites providing services, shall be registered with a capacity and service to the same DSU and may, where the IDS is providing services only, have a capacity registered as 0MW. IDSs shall not provide services to multiple DSUs. A DSU switchover form maybe submitted in addition to the DSU application form to reduce registration timelines. A DSU switchover forms shall include all relevant operational characteristics information to reduce registration timelines. DSU applicants shall submit with this application an attached picture of the name plate rating for each generator at each Individual Demand Site forming the DSU. Definitions of terms used in this form can be found in the Glossary of the relevant Grid Code or the DS3 System Service Contract. EirGrid and SONI reserve the right to publish the following application details: • Applicant details (contact name, email address, telephone number) • Application received date • Status of application • Location of Demand Side Unit • Demand Side Unit MW Capacity
Individual Demand Sites seeking to transfer registered characteristics between Demand Side Units shall complete the following form and be included within the DSU application. Indivual Demand Sites (IDS) switching Demand Side Unit (DSU) Operators - Statement of Intention to Transfer. | http://www.eirgridgroup.com/site-files/library/EirGrid/Statement_of_Intention_Transfer_Individual_Demand_Site_to_alternative_DSU.docx
Performance Measurement Device Standards for Fast Acting Services installed in agreement with TSO | http://www.eirgridgroup.com/site-files/library/EirGrid/DS3-Performance-Measurement-Device-Standards-for-Fast-Acting-Services.pdf

## General DSU Information
Question | Details of Applicant |  |  |  | Static
1 | Full name of the applicant(s) | Person 1 |  |  |  | No
|  | Person 2 |  |  |  | N/A
2 | Address of the applicant(s) or the registered company address (if applicable) | Person 1 |  |  |  | Yes
Person 2
3 | Telephone Number | Person 1
Person 2
4 | Contact Person(s) for all corespondance | Person 1
Person 2
5 | Company Registration Number | Person 1
Person 2
6 | Email Address | Person 1
Person 2
| General Details |  |  | Comments
7 | Name of DSU unit applying (3 letter ID) |  | 3 letter code
8 | Has the Applicant signed a confidentiality agreement with the TSO (Ireland only)? Only Applicaple to New Units and sent to EirGrid |  | No | If no, two copies must to be submitted with this application form. The Confidentiality Agreement template can be found on the EirGrid website: http://www.eirgridgroup.com/site-files/library/EirGrid/Customer-Confidentiality-Agreement.pdf
9 | Has the applicant informed the DNO (Northern Ireland) or DSO (Ireland) about the intention to operate a DSU made of the Individual Demand Sites listed in this application? if this step is not completed your application will not be processed. |  | No | DSU Operator is obliged to inform the DNO or DSO, whichever is applicable. DNO and DSO written consent is required in advance of provision of System Services. ESBN contact - connections@esb.ie NIE contact - distribution@nie.co.uk DSOgenerators@esb.ie
10 | Have NIE Market Services been informed about the intention to operate a DSU made of the Individual Demand Sites listed in this application? [Northern Ireland applicants only] |  | No | DSU Operator is obliged to inform the DSO marketregistrations@nie.co.uk
11 | Have the balancing market (I-SEM) in Ireland been informed about the intention to operate a DSU made of the Individual Demand Sites listed in this application? [Ireland applicants only] if this step is not completed your application will not be processed. |  | No | DSU Operator is obliged to inform the balancing market BalancingMarketRegistration@sem-o.com
12 | Has the applicant detailed any operating or network limitations enforced by the DNO on the Demand Side Unit (Northern Ireland Only)? |  | Not Completed | If not known at this juncture state "Not available at this point". If No please sepcify why this is the case in detail
13 | Has the applicant detailed any operating or network limitations enforced by the DNO on the Demand Side Unit (Ireland Only)? |  |  | If not known at this juncture state "Not available at this point". If known describe relevant details in "Site Specific Information" tab If No please sepcify why this is the case in detail |  | gridcode@eirgrid.com
14 | Has the applicant confirmed it is not in breach of the Grid Code specifically in reference to clause CC7.4 L,M,N,O – If you find this is not the case and you are unable to comply a derogation application should be submitted to gridcode@eirgrid.com. If any further clarification is needed or information on this is required please inquire via this e-mail address. |  | Not Completed | Please contact : gridcode@eirgrid.com.
14 | Please confirm that all Individual Demand Sites comprising an Aggregated Demand Site are in one currency zone and have a Demand Side Unit MW Capacity of no greater than 10 MW. |  |  | Please specify which sites are not in the currency Zone Please confirm which units are 10MW and above
15 | Technical Details |  |  | Comments
16 | Total Demand Side Unit MW Capacity |  | 41 | Ensure that the total Demand Side Unit MW Capacity of the DSU is greater than or equal to 4 MW. THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
17 | Total Demand Side Unit MW Capacity from on-site generation operated in Shaving Mode or Continuous Parallel Mode (Ireland Only) |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
18 | Total Demand Side Unit MW Capacity available from avoided Demand consumption and on-site Generation operated in Lopping Mode and on-site Generation operated in Standby Mode (Ireland Only) |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
19 | Total Demand Side Unit MW Capacity available from on-site Generation operating as a continuous Synchronous Generating Unit (Northern Ireland Only) |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
20 | Total Demand Side Unit MW Capacity of the Demand Side Unit available from avoided Demand consumption and on-site Generation operating in DSU Short-term Synchronous Operating Mode (Northern Ireland Only) |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
21 | Demand Side Unit Notice Time (as per whole DSU) |  | 0 | The time it takes for the Demand Side Unit to begin ramping to the Demand Side Unit MW Response from receipt of the Dispatch Instruction from the TSO.
22 | Demand Side Unit Ramp Time (as per whole DSU) |  | 0 | The time it takes for the Demand Side Unit to ramp to the Demand Side Unit MW Response per Dispatch Instruction from the TSO.
23 | Demand Side Unit MW Response Time (as per over all DSU) |  | 0 | The time taken by the Demand Side Unit to implement the Demand Side Unit MW Response from receipt of the Dispatch Instruction from the TSO. Tab is an atomatic calculation of cell 24 & 25 (this cell is locked) This shall be 60 minutes or less. If this value exceeds 60 minutes this application shall not be considered valid
24 | Minimum Down Time |  | 0 | cannot be in excess of 30 minutes. If value is above 30 this cell will higlight red
25 | Maximum Down Time |  | 0 | Maximum down time must be 120 minutes or greater. If value is less then 120 this cell will higlight red
26 | Minimum off time of the Demand Side Unit |  | 0 | Minimum off time not greater than 2 hours.
27 | Maximum Ramp Up Rate |  | 0 | The maximum rate of increase in demand reduction of the Demand Side Unit. This must not be less than 1.667% of Demand Side Unit MW Capacity per minute |  | Total MW reduction * (1.667/100) <= Values in Q30&Q31 | 0.68347
28 | Maximum Ramp Down Rate |  |  | The maximum rate of increase in demand reduction of the Demand Side Unit. This must not be less than 1.667% of Demand Side Unit MW Capacity per minute
48 | Has the applicant provided Irish Grid Co-ordinates by answering Question 5 in the "Site Specific Information" tab? |  | Not Completed | If not completed please make sure this is completed as your application will be rejected
50 | Has the DSU applicant completed the tab listing the technical parameters of each Individual Demand Site in the Demand Side Unit ("Site Specific Information" Tab). |  | Not Completed | If not completed please make sure this is completed as your application will be rejected
52 | Has the DSU applicant completed the tab listing the generator information of all generators in the Demand Side Unit ("Site Specific Information" Tab). |  | Completed | If not completed please make sure this is completed as your application will be rejected
54 | Please confirm that the DSU operator is contracted with the latest Infrastructure Agreement if there is already an existing Demand Side Unit |  | Completed | If not completed please make sure this is completed as your application will be rejected
56 | Have details of all Demand loads with Demand reduction capability of 5 MW or greater been provided? |  | Completed | This includes size in MW and demand reduction capability from load. Question 16 of the Site Specific Tab.
29 | Please list all NEW sites (name and MPRN) that are being added to this DSU. (please only include New IDs, NOT IDs currently contracted to another DSU operator) E.G site name and MPRN number, please enter N/A if no new sites |  |  | Ensure that any NEW listed sites are positioned after existing sites within the Site Specific Information tab, Please enter N/A if there is no IDs contracted
30 | Please specify any new sites to be included in this application that are currently contracted to another DSU operator E.G site name and MPRN number, please enter N/A if no sites contracted to another DSU |  |  | Individual Demand Sites switching between Demand Side Units must complete a Statement of Intention to Transfer between Demand Side Units. This document shall be included within this application form if applicable and can be found at the link below Please enter N/A if not applicable http://www.eirgridgroup.com/site-files/library/EirGrid/Statement_of_Intention_Transfer_Individual_Demand_Site_to_alternative_DSU.docx
31 | Please list all EXISTING sites that are changing any technical parameters. E.G chaning TOD values, Frequency, increasing already exsisting MW value E.G site name and MPRN number, |  |  | Please enter N/A if there are no changes
32 | Are any of the sites congested (at any time) or under an instruction set? If so, pleaese list them per name and MPRN Number |  |  | Ensure that all sites that have any congestion periods or under an instrcution set are listed. Please note any restricted sites are not permitted for teting.
| Total value of System services being applied for (Please update Site specific information for Total below to be update) |  | Please Note the below values is a total summary of each IDS in the site specific tab. | Comments
1 | Capacity available for the FFR Service |  | 8 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
2 | Capacity available for the POR Service |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
3 | Capacity available for the SOR Service |  | 78 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
4 | Capacity available for the TOR1 Service |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
5 | Capaacity available for the TOR2 Service |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
6 | Capacity available for the RRS Service |  | 10 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
7 | Capacity available for the RRD Service |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
8 | Capacity available for the RM1 Service |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
9 | Capacity available for the RM3 Service |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
10 | Capacity available for the RM8 Service |  | 0 | THIS CELL IS LOCKED AND CAN ONLY BE EDITED THOUGH THE SITE SPECIFIC TAB
11 | Type of response given by the DSU |  | Dynamic | This the type of response given by the DSU: Dynamic - Unit responds to a frequency event in ten or more discrete steps. Unit output rises and falls along with the frequency. Stepped-Static - Unit responds to a frequency event in less than ten (and more than one) discrete steps. Unit reaches max output and holds for the duration of the event. Unit does not follow frequency rises and falls. Static - Unit triggers at a set frequency and ramps to max output and holds. |  |  | Dynamic
12 | Frequency Trigger On |  | 0 | The Frequency Trigger Point that the DSU is expected to start responding at |  |  | Stepped-Static
13 | Frequency Trigger Range |  | 0 | The frequency range over which the DSU will go from minimum to maximum declared response. |  |  | Static
14 | Frequency Trigger Off |  | 0 | The post-event frequency to which the system frequency must rise to before the DSU will stop responding to the event.
15 | Loiter Time |  | 0 | Time delay that the DSU will continue to respond after F Trigger Off has been reached
16 | Minimum Time Interval |  | 0 | Minimum time duration following ceasing its' response to an event that the DSU will be available to provide a response to another event.
| Please see Site Specific information for all details on all IDs |  | 0
Signature
I (Name of Signee), (Job Title) of (Company) hereby certify that all information provided in this form is correct and accurate. If there are any changes to the information provided herein, we agree to notify you in writing of the change without delay.
Right click below to sign
Signed:
Date:
Grid Code Links:
| http://www.eirgridgroup.com/site-files/library/EirGrid/Grid-Code.pdf | Ireland Grid Code
| http://www.soni.ltd.uk/media/documents/SONI-Grid-Code-8th-October-2020.pdf | SONI Grid Code

## Site Specific Information
Individual IDS inforamtion
| Site No. |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160
1 | Name of Individual Demand Site
2 | Reference name of Individual Demand Site
3 | MPRN
4 | Irish Grid Co-ordinates of Connection Point (Question 32 of the General DSU Tab) | Eastings
Northing
5 | Single Line Diagram Attached with Application - (Northern Ireland Only - see tab for overview)
6 | Classification of operation of each Individual Demand Site when comprising a DSU
7 | Current classification of operation of each Individual Demand Site if different to above
8 | Details of the operating regime of each Individual Demand Site comprising the Demand Side Unit (Northern Ireland Only)
9 | Details of the operating mode of the Generation Units where the Generation Units form part of the Individual Demand Sites operating regime (Northern Ireland Only)
10 | If other mode chosen above in question 9, please specify (Northern Ireland Only)
11 | Is a change required to the current Maximum Export Capacity or Maximum Import Capacity of Individual Demand Sites comprising the Demand Side Unit | [161 empty] | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
12 | Maximum Export Capacity | (MW) | 1: 5; 2: 8; 3: 87; 4: 8; 5: 78; 6: 0
13 | Maximum Import Capacity | (MW) | 1: 4; 2: 9; 3: 4; 4: 9; 5: 78; 6: 0
14 | Maximum Available Capacity |  | 9 | 17 | 91 | 17 | 156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Details of all Demand loads with Demand reduction capability of 5 MW or greater, including: (Question 35 of the General DSU Tab) | Size of Load (MW)
Demand reduction capability from load (MW)
16 | Details of any restrictions to the operation of the Individual Demand Sites in the Demand Side Unit e.g. Northern Ireland Environmental Agency Licence or Planning Conditions (Northern Ireland Only). [If not known at this juncture state "Not available at this point".]
17 | Demand Side Unit MW Capacity (MW) of each Individual Demand Site comprising the Demand Side Unit | (MW) | 1: 23; 2: 18; 3: 0; 4: 0; 5: 0
18 | Demand Side Unit MW Capacity of each Individual Demand Site comprising the DSU available from on-site Generation (MW) operated in Shaving Mode or Continuous Parallel Mode (Ireland Only) |  | 1: 0; 2: 0
19 | Demand Side Unit MW Capacity of each Individual Demand Site comprising the DSU available from on-site Generation (MW) Operating as a continuous Synchronous Generating Unit (nothern Irleand Only) |  | 1: 0; 2: 0
20 | Demand Side Unit MW Capacity of each Individual Demand Site available from avoided Demand consumption (MW) and on-site Generation (MW) operated in Lopping Mode or Automatic Mains Failure Mode and on-site Generation (MW) operated in Standby Mode (Ireland Only) | (MW) | 1: 0; 2: 0
21 | Demand Side Unit MW Capacity of each Individual Demand Site available from avoided Demand consumption (MW) and on-site Generation (MW) operating in DSU Short-term Synchronous Operating Mode (Northern Ireland Only) | (MW) | 1: N/A
22 | Demand Side Unit Notice Time of the Individual Demand Site | (Min)
23 | Demand Side Unit MW Response Time of the Individual Demand Site | (Min)
IDs sepcific System services information
23 | Is this site providing System Services? | [237 empty] | yes
24 | Performance Measurement Device Standards for Fast Acting Services installed in agreement with TSO . | [237 empty] | No
25 | The Trigger Point that the IDS is expected to start responding at (F Trigger On) | (Hz) | 1: n/a
26 | The frequency range over which the IDS will go from minimum to maximum declared response. (F Trigger Range) | (Min Hz - Max Hz)
27 | The frequency at which the IDS will begin to cease responding at. (F Trigger Off) | (Hz)
28 | Time delay to the F Trigger Off characteristic that the IDS will continue to respond for thereafter. (T loiter) | (sec)
29 | Minimum time duration following a response before the IDS will become available to respond again. (T Min Interval) | (sec)
30 | Is there any restrictions at all (Instruction set, congestions. Etc) on the IDS? | Please select one
31 | FFR Capacity | (MW) | 1: 8
32 | POR Capacity | (MW)
33 | SOR Capacity | (MW) | 1: 78
34 | TOR1 Capacity | (MW)
35 | TOR2 Capacity | (MW)
36 | RRS Capacity | (MW) | 1: 10
37 | RRD Capacity | (MW)
38 | RM1 Capacity | (MW)
39 | RM3 Capacity | (MW)
40 | RM8 Capacity | (MW)
| Generator 1 (If applicable) | Please copy all from row 46 to row 119 and paste into row 120 if they are more then 1 generator associated to this DSU.
| Details of all Generation Units per Individual Demand Site used as part of a DSU operating in Continuous Parallel, Shaving Mode and Lopping Mode (Ireland Only) or Non-Synchronous, Short Term Synchronous, Continuous Synchronous or other (Northern Ireland Only) including: | Make
Model
Capacity (MW)
MVA Rating
Fuel Type
Name Plate Rating (attached with application)
Standby Plant (NI Only)
| Generator Protection Settings | Over Frequency Stage 1 Setting (Hz)
Over Frequency Stage 1 Delay (s)
Over Frequency Stage 2 Setting (Hz)
Over Frequency Stage 2 Delay (s)
Over Frequency Stage 3 Setting (Hz)
Over Frequency Stage 3 Delay (s)
Under Frequency Stage 1 Setting (Hz)
Under Frequency Stage 1 Delay (s)
Under Frequency Stage 2 Setting (Hz)
Under Frequency Stage 2 Delay (s)
Under Frequency Stage 3 Setting (Hz)
Under Frequency Stage 3 Delay (s)
Over Voltage Stage 1 Setting (kV)
Over Voltage Stage 1 Delay (s)
Over Voltage Stage 2 Setting (kV)
Over Voltage Stage 2 Delay (s)
Over Voltage Stage 3 Setting (kV)
Over Voltage Stage 3 Delay (s)
Under Voltage Stage 1 Setting (kV)
Under Voltage Stage 1 Delay (s)
Under Voltage Stage 2 Setting (kV)
Under Voltage Stage 2 Delay (s)
Under Voltage Stage 3 Setting (kV)
Under Voltage Stage 3 Delay (s)
RoCoF Setting (Hz/s)
RoCoF Time Delay (s)
Vector Shift Setting (degrees)
Vector Shift Time Delay (s)
Other
| DSO/DNO Loss of Mains Protection Settings (G10, EGIP, G59 etc.) | Over Frequency Stage 1 Setting (Hz)
Over Frequency Stage 1 Delay (s)
Over Frequency Stage 2 Setting (Hz)
Over Frequency Stage 2 Delay (s)
Over Frequency Stage 3 Setting (Hz)
Over Frequency Stage 3 Delay (s)
Under Frequency Stage 1 Setting (Hz)
Under Frequency Stage 1 Delay (s)
Under Frequency Stage 2 Setting (Hz)
Under Frequency Stage 2 Delay (s)
Under Frequency Stage 3 Setting (Hz)
Under Frequency Stage 3 Delay (s)
Over Voltage Stage 1 Setting (kV)
Over Voltage Stage 1 Delay (s)
Over Voltage Stage 2 Setting (kV)
Over Voltage Stage 2 Delay (s)
Over Voltage Stage 3 Setting (kV)
Over Voltage Stage 3 Delay (s)
Under Voltage Stage 1 Setting (kV)
Under Voltage Stage 1 Delay (s)
Under Voltage Stage 2 Setting (kV)
Under Voltage Stage 2 Delay (s)
Under Voltage Stage 3 Setting (kV)
Under Voltage Stage 3 Delay (s)
RoCoF Setting (Hz/s)
RoCoF Time Delay (s)
Vector Shift Setting (degrees)
Vector Shift Time Delay (s)
Other
| Generator Ride Through Capability | Low Frequency (Hz)
High Frequency (Hz)
ROCOF (Hz/s) (calculated over 500 ms)
Is this an existing generator or is this a new generator specifically for use as part of the DSU?
What is the existing operating regime of this generator?
What is the proposed operating regime of the generator when operating as part of a DSU?
What is the existing Circuit Breaker tripped by this generator's Interface Protection settings?
What is the proposed Circuit Breaker to be tripped by this generator's Interface Protection settings when operating as part of a DSU?
Yes
No
Note on B17: Grimes, Jennifer: This row cannot be edited.
Note on B21: Grimes, Jennifer: Yellow means this number doees not add up

## Sheet2 (hidden)
Select from Drop Down List
Avoided Demand consumption only |  | Select from Drop Down List | Select from Drop Down List | Select from Drop Down List
Combination of avoided Demand consumption and Shaving Mode operation of Generation Units | Select from Drop Down List | Avoided Demand consumption only | Avoided Demand consumption only | High Frequency
Combination of avoided Demand consumption and Continuous Parallel Mode operation of Generation Units | Non-Synchronous Generating Unit | Combination of avoided Demand consumption and operation of Generation Units | Combination of avoided Demand consumption and Shaving Mode operation of Generation Units | Low Frequency
Combination of avoided Demand consumption and Lopping Mode operation of Generation Units | Short term Synchronous Generating Unit | Operation of generation units only | Operation of generation units only | Under Voltage
Combination of avoided Demand consumption and Standby Mode operation of Generation Units | Continuous Synchronous Generating Unit | Other | Other | Over Voltage
Combination of avoided Demand consumption and Automatic Mains Failure Mode operation of Generation Units | Other | N/A |  | RoCoF Vector Shift
Shaving Mode operation of Generation Units only | N/A | Select from Drop Down List | Select from Drop Down List | Other
Continuous Parallel Mode operation of Generation Units only | Select from Drop Down List | Confirmed | One Individual Demand Site operating as a DSU (>10MW)
Lopping Mode operation of Generation Units only | DSO/DNO operated interface circuit breaker | Not confirmed | A number of Aggregated sites operating as part of a DSU | Select from Drop Down List
Standby Mode operation of Generation Units only | DSO/DNO Demand Customer main incomer |  |  | Shaving Mode operation of Generation Units only
Automatic Mains Failure Mode operation of Generation Units only | Generation Unit LV circuit breaker |  |  | Continuous Parallel Mode operation of Generation Units only
N/A | Generation Unit HV transformer circuit breaker | Select from Drop Down List | Select from Drop Down List | Lopping Mode operation of Generation Units only
Select from Drop Down List | Other | LV | Existing | Standby Mode operation of Generation Units only
Yes | N/A | MV | New | Automatic Mains Failure Mode operation of Generation Units only
No | Select from Drop Down List | 38kV |  | Non-Synchronous Mode operation of Generation Units only (NI)
N/A | Continuous Parallel |  |  | Short Term Synchronous Mode operation of Generation Units only (NI)
| Peak Reduction (Peak shaving / lopping) |  |  | Continuous Synchronous Mode operation of Generation Units only (NI)
Select from Drop Down List | Standby |  |  | Other
Yes I Agree | N/A
Select from Drop Down List |  | Select from Drop Down List | Select from Drop Down List | Select from Drop Down List
Yes |  | Yes | Completed | Completed
No |  | No | Not Completed | Not Completed
|  | N/A | N/A
Select from Drop Down List
Completed |  |  | Select from Drop Down List
Completed
Select from Drop Down List |  |  | Not Completed
Individual |  |  | Not Available at this point
Aggregated
Select from Drop Down List | Select from Drop Down List
Confirmed | Confirmed
N/A
Select from Drop Down List
Completed
N/A