## Published Table
ECP-2.5 IE Wind & Solar Draft Generation Assumptions Generation < 1 MW has not been modelled as part of the ECP-2.5 Constraint Analysis. This data has been collated using the best information available, however, if any significant discrepancies are noted please immediately contact info@eirgrid.com. Maximum Export Capacity (MEC) has been rounded up for reporting purposes, exact MEC figures have been used within the model. Data freeze date: 31/10/2025. * For the sole purpose of the ECP-2.5 Constraint Analysis, the priority status assumption is based on whether the unit was connected before the date 04/07/2019 – as referenced in Article 12, EU Regulation 2019/943.
Name | Area | Node | Generation Type | System Operator | Connection Status | Processing Type | Maximum Export Capacity (MW) | Controllability Status (Y/N) | priority / not-priority
Meentycat (1) | A | Meentycat | wind | TSO | connected | Pre-Gate | 70.96 | Y | wind priority
Golagh (1) | A | Golagh | wind | TSO | connected | Pre-Gate | 12 | N | wind uncontrolled
Drumlough Hill (2) | A | Trillick | wind | DSO | connected | Pre-Gate | 9.99 | Y | wind priority
Carrane Hill (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 3.4 | N | wind uncontrolled
Beam Hill (1) | A | Trillick | wind | DSO | connected | Pre-Gate | 14 | Y | wind priority
Sorne Hill (1) | A | Sorne Hill | wind | DSO | connected | Pre-Gate | 31.5 | Y | wind priority
Geevagh (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 4.95 | N | wind uncontrolled
Moneenatieve (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 3.96 | N | wind uncontrolled
Altagowlan (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 7.65 | Y | wind priority
Black Banks (2) | A | Corderry | wind | DSO | connected | Pre-Gate | 6.8 | Y | wind priority
Meenanilta (2) | A | Letterkenny | wind | DSO | connected | Pre-Gate | 2.45 | N | wind uncontrolled
Meenanilta (1) | A | Letterkenny | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Meenadreen (1) | A | Cathaleen's Fall | wind | DSO | connected | Pre-Gate | 3.4 | N | wind uncontrolled
Black Banks (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 3.4 | N | wind uncontrolled
Coreen (1) | A | Gortawee | wind | DSO | connected | Pre-Gate | 3 | N | wind uncontrolled
Culliagh (1) | A | Letterkenny | wind | DSO | connected | Pre-Gate | 11.88 | N | wind uncontrolled
Anarget (1) | A | Cathaleen's Fall | wind | DSO | connected | Pre-Gate | 1.98 | N | wind uncontrolled
Crockahenny (1) | A | Trillick | wind | DSO | connected | Pre-Gate | 5 | N | wind uncontrolled
Cark (1) | A | Letterkenny | wind | DSO | connected | Pre-Gate | 15 | N | wind uncontrolled
Kilronan (1) | A | Arigna | wind | DSO | connected | Pre-Gate | 5 | N | wind uncontrolled
Spion Kop (1) | A | Arigna | wind | DSO | connected | Pre-Gate | 1.2 | N | wind uncontrolled
Drumlough Hill (1) | A | Trillick | wind | DSO | connected | Pre-Gate | 4.8 | N | wind uncontrolled
Cronalaght (1) | A | Ardnagappary | wind | DSO | connected | Pre-Gate | 4.98 | N | wind uncontrolled
Corrie Mountain (1) | A | Arigna | wind | DSO | connected | Pre-Gate | 4.8 | N | wind uncontrolled
Kingsmountain (1) | B | Cunghill | wind | TSO | connected | Pre-Gate | 23.75 | Y | wind priority
Cuillalea (1) | B | Castlebar | wind | DSO | connected | Pre-Gate | 3.4 | N | wind uncontrolled
Raheen Barr (1) | B | Castlebar | wind | DSO | connected | Pre-Gate | 18.7 | N | wind uncontrolled
Largan Hill (1) | B | Tonroe | wind | DSO | connected | Pre-Gate | 5.94 | N | wind uncontrolled
Inverin (Knock South) (1) | B | Screebe | wind | DSO | connected | Pre-Gate | 3.3 | N | wind uncontrolled
Bellacorick (1) | B | Bellacorick | wind | DSO | connected | Pre-Gate | 6.45 | Y | wind priority
Carrig (1) | C | Dallow | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Skehanagh (1) | C | Dallow | wind | DSO | connected | Pre-Gate | 4.25 | N | wind uncontrolled
Sonnagh Old (1) | C | Somerset | wind | DSO | connected | Pre-Gate | 7.65 | N | wind uncontrolled
Booltiagh (1) | D | Booltiagh | wind | TSO | connected | Pre-Gate | 19.45 | Y | wind priority
Knockastanna (1) | D | Ardnacrusha | wind | DSO | connected | Pre-Gate | 7.5 | Y | wind priority
Moanmore (1) | D | Tullabrack | wind | DSO | connected | Pre-Gate | 12.6 | N | wind uncontrolled
Coomagearlahy (1) | E | Coomagearlahy | wind | TSO | connected | Pre-Gate | 42.5 | Y | wind priority
Dromdeeveen (1) | E | Glenlara 220kV side | wind | DSO | connected | Pre-Gate | 10.5 | Y | wind priority
Rathcahill (1) | E | Rathkeale | wind | DSO | connected | Pre-Gate | 12.5 | Y | wind priority
Carrigcannon (1) | E | Boggeragh | wind | DSO | connected | Pre-Gate | 20 | Y | wind priority
Ballincollig Hill (1) | E | Tralee | wind | DSO | connected | Pre-Gate | 15 | Y | wind priority
Tournafulla (1) | E | Trien | wind | DSO | connected | Pre-Gate | 7.5 | Y | wind priority
Taurbeg (1) | E | Glenlara | wind | DSO | connected | Pre-Gate | 26 | Y | wind priority
Gneeves (1) | E | Knockearagh | wind | DSO | connected | Pre-Gate | 9.35 | Y | wind priority
Mount Eagle (1) | E | Tralee | wind | DSO | connected | Pre-Gate | 5.1 | N | wind uncontrolled
Tursillagh (2) | E | Tralee | wind | DSO | connected | Pre-Gate | 6.8 | N | wind uncontrolled
Beale Hill (2) | E | Trien | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Beale Hill (1) | E | Trien | wind | DSO | connected | Pre-Gate | 1.65 | N | wind uncontrolled
Tursillagh (1) | E | Tralee | wind | DSO | connected | Pre-Gate | 15 | N | wind uncontrolled
Beenageeha (1) | E | Tralee | wind | DSO | connected | Pre-Gate | 3.96 | N | wind uncontrolled
Ballybane (Glanta Commons) Wind Farm | F | Ballylickey | wind | DSO | connected | Pre-Gate | 19.55 | Y | wind priority
Kilvinane (1) | F | Bandon | wind | DSO | connected | Pre-Gate | 4.85 | N | wind uncontrolled
Lahanaght Hill (1) | F | Dunmanway | wind | DSO | connected | Pre-Gate | 4.25 | N | wind uncontrolled
Kealkil (Curraglass) (1) | F | Ballylickey | wind | DSO | connected | Pre-Gate | 8.5 | N | wind uncontrolled
Coomatallin (1) | F | Dunmanway | wind | DSO | connected | Pre-Gate | 5.95 | Y | wind priority
Milane Hill (1) | F | Dunmanway | wind | DSO | connected | Pre-Gate | 5.94 | N | wind uncontrolled
Currabwee (1) | F | Dunmanway | wind | DSO | connected | Pre-Gate | 4.62 | N | wind uncontrolled
Mountain Lodge (1) | G | Ratrussan | wind | TSO | connected | Pre-Gate | 24.8 | Y | wind priority
Ratrussan (1a) | G | Ratrussan | wind | TSO | connected | Pre-Gate | 48 | Y | wind priority
Carrickallen Wind Farm | G | Shankill | wind | DSO | connected | Pre-Gate | 22 | Y | wind priority
Mountain Lodge (2) | G | Shankill | wind | DSO | connected | Pre-Gate | 3 | N | wind uncontrolled
Gartnaneane (1) | G | Meath Hill | wind | DSO | connected | Pre-Gate | 10.5 | N | wind uncontrolled
Gartnaneane (2) | G | Meath Hill | wind | DSO | connected | Pre-Gate | 4.5 | N | wind uncontrolled
Ballinlough (1) | H1 | Nenagh | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Ballinveny (1) | H1 | Nenagh | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Curraghgraigue (1) | H1 | Nenagh | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Arklow Bank (1) | H2 | Arklow | offshore wind | DSO | connected | Pre-Gate | 25.2 | Y | wind priority
Ballywater (1) | H2 | Ballywater | wind | TSO | connected | Pre-Gate | 31.5 | Y | wind priority
Richfield (1) | H2 | Wexford | wind | DSO | connected | Pre-Gate | 20.25 | Y | wind priority
Cronelea Upper (1) | H2 | Carlow | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Greenoge (1) | H2 | Crane | wind | DSO | connected | Pre-Gate | 4.99 | N | wind uncontrolled
Carnsore (1) | H2 | Wexford | wind | DSO | connected | Pre-Gate | 11.9 | N | wind uncontrolled
Beallough (1) | K | Butlerstown | wind | DSO | connected | Pre-Gate | 1.7 | N | wind uncontrolled
Meentycat (2) | A | Meentycat | wind | TSO | connected | Gate 1 | 14 | Y | wind priority
Killin Hill (1) | A | Binbane | wind | DSO | connected | Gate 1 | 6 | Y | wind priority
Corkermore (1) | A | Binbane | wind | DSO | connected | Gate 1 | 9.99 | Y | wind priority
Meenachullalan (1) | A | Binbane | wind | DSO | connected | Gate 1 | 11.9 | Y | wind priority
Loughderryduff (1) | A | Binbane | wind | DSO | connected | Gate 1 | 7.65 | Y | wind priority
Lurganboy (1) | A | Letterkenny | wind | DSO | connected | Gate 1 | 4.99 | N | wind uncontrolled
Killybegs (1) | A | Binbane | wind | DSO | connected | Gate 1 | 2.55 | N | wind uncontrolled
Lackan (1) | B | Moy | wind | DSO | connected | Gate 1 | 6 | Y | wind priority
Moneypoint WF | E | Moneypoint | wind | TSO | connected | Gate 1 | 17.25 | Y | wind priority
Beenanaspock and Tobertooreen Wind Farm | E | Athea | wind | TSO | connected | Gate 1 | 23.15 | Y | wind not priority
Athea (1)a | E | Athea | wind | TSO | connected | Gate 1 | 34.35 | Y | wind priority
Glanlee (1) | E | Glanlee | wind | TSO | connected | Gate 1 | 29.8 | Y | wind priority
Clahane (1) | E | Clahane | wind | TSO | connected | Gate 1 | 37.8 | Y | wind priority
Muingnaminnane (1) | E | Reamore | wind | DSO | connected | Gate 1 | 15.3 | Y | wind priority
Mount Eagle (2) | E | Tralee | wind | DSO | connected | Gate 1 | 1.7 | N | wind uncontrolled
Knockawarriga (1) | E | Trien 220kV side | wind | DSO | connected | Gate 1 | 22.5 | Y | wind priority
Tournafulla (2) | E | Trien 220kV side | wind | DSO | connected | Gate 1 | 17.2 | Y | wind priority
Coomacheo (1) | E | Garrow | wind | TSO | connected | Gate 1 | 41.225 | Y | wind priority
Mullananalt (1) | G | Meath Hill | wind | DSO | connected | Gate 1 | 7.5 | Y | wind priority
Dunmore (1) | G | Drybridge | wind | DSO | connected | Gate 1 | 1.7 | N | wind uncontrolled
Knocknalour (1) | H2 | Crory | wind | DSO | connected | Gate 1 | 5 | Y | wind priority
Ballycadden (1) | H2 | Crory | wind | DSO | connected | Gate 1 | 14.45 | Y | wind priority
Cronelea (1) | H2 | Carlow | wind | DSO | connected | Gate 1 | 4.99 | Y | wind priority
Richfield (2) | H2 | Wexford | wind | DSO | connected | Gate 1 | 6.75 | Y | wind priority
Mulreavy (Mulreavy (1)) | A | Mulreavy | wind | TSO | connected | Gate 2 | 82 | Y | wind priority
Mulreavy Ext (Croaghnameal (1)) | A | Mulreavy | wind | TSO | connected | Gate 2 | 4.25 | Y | wind priority
Mulreavy Ext (Meenadreen South (1)) | A | Mulreavy | wind | TSO | connected | Gate 2 | 3.6 | Y | wind priority
Garvagh - Glebe (1a) | A | Garvagh | wind | TSO | connected | Gate 2 | 26 | Y | wind priority
Garvagh - Tullynahaw (1c) | A | Garvagh | wind | TSO | connected | Gate 2 | 22 | Y | wind priority
Sorne Hill Single Turbine (Enros) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 2.3 | N | wind uncontrolled
Three Trees (1) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 4.25 | N | wind uncontrolled
Tullynamoyle 3 (Carrane Hill merged capacity) | A | Corderry | wind | DSO | connected | Gate 2 | 1.598 | N | wind uncontrolled
Meenanilta (3) | A | Letterkenny | wind | DSO | connected | Gate 2 | 3.4 | N | wind uncontrolled
Tullynamoyle (1) | A | Corderry | wind | DSO | connected | Gate 2 | 9 | Y | wind priority
Seltanaveeny (1) | A | Arigna | wind | DSO | connected | Gate 2 | 4.6 | N | wind uncontrolled
Shannagh (1) previously Kilcar | A | Binbane | wind | DSO | connected | Gate 2 | 2.55 | N | wind uncontrolled
Flughland (1) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 9.2 | Y | wind priority
Meenkeeragh (1) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 4.2 | N | wind uncontrolled
Glackmore Hill (2) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 1.4 | N | wind uncontrolled
Sorne Hill (2) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 7.4 | Y | wind priority
Kingsmountain (2) | B | Cunghill | wind | TSO | connected | Gate 2 | 11.05 | Y | wind priority
Raheen Barr extension (was Derrynadivva extension) | B | Castlebar | wind | DSO | connected | Gate 2 | 6.8 | Y | wind not priority
Bunnyconnellan (1) | B | Glenree | wind | DSO | connected | Gate 2 | 28 | Y | wind not priority
Cloonlusk (1) | B | Cloon | wind | DSO | connected | Gate 2 | 4.25 | N | wind uncontrolled
Roosky (1) | B | Tonroe | wind | DSO | connected | Gate 2 | 3.6 | N | wind uncontrolled
Carrowleagh (1) | B | Glenree | wind | DSO | connected | Gate 2 | 34.15 | Y | wind priority
Lenanavea (Burren) Wind Farm | B | Castlebar | wind | DSO | connected | Gate 2 | 4.65 | N | wind uncontrolled
Cuillalea (2) | B | Castlebar | wind | DSO | connected | Gate 2 | 1.59 | N | wind uncontrolled
Mace Upper (1) | B | Dalton | wind | DSO | connected | Gate 2 | 2.55 | N | wind uncontrolled
Derrynadivva Wind Farm (prev. Raheen Bar 2) | B | Castlebar | wind | DSO | connected | Gate 2 | 8.5 | Y | wind priority
Leabeg (1) | C | Dallow | wind | DSO | connected | Gate 2 | 4.25 | N | wind uncontrolled
Skrine (1) | C | Lanesboro | wind | DSO | connected | Gate 2 | 4.6 | N | wind uncontrolled
Knockalassa (formerly Keelderry) | D | Slievecallan | wind | TSO | connected | Gate 2 | 26.875 | Y | wind priority
Booltiagh (2) | D | Booltiagh | wind | TSO | connected | Gate 2 | 12 | Y | wind priority
Boolinrudda (formerly Loughaun North) | D | Slievecallan | wind | TSO | connected | Gate 2 | 45 | Y | wind priority
Mauricetown (Glenduff) Wind Farm | E | Glenlara 220kV side | wind | DSO | connected | Gate 2 | 13.8 | Y | wind not priority
Knocknagashel Wind (Cloghboola (1)) | E | Cloghboola | wind | TSO | connected | Gate 2 | 46 | Y | wind priority
Knockacummer (1) | E | Knockacummer | wind | TSO | connected | Gate 2 | 105 | Y | wind priority
Boggeragh (1) | E | Boggeragh | wind | TSO | connected | Gate 2 | 57 | Y | wind priority
Coomagearlahy (3) | E | Coomagearlahy | wind | TSO | connected | Gate 2 | 30 | Y | wind priority
Coomacheo (2) | E | Garrow | wind | TSO | connected | Gate 2 | 18 | Y | wind priority
Coomagearlahy (2) | E | Coomagearlahy | wind | TSO | connected | Gate 2 | 8.5 | Y | wind priority
Esk (1) | E | Boggeragh | wind | DSO | connected | Gate 2 | 5.95 | Y | wind not priority
Knockawarriga Extension (Glenduff & Caherlevoy) | E | Trien 220kV side | wind | DSO | connected | Gate 2 | 6.6 | Y | wind not priority
Cloghanaleskirt (1) | E | Cloghboola | wind | DSO | connected | Gate 2 | 12.55 | Y | wind priority
Glanaruddery 1 (formerly Dromadda More Wind Farm) | E | Cloghboola | wind | DSO | connected | Gate 2 | 20 | Y | wind priority
Coollegrean (1) | E | Cordal | wind | DSO | connected | Gate 2 | 18.5 | Y | wind priority
Scartaglen (1) | E | Cordal | wind | DSO | connected | Gate 2 | 35.45 | Y | wind priority
Beale Hill (3) | E | Trien | wind | DSO | connected | Gate 2 | 1.3 | N | wind uncontrolled
Knocknagoum (1) | E | Reamore | wind | DSO | connected | Gate 2 | 42.55 | Y | wind priority
Knockaneden (1) | E | Oughtragh | wind | DSO | connected | Gate 2 | 9 | Y | wind priority
Clydaghroe (1) | E | Garrow | wind | DSO | connected | Gate 2 | 4.99 | N | wind uncontrolled
Caherdowney (1) | E | Garrow | wind | DSO | connected | Gate 2 | 10 | Y | wind priority
Dromdeeveen (2) | E | Glenlara 220kV side | wind | DSO | connected | Gate 2 | 16.5 | Y | wind priority
Grouse Lodge (1) | E | Rathkeale | wind | DSO | connected | Gate 2 | 15 | Y | wind priority
Carrons (1) | E | Rathkeale | wind | DSO | connected | Gate 2 | 4.99 | N | wind uncontrolled
WEDcross (1) | E | Knockearagh | wind | DSO | connected | Gate 2 | 4.5 | N | wind uncontrolled
Killaveenoge Windfarm (Derryvacorneen merge with Barrboy Windfarm) | F | Dunmanway | wind | DSO | connected | Gate 2 | 17 | Y | wind priority
Garranereagh (1) | F | Bandon | wind | DSO | connected | Gate 2 | 8.75 | Y | wind priority
Bawnmore (1) formerly Burren (Cork) | F | Macroom | wind | DSO | connected | Gate 2 | 24 | Y | wind priority
Ballybane 2 (Glanta Commons) Wind Farm | F | Ballylickey | wind | DSO | connected | Gate 2 | 8.4 | Y | wind priority
Reenascreena (1) | F | Dunmanway | wind | DSO | connected | Gate 2 | 4.5 | N | wind uncontrolled
Mountain Lodge (3) | G | Ratrussan | wind | TSO | connected | Gate 2 | 5.82 | Y | wind priority
Dunmore (2) | G | Drybridge | wind | DSO | connected | Gate 2 | 1.8 | N | wind uncontrolled
Lisheen (1a) | H1 | Lisheen | wind | TSO | connected | Gate 2 | 23 | Y | wind priority
Lisheen (1) | H1 | Lisheen | wind | TSO | connected | Gate 2 | 36 | Y | wind priority
Cappawhite B | H1 | Cauteen | wind | DSO | connected | Gate 2 | 13.18 | Y | wind priority
Cappawhite A Wind Farm (Gate 2) | H1 | Cauteen | wind | DSO | connected | Gate 2 | 2.92 | Y | wind priority
Holyford (1) | H1 | Cauteen | wind | DSO | connected | Gate 2 | 9 | Y | wind priority
Garracummer (1) | H1 | Cauteen | wind | DSO | connected | Gate 2 | 36.9 | Y | wind priority
Templederry (1) | H1 | Nenagh | wind | DSO | connected | Gate 2 | 3.9 | N | wind uncontrolled
Curraghgraigue (2) | H1 | Nenagh | wind | DSO | connected | Gate 2 | 2.44 | N | wind uncontrolled
Glenough (1) | H1 | Cauteen | wind | DSO | connected | Gate 2 | 33 | Y | wind priority
Slievereagh (1) | H1 | Tipperary | wind | DSO | connected | Gate 2 | 3 | N | wind uncontrolled
Ballywater (2) | H2 | Ballywater | wind | TSO | connected | Gate 2 | 10.5 | Y | wind priority
Castledockrell (3) | H2 | Castledockrell | wind | TSO | connected | Gate 2 | 3.3 | Y | wind priority
Castledockrell (4) | H2 | Castledockrell | wind | TSO | connected | Gate 2 | 16.1 | Y | wind priority
Kilbranish (1) | H2 | Crane | wind | DSO | connected | Gate 2 | 2.5 | Y | wind priority
Ballyduff (1) | H2 | Crory | wind | DSO | connected | Gate 2 | 4 | N | wind uncontrolled
Ballynancoran (1) | H2 | Crory | wind | DSO | connected | Gate 2 | 4 | N | wind uncontrolled
Gibbet Hill (1) | H2 | Crory | wind | DSO | connected | Gate 2 | 14.8 | Y | wind priority
Ballaman formerly (Kennystown) (1) | H2 | Crory | wind | DSO | connected | Gate 2 | 3.6 | N | wind uncontrolled
Ballymartin (1) | H2 | Waterford | wind | DSO | connected | Gate 2 | 6 | Y | wind priority
Gortahile (1) | H2 | Carlow | wind | DSO | connected | Gate 2 | 21 | Y | wind priority
Cronelea (2) | H2 | Carlow | wind | DSO | connected | Gate 2 | 4.5 | Y | wind priority
Cronelea Upper (2) | H2 | Carlow | wind | DSO | connected | Gate 2 | 1.7 | N | wind uncontrolled
Castledockrell (1) | H2 | Castledockrell | wind | TSO | connected | Gate 2 | 20 | Y | wind priority
Castledockrell (2) | H2 | Castledockrell | wind | TSO | connected | Gate 2 | 2 | Y | wind priority
Rahora (1) | H2 | Waterford | wind | DSO | connected | Gate 2 | 4.25 | N | wind uncontrolled
Pluckanes (1) | I | Kilbarry | wind | DSO | connected | Gate 2 | 0.85 | N | wind uncontrolled
Crocane (1) | I | Midleton | wind | DSO | connected | Gate 2 | 1.7 | N | wind uncontrolled
Dromada (1) | E | Dromada | wind | TSO | connected | Gate 2 | 28.5 | Y | wind priority
Martinstown Solar formerly Crowinstown Great wind | G | Navan | solar | DSO | due to connected | Gate 2 | 4.999 | Y | solar not priority
Mulreavy Ext (Meenadreen South (2)) | A | Mulreavy | wind | TSO | connected | Gate 3 | 5.4 | Y | wind priority
Clogheravaddy Wind Farm (Phase 2) | A | Binbane | wind | DSO | connected | Gate 3 | 10.8 | Y | wind not priority
Clogheravaddy Wind Farm (Phase 1) | A | Binbane | wind | DSO | connected | Gate 3 | 9.2 | Y | wind not priority
Derrysallagh Wind Farm (Formerly Kilronan 2) | A | Garvagh | wind | DSO | connected | Gate 3 | 34 | Y | wind not priority
Cronalaght (2) | A | Ardnagappary | wind | DSO | connected | Gate 3 | 17.96 | Y | wind not priority
Corvin Wind Turbine | A | Sorne Hill | wind | DSO | connected | Gate 3 | 2.1 | N | wind uncontrolled
Meenaward | A | Trillick | wind | DSO | connected | Gate 3 | 6.9 | Y | wind priority
Tullynamoyle 2 Wind Farm | A | Corderry | wind | DSO | connected | Gate 3 | 10.225 | Y | wind priority
Tullynamoyle Wind Farm 3 (Formerly Geevagh 2) | A | Corderry | wind | DSO | connected | Gate 3 | 11.98 | Y | wind priority
Cooly (1) | A | Trillick | wind | DSO | connected | Gate 3 | 4 | N | wind uncontrolled
Spaddan (1) | A | Cathaleen's Fall | wind | DSO | connected | Gate 3 | 17.5 | Y | wind priority
Knockalough (1) | B | Knockranny | wind | TSO | connected | Gate 3 | 33.6 | Y | wind priority
Uggool (1) | B | Uggool | wind | TSO | connected | Gate 3 | 66 | Y | wind priority
Oweninny Power (1) | B | Bellacorick | wind | TSO | connected | Gate 3 | 89 | Y | wind not priority
Seecon (1) | B | Uggool | wind | TSO | connected | Gate 3 | 108 | Y | wind priority
Bunnahowen (1) | B | Bellacorick | wind | DSO | connected | Gate 3 | 2.55 | N | wind uncontrolled
Rossaveel Wind | B | Screebe | wind | DSO | connected | Gate 3 | 3 | N | wind uncontrolled
Killala Wind Farm (Phase 1) | B | Tawnaghmore | wind | DSO | connected | Gate 3 | 19.2 | Y | wind priority
Carrowleagh (2) | B | Glenree | wind | DSO | connected | Gate 3 | 2.65 | Y | wind not priority
Magheramore and Cloontooa (1) | B | Dalton | wind | DSO | connected | Gate 3 | 40.8 | Y | wind priority
Faughary (1) | B | Sligo | wind | DSO | connected | Gate 3 | 6 | Y | wind priority
Carrickeeney (1) | B | Sligo | wind | DSO | connected | Gate 3 | 7.65 | Y | wind priority
Leitir Guingaid & Doire Chrith1 & 2 Merge | B | Salthill | wind | DSO | connected | Gate 3 | 40.9 | Y | wind priority
Sliabh Bawn (1) | C | Sliabh Bawn | wind | TSO | connected | Gate 3 | 58 | Y | wind priority
Meenwaun WF | C | Dallow | wind | DSO | connected | Gate 3 | 9.99 | Y | wind priority
Cahermurphy (1) | D | Booltiagh | wind | DSO | connected | Gate 3 | 6 | Y | wind not priority
Kiltumper | D | Booltiagh | wind | DSO | connected | Gate 3 | 4.99 | N | wind uncontrolled
Lissycasey (1) | D | Booltiagh | wind | DSO | connected | Gate 3 | 13.399 | Y | wind not priority
Boolynagleragh (1) | D | Booltiagh | wind | DSO | connected | Gate 3 | 36.98 | Y | wind not priority
Sorrell Island (prev Glenmore) (1) | D | Booltiagh | wind | DSO | connected | Gate 3 | 24 | Y | wind not priority
Tullabrack (1) | D | Tullabrack | wind | DSO | connected | Gate 3 | 13.8 | Y | wind priority
Carrownawelaun (1) | D | Tullabrack | wind | DSO | connected | Gate 3 | 4.6 | N | wind uncontrolled
Clahane (2) | E | Clahane | wind | TSO | connected | Gate 3 | 13.8 | Y | wind priority
Boggeragh 2 | E | Boggeragh | wind | TSO | connected | Gate 3 | 65.7 | Y | wind priority
Grousemount WF | E | Coomataggart | wind | TSO | connected | Gate 3 | 114.2 | Y | wind not priority
Esk Wind Farm (sub metered Gneeves 2 Merge) | E | Boggeragh | wind | DSO | connected | Gate 3 | 5.4 | Y | wind not priority
Boolard Wind Farm (Charlevile) | E | Charleville | wind | DSO | connected | Gate 3 | 4.45 | N | wind uncontrolled
Cleanrath (1) | E | Coomataggart | wind | DSO | connected | Gate 3 | 42.64 | Y | wind not priority
Glantaunyalkeen Windfarm( Cloghboola (2) Ext) | E | Cloghboola | wind | DSO | connected | Gate 3 | 9.999 | Y | wind priority
Rathnacally (1) | E | Charleville | wind | DSO | connected | Gate 3 | 4.45 | N | wind uncontrolled
Glanaruddery 2 (formerly Dromadda More 2) | E | Cloghboola | wind | DSO | connected | Gate 3 | 12 | Y | wind priority
Ballagh (1) | E | Trien | wind | DSO | connected | Gate 3 | 4.6 | N | wind uncontrolled
Gortnacloghy Wind Farm | E | Trien | wind | DSO | connected | Gate 3 | 4.4 | N | wind uncontrolled
Leanamore (1) (formerly Tarbert (1)) | E | Kilpaddoge | wind | DSO | connected | Gate 3 | 18 | Y | wind priority
Curraghderrig (1) | E | Trien | wind | DSO | connected | Gate 3 | 4.5 | N | wind uncontrolled
Scartaglen (2) | E | Cordal | wind | DSO | connected | Gate 3 | 3.8 | Y | wind priority
Castlepook (1) | E | Charleville | wind | DSO | connected | Gate 3 | 33.1 | Y | wind priority
Knocknatallig | E | Charleville | wind | DSO | connected | Gate 3 | 18.3 | Y | wind priority
Kilberehert (1) | E | Charleville | wind | DSO | connected | Gate 3 | 4.799 | N | wind uncontrolled
Kilmeedy (1) | E | Charleville | wind | DSO | connected | Gate 3 | 4.7 | N | wind uncontrolled
Knocknagoum (2) formerly Muingnatee (3) | E | Reamore | wind | DSO | connected | Gate 3 | 1.8 | N | wind uncontrolled
Cordal (1+2) | E | Cordal | wind | TSO | connected | Gate 3 | 89.85 | Y | wind priority
Ballybane 2A (Glanta Commons) Wind Farm Extension | F | Ballylickey | wind | DSO | connected | Gate 3 | 1.55 | Y | wind priority
Ballybane 3 (Glanta Commons) Wind Farm | F | Ballylickey | wind | DSO | connected | Gate 3 | 4.45 | Y | wind priority
Killaveenoge Windfarm (Derryvacorneen merge with Barrboy) | F | Dunmanway | wind | DSO | connected | Gate 3 | 7.8 | Y | wind priority
Ballybane 2A | F | Ballylickey | wind | DSO | connected | Gate 3 | 17.5 | Y | wind priority
Carrigdangan (formerly Barnadivine) | F | Dunmanway | wind | TSO | connected | Gate 3 | 54.3 | Y | wind not priority
Raragh (2) | G | Meath Hill | wind | DSO | connected | Gate 3 | 11.5 | Y | wind not priority
Tullynamalra (1) | G | Meath Hill | wind | DSO | connected | Gate 3 | 2.638 | N | wind uncontrolled
Teevurcher | G | Meath Hill | wind | DSO | connected | Gate 3 | 9 | Y | wind priority
Grove Hill (1) formerly Tullynageer | G | Dundalk | wind | DSO | connected | Gate 3 | 16.1 | Y | wind priority
Collon Wind Power | G | Drybridge | wind | DSO | connected | Gate 3 | 2.3 | N | wind uncontrolled
Kill Hill (1) - phase 1 | H1 | Kill Hill | wind | TSO | connected | Gate 3 | 36 | Y | wind priority
Ballinacurry WF | H1 | Thurles | wind | DSO | connected | Gate 3 | 4.6 | N | wind uncontrolled
An Cnoc | H1 | Thurles | wind | DSO | connected | Gate 3 | 11.5 | Y | wind priority
Gurteen (1) | H1 | Thurles | wind | DSO | connected | Gate 3 | 2.3 | N | wind uncontrolled
Foyle Windfarm | H1 | Thurles | wind | DSO | connected | Gate 3 | 9.6 | Y | wind priority
Ballybay Wind Farm (Tullaroan) | H1 | Thurles | wind | DSO | connected | Gate 3 | 13.8 | Y | wind priority
Cappawhite A | H1 | Cauteen | wind | DSO | connected | Gate 3 | 49.08 | Y | wind priority
Glencarbry (1) | H1 | Cauteen | wind | DSO | connected | Gate 3 | 33 | Y | wind priority
Barranafaddock (1) | H1 | Barrymore | wind | DSO | connected | Gate 3 | 32.4 | Y | wind priority
Garracummer (2) | H1 | Cauteen | wind | DSO | connected | Gate 3 | 1 | Y | wind priority
Slievereagh Wind Farm (2) | H1 | Tipperary | wind | DSO | connected | Gate 3 | 1.6 | N | wind uncontrolled
Bruckana (1) | H1 | Lisheen | wind | DSO | connected | Gate 3 | 39.6 | Y | wind priority
Monaincha Bog Wind Farm | H1 | Ikerrin | wind | DSO | connected | Gate 3 | 35.95 | Y | wind priority
Ballycumber (1) | H2 | Arklow | wind | DSO | connected | Gate 3 | 18 | Y | wind priority
Raheenleagh (1) | H2 | Arklow | wind | DSO | connected | Gate 3 | 35.2 | Y | wind priority
Knocknalour (2) | H2 | Crory | wind | DSO | connected | Gate 3 | 3.95 | N | wind uncontrolled
Ballymartin (2) | H2 | Waterford | wind | DSO | connected | Gate 3 | 8.28 | Y | wind priority
Ballycadden (2) | H2 | Crory | wind | DSO | connected | Gate 3 | 9.762 | Y | wind priority
Mount Lucas (1) | J | Mount Lucas | wind | TSO | connected | Gate 3 | 79.2 | Y | wind priority
Lisdowney (1) | H2 | Ballyragget | wind | DSO | connected | Gate 3 | 9.2 | Y | wind priority
Woodhouse (1) | K | Woodhouse | wind | TSO | connected | Gate 3 | 20 | Y | wind priority
Ballycurreen (1) | K | Dungarvan | wind | DSO | connected | Gate 3 | 4.99 | N | wind uncontrolled
Ardderoo 2 (Formerly Buffy) | B | Knockranny | wind | TSO | connected | Gate 3 | 91.2 | Y | wind not priority
Ardderoo Wind Farm | B | Knockranny | wind | TSO | connected | Gate 3 | 27 | Y | wind not priority
Oweninny Power (2) | B | Bellacorick | wind | TSO | connected | Gate 3 | 83 | Y | wind not priority
Sheskin (1) | B | Bellacorick | wind | DSO | connected | Gate 3 | 32.9 | Y | wind not priority
Knocknamona Wind Farm (Prev. Crohaun) | K | Woodhouse | wind | TSO | due to connected | Gate 3 | 34 | Y | wind not priority
Oriel 1 | G | Oriel 220kV | offshore wind | TSO | due to connected | Gate 3 | 210 | Y | wind not priority
Lettergull (1) | A | Letterkenny | wind | DSO | due to connected | Gate 3 | 20 | Y | wind not priority
Meenachullalan (2) | A | Binbane | wind | DSO | due to connected | Gate 3 | 1.9 | Y | wind not priority
Corvoderry (was Gortnahurra (1)) | B | Bellacorick | wind | DSO | due to connected | Gate 3 | 33.9 | Y | wind not priority
Oweninny 3 (Previously Oweninny 5) | B | Bellacorick | wind | TSO | due to connected | Gate 3 | 50 | Y | wind not priority
Stack's Mountain | E | Reamore | wind | DSO | due to connected | Gate 3 | 25.3 | Y | wind not priority
Derreenacrinnig West (prev Kilvinane 2 WF) | F | Ballylickey | wind | DSO | due to connected | Gate 3 | 5.82 | Y | wind not priority
Coolberrin Wind Farm (formerly Bragan Wind Farm) | G | Lisdrum | wind | DSO | due to connected | Gate 3 | 33.1 | Y | wind not priority
Cureeny (1) | H1 | Killonan | wind | DSO | due to connected | Gate 3 | 84 | Y | wind not priority
Knockadosan Solar (formerly Springfarm Wind Farm) | H2 | Arklow | solar | DSO | due to connected | Gate 3 | 6 | Y | solar not priority
Dooray WF | J | Portlaoise | wind | DSO | due to connected | Gate 3 | 45.001 | Y | wind not priority
Grady Joinery | B | Tonroe | wind | DSO | connected | Non GPA | 2.5 | N | wind uncontrolled
Kelwin Power Plant | E | Kilpaddoge | wind | TSO | connected | Non GPA | 37 | Y | wind priority
Liffey Autoproduction Project | G | Shankill | wind | DSO | connected | Non GPA | 1.6 | N | wind uncontrolled
Liffey Autoproduction Project (extension) | G | Shankill | wind | DSO | connected | Non GPA | 1.417 | N | wind uncontrolled
DePuy | I | Barnahely | wind | DSO | connected | Non GPA | 2.5 | N | wind uncontrolled
Wind Energy Project (Janssen) | I | Barnahely | wind | DSO | connected | Non GPA | 2 | N | wind uncontrolled
Knockglass Solar Farm | F | Macroom | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Hilltown PV | G | Baltrasna | solar | DSO | connected | Non GPA | 9.99 | Y | solar not priority
Ballycullane Solar Park | H2 | Great Island | solar | DSO | connected | Non GPA | 4.99 | Y | solar not priority
Blusheens Solar (1) | H2 | Wexford | solar | DSO | connected | Non GPA | 7.98 | Y | solar not priority
Curraghmartin Solar Park | H2 | Waterford | solar | DSO | connected | Non GPA | 3.99 | Y | solar not priority
Millvale PV | H2 | Ballybeg | solar | DSO | connected | Non GPA | 8 | Y | solar not priority
Hortland PV (from merge Knockanally and Hortland) | J | Dunfirth | solar | DSO | connected | Non GPA | 14 | Y | solar not priority
Featherbed Lane Solar | J | Glasmore | Solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Marlinstown Solar Farm (prev Russellstown) | C | Mullingar | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Barnderg Solar Farm | B | Cloon | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Lisduff Solar Park (Claremorris) | B | Dalton | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Shantallow Solar | B | Shantallow | solar | TSO | due to connected | Non GPA | 35 | Y | solar not priority
Ballycrissane Solar Farm | C | Somerset | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Creevy Solar | C | Lanesboro | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Lisnageeragh Solar Farm | C | Richmond | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Liss Solar Farm (prev Lands at Liss) | C | Mullingar | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Rathleg Solar Farm | C | Carrick on Shannon | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Shannagh Beg Solar Farm | C | Athlone | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Ballinknockane Solar Farm | E | Ballinknockane | solar | TSO | due to connected | Non GPA | 50 | Y | solar not priority
Banemore Solar Farm | E | Clahane | solar | TSO | due to connected | Non GPA | 34 | Y | solar not priority
Crossfield | E | Mallow | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
Dromalour | E | Glenlara | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
Drombeg Solar Park | E | Drombeg | solar | TSO | due to connected | Non GPA | 50 | Y | solar not priority
Maine Solar | E | Oughtragh | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Beaulieu PV | G | Drybridge | solar | DSO | connected | Non GPA | 3.99 | Y | solar not priority
Carrickabane Solar Farm | G | Shankill | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Grangegeeth Solar | G | Drybridge | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Kilkeelan Solar Farm | G | Navan | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Painestown Hill Solar Farm | G | Baltrasna | solar | DSO | connected | Non GPA | 7.14 | Y | solar not priority
Carrick Solar | H1 | Ballydine | solar | DSO | due to connected | Non GPA | 5.8 | Y | solar not priority
Farranlahassery Solar | H1 | Cahir | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Laghtane Solar Farm | H1 | Ahane | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Lisbrien Solar Farm | H1 | Nenagh | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Ballytobin Solar PV | H2 | Kilkenny | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Castlekelly Solar PV Farm | H2 | Kilkenny | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Courtown Solar Farm (previously Coolnastudd) | H2 | Banoge | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Rosspile Solar Farm | H2 | Rosspile | solar | TSO | connected | Non GPA | 95 | Y | solar not priority
Tullabeg Solar Park | H2 | Tullabeg | solar | TSO | connected | Non GPA | 50 | Y | solar not priority
Coolyduff | I | Kilbarry | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
DePuy Synthes Turbine2 | I | Barnahely | wind | DSO | connected | Non GPA | 0.99 | N | wind uncontrolled
Drumgarriff South | I | Kilbarry | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
Leacht Cross Solar | I | Barnahely | solar | DSO | due to connected | Non GPA | 4.95 | Y | solar not priority
Monatooreen Solar | I | Knockraha | solar | TSO | due to connected | Non GPA | 25.7 | Y | solar not priority
Shanagraigue | I | Trabeg | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
Blundelstown | J | Blundelstown | solar | TSO | connected | Non GPA | 60 | Y | solar not priority
Bodenstown Solar Farm | J | Monread | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Bullstown Solar Farm | J | Finglas | solar | DSO | connected | Non GPA | 8.42 | Y | solar not priority
Dunmurry Springs PV | J | Newbridge | solar | DSO | connected | Non GPA | 12 | Y | solar not priority
Gallanstown Solar | J | Gallanstown | solar | TSO | connected | Non GPA | 119 | Y | solar not priority
Harristown Solar PV | J | Harristown | solar | TSO | due to connected | Non GPA | 42.3 | Y | solar not priority
Kerdiffstown PV | J | Monread | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Lehinch Solar Farm | J | Thornsberry | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Loughteague | J | Coolnabacky | solar | TSO | due to connected | Non GPA | 55 | Y | solar not priority
Muinagh Solar Farm | J | Thornsberry | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Shanderry Solar Farm | J | Portlaoise | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Taghadoe Solar Farm | J | Griffinrath | solar | DSO | due to connected | Non GPA | 25 | Y | solar not priority
Threecastles Solar Farm | J | Kilteel | solar | DSO | due to connected | Non GPA | 15 | Y | solar not priority
Timahoe North solar | J | Timahoe | solar | TSO | connected | Non GPA | 70 | Y | solar not priority
Woodstock North Solar Farm | J | Athy | solar | DSO | due to connected | Non GPA | 4.99 | Y | solar not priority
Black Lough (1) | B | Glenree | wind | DSO | connected | ECP-1 | 12.5 | Y | wind not priority
Sorrell Island (Glenmore) WF Ext | D | Booltiagh | wind | DSO | connected | ECP-1 | 8 | Y | wind not priority
ESK Wind Farm Phase 2 | E | Boggeragh | wind | DSO | connected | ECP-1 | 12 | Y | wind not priority
Carrigdangan Wind Farm - Phase 2 | F | Dunmanway | wind | TSO | due to connected | ECP-1 | 13.6 | Y | wind not priority
Cloncreen Wind farm | J | Cushaling | wind | TSO | connected | ECP-1 | 75 | Y | wind not priority
Lenalea Wind Farm | A | Lenalea | wind | TSO | connected | ECP-1 | 30.5 | Y | wind not priority
Cloghan Wind Farm | C | Derrycarney | wind | TSO | connected | ECP-1 | 34 | Y | wind not priority
Taghart (1) | G | Meath Hill | wind | DSO | connected | ECP-1 | 23.06 | Y | wind not priority
Lisheen 3 | H1 | Lisheen | wind | TSO | connected | ECP-1 | 28.8 | Y | wind not priority
Macallian Solar | H2 | Crane | solar | DSO | connected | ECP-1 | 9 | Y | solar not priority
Gorey Solar | H2 | Banoge | solar | DSO | connected | ECP-1 | 4 | Y | solar not priority
Davidstown Solar | H2 | Wexford | solar | DSO | connected | ECP-1 | 4.95 | Y | solar not priority
Lurrig Solar Farm | I | Midleton | solar | DSO | connected | ECP-1 | 3.6 | Y | solar not priority
Currabeha | F | Bandon | solar | DSO | due to connected | ECP-1 | 4.95 | Y | solar not priority
Knockeenbui (1) | F | Dunmanway | wind | DSO | due to connected | ECP-1 | 13.8 | Y | wind not priority
Glen Solar | A | Garvagh | solar | TSO | due to connected | ECP-1 | 40 | Y | solar not priority
Croaghonagh 1 Windfarm (Merged with Carrickalangan) | A | Croaghonagh | wind | TSO | connected | ECP-1 | 139.2 | Y | wind not priority
Mully Graffy Windfarm (Kilgorman) | A | Tievebrack | wind | TSO | due to connected | ECP-1 | 29.9 | Y | wind not priority
Cloonascragh Solar | B | Cloon | solar | DSO | due to connected | ECP-1 | 20 | Y | solar not priority
Dooleeg More (1) | B | Bellacorick | wind | DSO | due to connected | ECP-1 | 2.5 | Y | wind not priority
Firlough TG371 was Carrowleagh-Kilbride DG741 | B | Firlough | wind | TSO | due to connected | ECP-1 | 48.3 | Y | wind not priority
Blackwater Bog Solar 1 | C | Shannonbridge | solar | TSO | due to connected | ECP-1 | 65 | Y | solar not priority
Cleggill Solar Park | C | Richmond | solar | DSO | due to connected | ECP-1 | 8 | Y | solar not priority
Clooncon East Single WTG | C | Athlone | wind | DSO | connected | ECP-1 | 0.9 | N | wind uncontrolled
Rooaun Solar | C | Athlone | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Roxborough | C | Lanesboro | wind | DSO | due to connected | ECP-1 | 4.95 | Y | wind not priority
Tullynally Estate | C | Mullingar | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Crossmore (1) | D | Booltiagh | wind | DSO | connected | ECP-1 | 15 | Y | wind not priority
Dromroe Solar | E | Tralee | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Callatrim South Solar Farm (prev. Kilcawha) | F | Bandon | solar | DSO | due to connected | ECP-1 | 5.95 | Y | solar not priority
Garryndruig | F | Bandon | solar | DSO | due to connected | ECP-1 | 4.95 | Y | solar not priority
Cluide Solar | G | Drybridge | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Friarspark (was Glebe Golf Course) | G | Navan | solar | DSO | connected | ECP-1 | 4 | Y | solar not priority
Gaskinstown Solar Farm | G | Gaskinstown | solar | TSO | connected | ECP-1 | 85 | Y | solar not priority
Gillinstown Solar | G | Garballagh | solar | TSO | connected | ECP-1 | 95 | Y | solar not priority
Willville Solar Park | G | Dundalk | solar | DSO | due to connected | ECP-1 | 3.99 | Y | solar not priority
Ballymacadam (Monraha) Solar PV Farm | H1 | Cahir | solar | DSO | connected | ECP-1 | 21 | Y | solar not priority
Horsepasture Solar Farm (Grian PV) | H1 | Doon | solar | DSO | due to connected | ECP-1 | 8 | Y | solar not priority
Monroe East solar from merge Ballyfowloo Lawclon | H1 | Cahir | solar | DSO | connected | ECP-1 | 8 | Y | solar not priority
Ballyedock | H2 | Great Island | solar | DSO | due to connected | ECP-1 | 12 | Y | solar not priority
Bilboa (1) | H2 | Carlow | wind | DSO | due to connected | ECP-1 | 15 | Y | wind not priority
Kilcarrig Solar PV Farm | H2 | Carlow | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Templerainey East Solar Farm (Ballycooleen) | H2 | Arklow | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Ballynacrusha | I | Cow Cross | solar | DSO | due to connected | ECP-1 | 4.95 | Y | solar not priority
Tead More Solar (Meelshane) | I | Midleton | solar | DSO | due to connected | ECP-1 | 3.95 | Y | solar not priority
Clonfad Solar | J | Clonfad | solar | TSO | due to connected | ECP-1 | 100 | Y | solar not priority
Confey Solar Park | J | Griffinrath | solar | DSO | due to connected | ECP-1 | 15.5 | Y | solar not priority
Drumroe East Solar Farm | K | Dungarvan | solar | DSO | due to connected | ECP-1 | 15 | Y | solar not priority
Foxhall PV | K | Dungarvan | solar | DSO | due to connected | ECP-1 | 3.99 | Y | solar not priority
Keiloge Solar (Prev Coolnagapogue Solar Farm Phase 1) | K | Butlerstown | solar | DSO | due to connected | ECP-1 | 3.95 | Y | solar not priority
Rathnaskilloge | K | Rathnaskilloge | solar | TSO | connected | ECP-1 | 95 | Y | solar not priority
Firgrove | D | Drumline | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Stamullen Solar Park | G | Drybridge | solar | DSO | due to connected | ECP-1 | 3.99 | Y | solar not priority
Middleton solar (Longford) | C | Lanesboro | solar | TSO | due to connected | ECP-2.1 | 56 | Y | solar not priority
Clogheravaddy Wind Farm (Phase 3) | A | Binbane | wind | DSO | connected | ECP-2.1 | 3.6 | Y | wind not priority
Drumlins Park wind | G | Lislea | wind | TSO | connected | ECP-2.1 | 48.8 | Y | wind not priority
Willville Extension Solar Park | G | Dundalk | solar | DSO | due to connected | ECP-2.1 | 1 | Y | solar not priority
Bilboa Wind farm Ext | H2 | Carlow | wind | DSO | due to connected | ECP-2.1 | 6 | Y | wind not priority
Bradán Wind Farm (Killybegs Community Wind Turbine) | A | Binbane | wind | DSO | due to connected | ECP-2.1 | 4.2 | Y | wind not priority
Tullyhaw Community Wind Turbine | A | Gortawee | wind | DSO | due to connected | ECP-2.1 | 4.2 | Y | wind not priority
Tullynamoyle Wind Farm 5 | A | Corderry | wind | DSO | due to connected | ECP-2.1 | 16.35 | Y | wind not priority
Ardderoo wind extension | B | Knockranny | wind | TSO | due to connected | ECP-2.1 | 18 | Y | wind not priority
Claremorris 2 Solar Farm | B | Dalton | solar | DSO | due to connected | ECP-2.1 | 4 | Y | solar not priority
Dooleeg More Ext. | B | Bellacorick | wind | DSO | due to connected | ECP-2.1 | 1.3 | Y | wind not priority
Firlough Wind Farm | B | Firlough | wind | TSO | due to connected | ECP-2.1 | 27.3 | Y | wind not priority
Knockranny wind | B | Knockranny | wind | TSO | due to connected | ECP-2.1 | 47.3 | Y | wind not priority
Templehouse Community Wind Turbine | B | Sligo | wind | DSO | due to connected | ECP-2.1 | 4.08 | Y | wind not priority
Clondardis Solar | C | Shanonagh | solar | TSO | due to connected | ECP-2.1 | 58.6 | Y | solar not priority
Coole wind | C | Mullingar | wind | TSO | due to connected | ECP-2.1 | 88 | Y | wind not priority
Derryadd wind | C | Lanesboro | wind | TSO | due to connected | ECP-2.1 | 90 | Y | wind not priority
WEP Solar Slanemore Mullingar | C | Mullingar | solar | DSO | due to connected | ECP-2.1 | 16.85 | Y | solar not priority
Crossmore (2) | D | Booltiagh | wind | DSO | connected | ECP-2.1 | 10.2 | Y | wind not priority
Dromsallagh Solar | D | Ardnacrusha | solar | DSO | due to connected | ECP-2.1 | 4 | Y | solar not priority
Gortaheera CM2 Windfarm | D | Booltiagh | wind | DSO | due to connected | ECP-2.1 | 3 | Y | wind not priority
Ballylongford Windfarm | E | Drombeg | wind | DSO | due to connected | ECP-2.1 | 25.2 | Y | wind not priority
Coumaclovane Solar Extension | E | Coomagearlahy | solar | TSO | due to connected | ECP-2.1 | 7 | Y | solar not priority
Knocknamork solar | E | Ballyvouskil 220 | solar | TSO | due to connected | ECP-2.1 | 12 | Y | solar not priority
Knocknamork wind | E | Ballyvouskil 220 | wind | TSO | due to connected | ECP-2.1 | 42 | Y | wind not priority
Farrangalway Solar PV Farm | F | Bandon | solar | DSO | due to connected | ECP-2.1 | 4.95 | Y | solar not priority
Friarspark Solar 2 | G | Navan | solar | DSO | due to connected | ECP-2.1 | 2.1 | Y | solar not priority
Kilkeelan Phase 2 Solar Farm | G | Navan | solar | DSO | due to connected | ECP-2.1 | 1.35 | Y | solar not priority
Ballinalard Solar Farm | H1 | Tipperary | solar | DSO | due to connected | ECP-2.1 | 4 | Y | solar not priority
Erkina solar | H1 | Timoney | solar | TSO | due to connected | ECP-2.1 | 66.56 | Y | solar not priority
Farran South | H1 | Barrymore | solar | DSO | due to connected | ECP-2.1 | 15 | Y | solar not priority
Ballymanus Wind Farm | H2 | Arklow | wind | DSO | due to connected | ECP-2.1 | 39.99 | Y | wind not priority
Coolnagloose Community Solar Farm | H2 | Arklow | solar | DSO | due to connected | ECP-2.1 | 0.85 | N | solar uncontrolled
Coppenagh solar | H2 | Carlow | solar | DSO | due to connected | ECP-2.1 | 4.6 | Y | solar not priority
Keatingstown Solar Farm | H2 | Kilkenny | solar | DSO | due to connected | ECP-2.1 | 6 | Y | solar not priority
Loan PV | H2 | Ballyragget | solar | DSO | due to connected | ECP-2.1 | 4.99 | Y | solar not priority
North Arklow Solar | H2 | Arklow | solar | TSO | due to connected | ECP-2.1 | 47 | Y | solar not priority
Parksgrove solar | H2 | Ballyragget | solar | DSO | due to connected | ECP-2.1 | 35 | Y | solar not priority
Pinewoods wind | H2 | Garrintaggart | wind | TSO | due to connected | ECP-2.1 | 49.5 | Y | wind not priority
The Dell Solar | H2 | Crory | solar | DSO | due to connected | ECP-2.1 | 20 | Y | solar not priority
Tracystown Solar | H2 | Wexford | solar | TSO | due to connected | ECP-2.1 | 101.1 | Y | solar not priority
Ballinrea Solar Park | I | Raffeen | solar | TSO | due to connected | ECP-2.1 | 55 | Y | solar not priority
Lysaghtstown Solar | I | Lysaghtstown | solar | TSO | connected | ECP-2.1 | 87 | Y | solar not priority
Cushaling wind (loop into Cushaling - Newbridge) | J | Philipstown | wind | TSO | due to connected | ECP-2.1 | 50 | Y | wind not priority
Drehid wind | J | Mulgeeth | wind | TSO | due to connected | ECP-2.1 | 60 | Y | wind not priority
Clonin North solar | J | Derryiron | solar | TSO | due to connected | ECP-2.1 | 47 | Y | solar not priority
Dysart PV | J | Dunfirth | solar | DSO | due to connected | ECP-2.1 | 17.5 | Y | solar not priority
Moanvane wind | J | Mount Lucas | wind | TSO | connected | ECP-2.1 | 56.4 | Y | wind not priority
Harlockstown Solar (Gallanstown Solar Extension) | J | Gallanstown | solar | TSO | connected | ECP-2.1 | 31.6 | Y | solar not priority
Mainscourt | J | Grange | solar | DSO | due to connected | ECP-2.1 | 39.99 | Y | solar not priority
Yellow River Wind Farm | J | Derryiron | wind | TSO | connected | ECP-2.1 | 101 | Y | wind not priority
Muinagh Solar Farm phase 2 | J | Thornsberry | solar | DSO | due to connected | ECP-2.1 | 1.8 | Y | solar not priority
Cooltubbrid West Solar | K | Dungarvan | solar | DSO | connected | ECP-2.1 | 4 | Y | solar not priority
Kilcannon | K | Dungarvan | solar | DSO | due to connected | ECP-2.1 | 4.95 | Y | solar not priority
Rathlockstown Solar | J | Gallanstown | solar | TSO | due to connected | ECP-2.1 | 18.9 | Y | solar not priority
Clooninagh Wind Farm | B | Cloon | wind | DSO | due to connected | ECP-2.1 | 4.5 | Y | wind not priority
Barnesmore Windfarm Repowering | A | Golagh | wind | TSO | due to connected | ECP-2.2 | 60 | Y | wind not priority
Ballymoneen Solar Park | B | Cashla | solar | TSO | due to connected | ECP-2.2 | 100 | Y | solar not priority
Barnacurragh Solar Park | B | Cloon | solar | TSO | due to connected | ECP-2.2 | 50 | Y | solar not priority
Milltown Community Solar Farm | B | Cloon | solar | DSO | due to connected | ECP-2.2 | 4.99 | Y | solar not priority
Ardnadoman Solar Farm | C | Somerset | solar | DSO | due to connected | ECP-2.2 | 4 | Y | solar not priority
Coole Wind Farm - Extension | C | Mullingar | wind | TSO | due to connected | ECP-2.2 | 9.5 | Y | wind not priority
Derrinlough Wind Farm | C | Stonestown | wind | TSO | connected | ECP-2.2 | 105 | Y | wind not priority
Leamór Community Wind Turbine | C | Dallow | wind | DSO | due to connected | ECP-2.2 | 4.99 | Y | wind not priority
Lissane West Solar Farm | D | Ennis | solar | DSO | due to connected | ECP-2.2 | 18.3 | Y | solar not priority
Manusmore Solar Park | D | Ennis | solar | TSO | due to connected | ECP-2.2 | 60 | Y | solar not priority
Ballyenaghty Solar Park | E | Tralee | solar | DSO | due to connected | ECP-2.2 | 9.9 | Y | solar not priority
Ballyroe Solar | E | Charleville | solar | TSO | due to connected | ECP-2.2 | 120 | Y | solar not priority
Islanduane Solar Farm | E | Limerick | solar | DSO | due to connected | ECP-2.2 | 4.95 | Y | solar not priority
Berrings Solar Farm | F | Macroom | solar | DSO | due to connected | ECP-2.2 | 13.8 | Y | solar not priority
Finnis PV | F | Bandon | solar | DSO | connected | ECP-2.2 | 8.5 | Y | solar not priority
Darthogue Solar Farm | G | Paddock | solar | TSO | due to connected | ECP-2.2 | 47 | Y | solar not priority
Drumman Solar Farm | G | Shankill | solar | DSO | due to connected | ECP-2.2 | 7 | Y | solar not priority
Garballagh2 Solar Farm | G | Garballagh | solar | TSO | due to connected | ECP-2.2 | 48 | Y | solar not priority
Monvallet Hybrid Solar & Battery Farm | G | Louth | solar | TSO | due to connected | ECP-2.2 | 50 | Y | solar not priority
Erkina Solar Park Extension | H1 | Timoney | solar | TSO | due to connected | ECP-2.2 | 90 | Y | solar not priority
Magherareagh Solar PV Farm | H1 | Cahir | solar | DSO | due to connected | ECP-2.2 | 3.3 | Y | solar not priority
Ballinaclough Solar Farm | H2 | Ballybeg | solar | DSO | due to connected | ECP-2.2 | 8.5 | Y | solar not priority
Clashwilliam Solar | H2 | Kilkenny | solar | DSO | due to connected | ECP-2.2 | 44 | Y | solar not priority
Coolboy Solar Farm | H2 | Arklow | solar | DSO | due to connected | ECP-2.2 | 5.99 | Y | solar not priority
Farranrory Wind Farm | H2 | Ballyragget | wind | DSO | due to connected | ECP-2.2 | 45 | Y | wind not priority
Garreenleen Solar Farm | H2 | Kellis | solar | TSO | due to connected | ECP-2.2 | 81 | Y | solar not priority
Johnstown North PV | H2 | Arklow | solar | DSO | due to connected | ECP-2.2 | 22 | Y | solar not priority
Thomastown Road Solar | H2 | Kilkenny | solar | DSO | due to connected | ECP-2.2 | 4 | Y | solar not priority
Tomsallagh Solar | H2 | Effernoge | solar | TSO | due to connected | ECP-2.2 | 50 | Y | solar not priority
Ballyduff PV | I | Midleton | solar | DSO | due to connected | ECP-2.2 | 7 | Y | solar not priority
Ballyvatta Solar Extension | I | Knockraha | solar | TSO | due to connected | ECP-2.2 | 16.3 | Y | solar not priority
Leacht Cross Solar Phase 2 | I | Barnahely | solar | DSO | due to connected | ECP-2.2 | 5 | Y | solar not priority
Ballyboughlin Solar Farm | J | Thornsberry | solar | DSO | due to connected | ECP-2.2 | 14 | Y | solar not priority
East Laois Solar Farm Extension | J | Coolnabacky | solar | TSO | due to connected | ECP-2.2 | 25 | Y | solar not priority
Fieldstown Solar | J | Finglas | solar | TSO | due to connected | ECP-2.2 | 75 | Y | solar not priority
Garr Solar & Storage | J | Derryiron | solar | TSO | due to connected | ECP-2.2 | 85 | Y | solar not priority
Smithstown | J | Griffinrath | solar | DSO | due to connected | ECP-2.2 | 25.3 | Y | solar not priority
Timahoe North Phase 2 Solar Farm | J | Timahoe | solar | TSO | due to connected | ECP-2.2 | 60 | Y | solar not priority
Carriglong Solar Park | K | Butlerstown | solar | DSO | due to connected | ECP-2.2 | 32.7 | Y | solar not priority
Farranmacedmond Solar Farm | K | Waterford | solar | DSO | due to connected | ECP-2.2 | 6 | Y | solar not priority
Poulbautia Solar Farm | K | Dungarvan | solar | DSO | due to connected | ECP-2.2 | 19 | Y | solar not priority
Coppenagh Solar Park Extension | H2 | Carlow | solar | DSO | due to connected | ECP-2.2 | 4.7 | Y | solar not priority
Derrykillew Wind Farm | A | Cathaleen's Fall | wind | DSO | due to connected | ECP-2.2 | 37.5 | Y | wind not priority
Cuilmore Solar Park | C | Athlone | solar | DSO | due to connected | ECP-2.3 | 40 | Y | solar not priority
Carrownagowan Wind Farm | D | Ardnacrusha | wind | TSO | due to connected | ECP-2.3 | 91.2 | Y | wind not priority
Stacks Mountain Wind Farm 2 | E | Reamore | wind | DSO | due to connected | ECP-2.3 | 4.5 | Y | wind not priority
Carrigraigue Solar Extension | E | Boggeragh | solar | TSO | due to connected | ECP-2.3 | 11.75 | Y | solar not priority
Gorman Solar Farm | G | Gorman | solar | TSO | due to connected | ECP-2.3 | 46 | Y | solar not priority
Milltown Solar | G | Balruntagh | solar | TSO | due to connected | ECP-2.3 | 115 | Y | solar not priority
Farran South Solar Phase 2 | H1 | Barrymore | solar | DSO | due to connected | ECP-2.3 | 5.49 | Y | solar not priority
Barnaleen Solar Farm | H1 | Cauteen | solar | TSO | due to connected | ECP-2.3 | 55 | Y | solar not priority
Tullabeg Phase 2 | H2 | Tullabeg | solar | TSO | due to connected | ECP-2.3 | 105 | Y | solar not priority
Lysaghtstown Phase 2 | I | Lysaghtstown | solar | TSO | due to connected | ECP-2.3 | 45 | Y | solar not priority
Fieldstown Solar Farm Ext | J | Finglas | solar | TSO | due to connected | ECP-2.3 | 18.27 | Y | solar not priority
Altcor Wind Farm | A | Binbane | wind | DSO | due to connected | ECP-2.3 | 9 | Y | wind not priority
Drumnahough Wind Farm | A | Lenalea | wind | TSO | due to connected | ECP-2.3 | 72 | Y | wind not priority
Chafhill Wind Farm (prev. Glenree) | B | Glenree | wind | DSO | due to connected | ECP-2.3 | 4.95 | Y | wind not priority
Ballykenny Solar | C | Richmond | solar | DSO | due to connected | ECP-2.3 | 9 | Y | solar not priority
Taduff Solar Park | C | Athlone | solar | TSO | due to connected | ECP-2.3 | 80 | Y | solar not priority
Ballingaddy Solar | D | Ennis | solar | DSO | due to connected | ECP-2.3 | 4.99 | Y | solar not priority
Drombeg Solar Park Phase II (Ballydonohoe) | E | Drombeg | solar | TSO | due to connected | ECP-2.3 | 44 | Y | solar not priority
Shrownowen Windfarm | E | Pollagh | wind | TSO | due to connected | ECP-2.3 | 50 | Y | wind not priority
Kilcurly Solar | G | Dundalk | solar | DSO | due to connected | ECP-2.3 | 44.9 | Y | solar not priority
Reask Solar Farm | G | Paddock | solar | TSO | due to connected | ECP-2.3 | 55 | Y | solar not priority
Gortdrum Solar PV | H1 | Cauteen | solar | DSO | due to connected | ECP-2.3 | 48 | Y | solar not priority
Grian PV Ballyboe | H1 | Ballydine | solar | DSO | due to connected | ECP-2.3 | 12 | Y | solar not priority
Kiloran Solar PV Farm | H1 | Lisheen | solar | TSO | due to connected | ECP-2.3 | 76 | Y | solar not priority
Ballymoney PV | H2 | Arklow | solar | DSO | due to connected | ECP-2.3 | 7.6 | Y | solar not priority
Grangeford Solar PV | H2 | Kellis | solar | TSO | due to connected | ECP-2.3 | 48 | Y | solar not priority
Monart Spa Ground Mount 3 | H2 | Crane | solar | DSO | due to connected | ECP-2.3 | 1.3 | Y | solar not priority
Castlebanny Wind Farm | H2 | Kilvinoge | wind | TSO | due to connected | ECP-2.3 | 136.8 | Y | wind not priority
Barryscourt Solar Farm (Solar) | I | Cow Cross | solar | DSO | due to connected | ECP-2.3 | 8 | Y | solar not priority
Ballyteige Solar Park | J | Thornsberry | solar | TSO | due to connected | ECP-2.3 | 90 | Y | solar not priority
Clonymeath Solar (Solar) | J | Fosterstown | solar | TSO | due to connected | ECP-2.3 | 78.8 | Y | solar not priority
Kilcush Solar Farm | J | Philipstown | solar | TSO | due to connected | ECP-2.3 | 50 | Y | solar not priority
Old Court Solar Farm | J | Timahoe | solar | TSO | due to connected | ECP-2.3 | 90 | Y | solar not priority
Bracklyn Wind Farm (Wind) | J | Bracklyn | wind | TSO | due to connected | ECP-2.3 | 64.8 | Y | wind not priority
Toolestown Solar | J | Maynooth | solar | TSO | due to connected | ECP-2.3 | 50 | Y | solar not priority
Treascon Solar Farm | J | Bracklone | solar | TSO | due to connected | ECP-2.3 | 60 | Y | solar not priority
Pickardstown PV | K | Butlerstown | solar | DSO | due to connected | ECP-2.3 | 8.8 | Y | solar not priority
Cahershaughnessy Solar | D | Ennis | solar | DSO | due to connected | ECP-2.3 | 8.8 | Y | solar not priority
Darthogue Solar Farm Extension | G | Paddock | solar | TSO | due to connected | ECP-2.3 | 70 | Y | solar not priority
Carrigogna Solar | I | Midleton | solar | DSO | due to connected | ECP-2.3 | 10 | Y | solar not priority
Carrowgarve Solar | B | Moy | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4 | Y | solar not priority
Amberhill Community Solar Farm | K | Butlerstown | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4.99 | Y | solar not priority
Cloonbar WF | B | Cloon | wind | DSO | due to connected | ECP-2.3 (Cat C) | 4.99 | Y | wind not priority
Knockreagh Community Solar | E | Oughtragh | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4.4 | Y | solar not priority
Clonmel Renewable Energy Community A | H1 | Doon | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4.99 | Y | solar not priority
LT SolarFruit | J | Finglas | solar | DSO | due to connected | ECP-2.3 (Cat C) | 2.8 | Y | solar not priority
Polecat Community PV | C | Carrick on Shannon | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4.99 | Y | solar not priority
Loughdenee Solar | K | Butlerstown | solar | DSO | due to connected | ECP-2.3 | 9 | Y | solar not priority
Oriel offshore new A | G | Oriel 220kV | offshore wind | TSO | due to connected | Offshore wind | 160 | Y | wind not priority
Arklow Bank Phase 2 A | H2 | Arklow 220kV | offshore wind | TSO | due to connected | Offshore wind | 400 | Y | wind not priority
Arklow Bank Phase 2 B | H2 | Arklow 220kV | offshore wind | TSO | due to connected | Offshore wind | 400 | Y | wind not priority
North Irish Sea Array A | J | Belcamp 220kV | offshore wind | TSO | due to connected | Offshore wind | 250 | Y | wind not priority
North Irish Sea Array B | J | Belcamp 220kV | offshore wind | TSO | due to connected | Offshore wind | 250 | Y | wind not priority
Kish Bank (Dublin Array) | J | Carrickmines 220kV | offshore wind | TSO | due to connected | Offshore wind | 412 | Y | wind not priority
Bray Bank (Dublin Array) | J | Carrickmines 220kV | offshore wind | TSO | due to connected | Offshore wind | 412 | Y | wind not priority
Codling Offshore Wind A | J | Poolbeg north 220kV | offshore wind | TSO | due to connected | Offshore wind | 400 | Y | wind not priority
Codling Offshore Wind B | J | Poolbeg south 220kV | offshore wind | TSO | due to connected | Offshore wind | 450 | Y | wind not priority
Codling Offshore Wind C | J | Poolbeg south 220kV | offshore wind | TSO | due to connected | Offshore wind | 450 | Y | wind not priority
Great Island OWF | H2 | Great Island 220kV | offshore wind | TSO | due to connected | Offshore wind | 378 | Y | wind not priority
Knockraha | I | Knockraha 220kV | offshore wind | TSO | due to connected | Offshore wind | 378 | Y | wind not priority
Sceirde Rocks | E | Moneypoint 220kV | offshore wind | TSO | due to connected | Offshore wind | 450 | Y | wind not priority
Kilrue Solar | G | Paddock | solar | TSO | due to connected | ECP-2.4 | 195 | Y | solar not priority
TULLYNAMOYLE WIND FARM 6 | A | Corderry | Wind | DSO | due to connected | ECP-2.4 | 20.2 | Y | wind not priority
Spion Kop Windfarm Ext. (Ext to DG978) | A | Arigna | Wind | DSO | due to connected | ECP-2.4 | 1.5 | Y | wind not priority
Cronalaght 3 Wind Farm | A | Ardnagappary | Wind | DSO | due to connected | ECP-2.4 | 9 | Y | wind not priority
Ballymoneen Phase 2 | B | Cashla | Solar | TSO | due to connected | ECP-2.4 | 5 | Y | solar not priority
Seven Hills Wind Farm | C | Feamore | Wind | TSO | due to connected | ECP-2.4 | 122.4 | Y | wind not priority
Kilcormac Solar | C | Derrycarney | Solar | TSO | due to connected | ECP-2.4 | 125 | Y | solar not priority
Cloondara Solar Park | C | Richmond | Solar | DSO | due to connected | ECP-2.4 | 4 | Y | solar not priority
Ballykenny Solar Extension | C | Richmond | Solar | DSO | due to connected | ECP-2.4 | 6 | Y | solar not priority
Clondardis Solar Extension | C | Shanonagh | Solar | TSO | due to connected | ECP-2.4 | 11.4 | Y | solar not priority
Leam Windfarm | C | Carrick on Shannon | Wind | DSO | due to connected | ECP-2.4 | 6.9 | Y | wind not priority
Drummin Solar | D | Ardnacrusha | Solar | DSO | due to connected | ECP-2.4 | 35 | Y | solar not priority
Ballycunneen PV | D | Drumline | Solar | DSO | due to connected | ECP-2.4 | 12 | Y | solar not priority
Ballyglass Solar Farm | D | Ardnacrusha | Solar | TSO | due to connected | ECP-2.4 | 80.019 | Y | solar not priority
Ballylongford Solar | E | Pollagh | Solar | TSO | due to connected | ECP-2.4 | 128 | Y | solar not priority
Ballyroe Solar Extension | E | Charleville | Solar | TSO | due to connected | ECP-2.4 | 45 | Y | solar not priority
Sandford Energy Solar Farm Ext. | E | Tralee | Solar | DSO | due to connected | ECP-2.4 | 1.5 | Y | solar not priority
Maine Solar Extension | E | Oughtragh | Solar | DSO | due to connected | ECP-2.4 | 1 | Y | solar not priority
Mill Farm Solar | G | Ricetown | Solar | TSO | due to connected | ECP-2.4 | 63 | Y | solar not priority
Reask Phase 2 | G | Paddock | Solar | TSO | due to connected | ECP-2.4 | 30 | Y | solar not priority
Mullagharoy Solar Farm | G | Drybridge | Solar | DSO | due to connected | ECP-2.4 | 0.99 | Y | solar not priority
Drumgoolan Solar and Battery Farm | G | Louth | Solar | TSO | due to connected | ECP-2.4 | 75 | Y | solar not priority
Coom Green Energy Park | H1 | Barrymore | Wind | TSO | due to connected | ECP-2.4 | 105.6 | Y | wind not priority
Ballyvalode Solar | H1 | Cauteen | Solar | TSO | due to connected | ECP-2.4 | 113 | Y | solar not priority
Knockroe Wind Farm | H1 | Doon | Wind | DSO | due to connected | ECP-2.4 | 33.6 | Y | wind not priority
Barnaleen Solar Phase 2 | H1 | Cauteen | Solar | TSO | due to connected | ECP-2.4 | 35 | Y | solar not priority
White Hill Wind Farm | H2 | Kellymount | Wind | TSO | due to connected | ECP-2.4 | 50 | Y | wind not priority
Garreenleen Solar Farm Phase 2 | H2 | Kellis | Solar | TSO | due to connected | ECP-2.4 | 82 | Y | solar not priority
Tincurry Solar Farm | H2 | Lodgewood | Solar | TSO | due to connected | ECP-2.4 | 109 | Y | solar not priority
Friarstown Solar Farm | H2 | Carlow | Solar | TSO | due to connected | ECP-2.4 | 50 | Y | solar not priority
Golden Forth Solar Park | H2 | Stratford | Solar | DSO | due to connected | ECP-2.4 | 0.999 | Y | solar not priority
JOHNSTOWN SOLAR PARK | H2 | Carlow | Solar | DSO | due to connected | ECP-2.4 | 9.99 | Y | solar not priority
Tullabeg Phase 3 | H2 | Tullabeg | Solar | TSO | due to connected | ECP-2.4 | 30 | Y | solar not priority
Templemichael Solar Plus Storage Facility | H2 | Arklow | Solar | TSO | due to connected | ECP-2.4 | 30 | Y | solar not priority
Ballynahina Solar Farm | I | Kilbarry | Solar | DSO | due to connected | ECP-2.4 | 30 | Y | solar not priority
Coolcarrigan Solar P2 | J | Timahoe | Solar | TSO | due to connected | ECP-2.4 | 120 | Y | solar not priority
Culmullin Solar Farm | J | Arodstown | Solar | TSO | due to connected | ECP-2.4 | 70 | Y | solar not priority
Fieldstown Extension No.2 | J | Finglas | Solar | TSO | due to connected | ECP-2.4 | 60 | Y | solar not priority
Darthogue Solar Farm Ext 2 | J | Gallanstown | Solar | TSO | due to connected | ECP-2.4 | 13.5 | Y | solar not priority
Dernacart Windfarm | J | Bracklone | Wind | TSO | due to connected | ECP-2.4 | 57.6 | Y | wind not priority
Lyrenacarriga Windfarm and BESS | K | Woodhouse | Wind | TSO | due to connected | ECP-2.4 | 85 | Y | wind not priority
Modelligo Solar Farm | K | Dungarvan | Solar | TSO | due to connected | ECP-2.4 | 80 | Y | solar not priority
Ballymac Solar | K | Dungarvan | Solar | TSO | due to connected | ECP-2.4 | 5 | Y | solar not priority
Ardass Solar Ext. | C | Carrick on Shannon | Solar | DSO | due to connected | ECP-2.4 (Cat C) | 4.99 | Y | solar not priority
Brighter Community Solar Farm Kilcummin | E | Knockearagh | Solar | DSO | due to connected | ECP-2.4 (Cat C) | 4.99 | Y | solar not priority
Project GiMAT | G | Fosterstown | Solar | DSO | due to connected | ECP-2.4 (Cat C) | 4.99 | Y | solar not priority
Moy Valley Decarbonising Community CLG | B | Castlebar | Solar | DSO | due to connected | ECP-2.4 (Cat C) | 4.99 | Y | solar not priority
AMS solar | I | Castleview | Solar | DSO | due to connected | ECP-2.4 | 3.49 | Y | solar not priority
Culmullin Solar Farm Ext | J | Arodstown | Solar | TSO | due to connected | ECP-2.5 | 120 | Y | solar not priority
Creggs Solar | B | Cregg | Solar | TSO | due to connected | ECP-2.5 | 75 | Y | solar not priority
Blackhall Solar | J | Arodstown | Solar | TSO | due to connected | ECP-2.5.1 | 165.6 | Y | solar not priority
Inchamore | E | Glanlee | Wind | TSO | due to connected | ECP-2.5.1 | 26 | Y | wind not priority
Ardgoulbeg Solar | E | Rathkeale | Wind | TSO | due to connected | ECP-2.5.1 | 54 | Y | solar not priority
Knockanarragh | G | Balruntagh | Wind | TSO | due to connected | ECP-2.5.1 | 50.4 | Y | wind not priority
Glenard (1) | A | Letterkenny | Wind | TSO | due to connected | ECP-2.5.1 | 93 | Y | wind not priority
Gortyrahilly | E | Coomataggart | Wind | TSO | due to connected | ECP-2.5.1 | 85.8 | Y | wind not priority
Kildallan Solar | C | Shanonagh | Solar | TSO | due to connected | ECP-2.5.1 | 130 | Y | solar not priority
Kilgarvan | E | Coomagearlahy | Wind | TSO | due to connected | ECP-2.5.1 | 10 | Y | wind not priority
Oweninney (3) extension | B | Bellacorick | Wind | TSO | due to connected | ECP-2.5.1 | 40 | Y | wind not priority
Meenawley | A | Binbane | Wind | DSO | due to connected | ECP-2.5 | 4.5 | Y | wind not priority
Sheskin South | B | Bellacorick | Wind | TSO | due to connected | ECP-2.5 | 129.6 | Y | wind not priority
Moyvilla Solar | B | Cashla | Solar | TSO | due to connected | ECP-2.5 | 80 | Y | solar not priority
Kilrue Solar extension | J | Crakenstown | Solar | TSO | due to connected | ECP-2.5.1 | 175 | Y | solar not priority
Kilbeg Solar | B | Dalton | Solar | DSO | due to connected | ECP-2.5 | 12 | Y | solar not priority
Ballymoneen ph3 solar | B | Cashla | Solar | TSO | due to connected | ECP-2.5 | 20 | Y | solar not priority
Moat Solar | C | Athlone | Solar | DSO | due to connected | ECP-2.5 | 10 | Y | solar not priority
Cush | C | Dallow | Wind | TSO | due to connected | ECP-2.5 | 57.6 | Y | wind not priority
Derrycarney solar | C | Derrycarney | Solar | TSO | due to connected | ECP-2.5 | 105 | Y | solar not priority
Lumcloon | C | Derrycarney | Solar | TSO | due to connected | ECP-2.5 | 95 | Y | solar not priority
Rath Solar PV ECP-2.5 | C | Derrycarney | Solar | TSO | due to connected | ECP-2.5 | 120 | Y | solar not priority
Ballydonagh | C | Somerset | Solar | TSO | due to connected | ECP-2.5 | 90 | Y | solar not priority
Fahybeg | D | Ardnacrusha | Wind | DSO | due to connected | ECP-2.5 | 40 | Y | wind not priority
Manusmore Solar 2 | D | Coolshamroge | Solar | TSO | due to connected | ECP-2.5 | 60 | Y | solar not priority
Esk (3) | E | Boggeragh | Solar | DSO | due to connected | ECP-2.5 | 12.7 | Y | solar not priority
Ballinagree | E | Clashavoon | Wind | TSO | due to connected | ECP-2.5 | 112 | Y | wind not priority
Brinny solar non export | F | Bandon | Solar | TSO | due to connected | ECP-2.5 | 8.2 | N | solar uncontrolled
Milltown ph2 solar | G | Balruntagh | solar | TSO | due to connected | ECP-2.5 | 19 | Y | solar not priority
Hawkinstown Solar | G | Deenes | Solar | TSO | due to connected | ECP-2.5 | 85 | Y | solar not priority
Knockumber Solar non export | G | Navan | Solar | TSO | due to connected | ECP-2.5 | 17 | N | solar uncontrolled
Borrisbeg | H1 | Borrisbeg | Wind | TSO | due to connected | ECP-2.5 | 56 | Y | wind not priority
Mothel solar | H1 | Curraghduff | solar | TSO | due to connected | ECP-2.5 | 125 | Y | solar not priority
Ballyboe ph2 | H1 | Doon | solar | DSO | due to connected | ECP-2.5 | 4 | Y | solar not priority
Springmount PV | H1 | Springmount | solar | TSO | due to connected | ECP-2.5 | 65 | Y | solar not priority
Erkina Solar ph2 | H1 | Timoney | Solar | TSO | due to connected | ECP-2.5 | 15 | Y | solar not priority
Rathduff Solar | H1 | Tipperary | Solar | DSO | due to connected | ECP-2.5 | 25 | Y | solar not priority
Ballymoney Solar ph2 | H2 | Arklow | solar | DSO | due to connected | ECP-2.5 | 9.4 | Y | solar not priority
Coppenagh Solar ph3 | H2 | Carlow | Solar | DSO | due to connected | ECP-2.5 | 20 | Y | solar not priority
Tomsallagh ph2 | H2 | Effernoge | solar | DSO | due to connected | ECP-2.5 | 1 | Y | solar not priority
Brownstown Solar | H2 | Kellymount | solar | TSO | due to connected | ECP-2.5 | 50 | Y | solar not priority
Kilderry Solar | H2 | Kilkenny | Solar | DSO | due to connected | ECP-2.5 | 35 | Y | solar not priority
Baunogephlure Solar | H2 | Kellis | Solar | TSO | due to connected | ECP-2.5 | 55 | Y | solar not priority
Grangeford Solar ph2 | H2 | Kellis | Solar | TSO | due to connected | ECP-2.5 | 22 | Y | solar not priority
Garravagh Solar ph2 | I | Coolroe | Solar | DSO | due to connected | ECP-2.5 | 14 | Y | solar not priority
Ballynahina Solar | I | Kilbarry | Solar | DSO | due to connected | ECP-2.5 | 30 | Y | solar not priority
Rahanisky | I | Kilbarry | Solar | DSO | due to connected | ECP-2.5 | 39.9 | Y | solar not priority
Ballyduff solar ph2 | I | Midleton | Solar | DSO | due to connected | ECP-2.5 | 8 | Y | solar not priority
Rathcoursey Solar | I | Rathcoursey | Solar | TSO | due to connected | ECP-2.5 | 130 | Y | solar not priority
Bishopswood Solar | J | Bracklone | Solar | TSO | due to connected | ECP-2.5 | 25 | Y | solar not priority
Ballivor | J | Craddanstown | Wind | TSO | due to connected | ECP-2.5 | 182 | Y | wind not priority
Clonymeath Solar ph2 | J | Curraghdoo | Solar | TSO | due to connected | ECP-2.5 | 4 | Y | solar not priority
Delamain Solar | J | Dunstown | Solar | TSO | due to connected | ECP-2.5 | 210 | Y | solar not priority
Rathdrinagh Solar | J | Garballagh | Solar | TSO | due to connected | ECP-2.5 | 72 | Y | solar not priority
Kinnegad solar non export | J | Kinnegad | Solar | TSO | due to connected | ECP-2.5 | 12 | N | solar uncontrolled
Ballyteigue Solar ph2 | J | Thornsberry | solar | TSO | due to connected | ECP-2.5 | 90 | Y | solar not priority
Gormagh Solar Farm | J | Thornsberry | Solar | TSO | due to connected | ECP-2.5 | 40 | Y | solar not priority
Dolanstown Solar Farm | J | Griffinrath | Solar | DSO | due to connected | ECP-2.5 (Cat C) | 4.9 | Y | solar not priority
Kilcash Wind Farm | C | Lanesboro | Wind | DSO | due to connected | ECP-2.5 | 4.5 | Y | wind not priority
Lissanore Wind Turbine | C | Richmond | Wind | DSO | due to connected | ECP-2.5 | 4.5 | Y | wind not priority
Carrigaline PV | I | Barnahely | Solar | DSO | due to connected | ECP-2.5 (Cat B) | 2 | Y | solar not priority
Dunmurry Springs PV - Phase 2 | J | Newbridge | Solar | DSO | due to connected | ECP-2.5 | 3.99 | Y | solar not priority
Liss Wind Farm | H1 | Thurles | Wind | DSO | due to connected | ECP-2.5 | 2.35 | Y | wind not priority
Clonloghan Solar Farm | D | Drumline | Solar | DSO | due to connected | ECP-2.5 | 9.99 | Y | solar not priority
Derrylough WF | C | Athlone | Wind | DSO | due to connected | ECP-2.5 (Cat C) | 4.99 | Y | wind not priority
Derryveagh solar | C | Athlone | Solar | DSO | due to connected | ECP-2.5 (Cat C) | 4.99 | Y | solar not priority
Ardass Solar | C | Carrick on Shannon | Solar | DSO | due to connected | ECP-2.4 | 4.99 | Y | solar not priority
Extension Maothail Solar | C | Carrick on Shannon | Solar | DSO | due to connected | ECP-2.5 | 6 | Y | solar not priority
Dundalk Golf club | G | Dundalk | Solar | DSO | due to connected | ECP-2.5 (Cat C) | 4.99 | Y | solar not priority
Boliden Tara Mines Solar Farm | G | Navan | Solar | DSO | due to connected | ECP-2.5 (Cat B) | 17 | Y | solar not priority
Cloonaraher Wind Farm | B | Tonroe | Wind | DSO | due to connected | ECP-2.5 (Cat C) | 4.99 | Y | wind not priority
Ballinderry Solar | B | Cloon | Solar | DSO | due to connected | ECP-2.5 (Cat C) | 4.99 | Y | solar not priority
Ballinakilla Wind Farm | B | Cloon | Wind | DSO | due to connected | ECP-2.5 (Cat C) | 4.5 | Y | wind not priority