## Wind and Solar Generation Table
ECP-GSS-1 IE Wind & Solar Draft Generation Assumptions "ECP-GSS-1 IE Wind & Solar draft Generation Assumptions Generation < 1 MW has not been modelled as part of the ECP-GSS-1 Constraint Analysis. Pipeline Wind and Solar Generation Projects add up to an estimated 407 due to be connected Projects. This is an approximate Sum of Maximum Export Capacity (MEC) of 20.8 GW. This table represents all Renewable generation included in the 100% ECP + Offshore Scenario. This data has been collated using the best information available, however, if any significant discrepancies are noted please immediately contact info@eirgrid.com. Maximum Export Capacity (MEC) has been rounded up for reporting purposes, exact MEC figures have been used within the model. Data freeze date: Q1 2026. * For the sole purpose of the ECP-GSS-1 Constraint Analysis, the priority status assumption is based on whether the unit was connected before the date 04/07/2019 – as referenced in Article 12, EU Regulation 2019/943."
Name | Area | Node | Generation Type | System Operator | Connection Status | Processing Type | Maximum Export Capacity (MW) | Controllability Status (Y/N) | priority / not-priority
Meentycat (1) | A | Meentycat | wind | TSO | connected | Pre-Gate | 70.96 | Y | wind priority
Golagh (1) | A | Golagh | wind | TSO | connected | Pre-Gate | 12 | N | wind uncontrolled
Drumlough Hill (2) | A | Trillick | wind | DSO | connected | Pre-Gate | 9.99 | Y | wind priority
Carrane Hill (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 3.4 | N | wind uncontrolled
Beam Hill (1) | A | Trillick | wind | DSO | connected | Pre-Gate | 14 | Y | wind priority
Sorne Hill (1) | A | Sorne Hill | wind | DSO | connected | Pre-Gate | 31.5 | Y | wind priority
Geevagh (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 4.95 | N | wind uncontrolled
Moneenatieve (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 3.96 | N | wind uncontrolled
Altagowlan (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 7.65 | Y | wind priority
Black Banks (2) | A | Corderry | wind | DSO | connected | Pre-Gate | 6.8 | Y | wind priority
Meenanilta (2) | A | Letterkenny | wind | DSO | connected | Pre-Gate | 2.45 | N | wind uncontrolled
Meenanilta (1) | A | Letterkenny | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Meenadreen (1) | A | Cathaleen's Fall | wind | DSO | connected | Pre-Gate | 3.4 | N | wind uncontrolled
Black Banks (1) | A | Corderry | wind | DSO | connected | Pre-Gate | 3.4 | N | wind uncontrolled
Coreen (1) | A | Gortawee | wind | DSO | connected | Pre-Gate | 3 | N | wind uncontrolled
Culliagh (1) | A | Letterkenny | wind | DSO | connected | Pre-Gate | 11.88 | N | wind uncontrolled
Anarget (1) | A | Cathaleen's Fall | wind | DSO | connected | Pre-Gate | 1.98 | N | wind uncontrolled
Crockahenny (1) | A | Trillick | wind | DSO | connected | Pre-Gate | 5 | N | wind uncontrolled
Cark (1) | A | Letterkenny | wind | DSO | connected | Pre-Gate | 15 | N | wind uncontrolled
Kilronan (1) | A | Arigna | wind | DSO | connected | Pre-Gate | 5 | N | wind uncontrolled
Spion Kop (1) | A | Arigna | wind | DSO | connected | Pre-Gate | 1.2 | N | wind uncontrolled
Drumlough Hill (1) | A | Trillick | wind | DSO | connected | Pre-Gate | 4.8 | N | wind uncontrolled
Cronalaght (1) | A | Ardnagappary | wind | DSO | connected | Pre-Gate | 4.98 | N | wind uncontrolled
Corrie Mountain (1) | A | Arigna | wind | DSO | connected | Pre-Gate | 4.8 | N | wind uncontrolled
Kingsmountain (1) | B | Cunghill | wind | TSO | connected | Pre-Gate | 23.75 | Y | wind priority
Cuillalea (1) | B | Castlebar | wind | DSO | connected | Pre-Gate | 3.4 | N | wind uncontrolled
Raheen Barr (1) | B | Castlebar | wind | DSO | connected | Pre-Gate | 18.7 | N | wind uncontrolled
Largan Hill (1) | B | Tonroe | wind | DSO | connected | Pre-Gate | 5.94 | N | wind uncontrolled
Inverin (Knock South) (1) | B | Screebe | wind | DSO | connected | Pre-Gate | 2.64 | N | wind uncontrolled
Bellacorick (1) | B | Bellacorick | wind | DSO | connected | Pre-Gate | 6.45 | Y | wind priority
Carrig (1) | C | Dallow | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Skehanagh (1) | C | Dallow | wind | DSO | connected | Pre-Gate | 4.25 | N | wind uncontrolled
Sonnagh Old (1) | C | Somerset | wind | DSO | connected | Pre-Gate | 7.65 | N | wind uncontrolled
Booltiagh (1) | D | Booltiagh | wind | TSO | connected | Pre-Gate | 19.45 | Y | wind priority
Knockastanna (1) | D | Ardnacrusha | wind | DSO | connected | Pre-Gate | 7.5 | Y | wind priority
Moanmore (1) | D | Tullabrack | wind | DSO | connected | Pre-Gate | 12.6 | N | wind uncontrolled
Coomagearlahy (1) | E | Coomagearlahy | wind | TSO | connected | Pre-Gate | 42.5 | Y | wind priority
Dromdeeveen (1) | E | Glenlara 220kV side | wind | DSO | connected | Pre-Gate | 10.5 | Y | wind priority
Rathcahill (1) | E | Rathkeale | wind | DSO | connected | Pre-Gate | 12.5 | Y | wind priority
Carrigcannon (1) | E | Boggeragh | wind | DSO | connected | Pre-Gate | 20 | Y | wind priority
Ballincollig Hill (1) | E | Tralee | wind | DSO | connected | Pre-Gate | 15 | Y | wind priority
Tournafulla (1) | E | Trien | wind | DSO | connected | Pre-Gate | 7.5 | Y | wind priority
Taurbeg (1) | E | Glenlara | wind | DSO | connected | Pre-Gate | 26 | Y | wind priority
Gneeves (1) | E | Knockearagh | wind | DSO | connected | Pre-Gate | 9.35 | Y | wind priority
Mount Eagle (1) | E | Tralee | wind | DSO | connected | Pre-Gate | 5.1 | N | wind uncontrolled
Tursillagh (2) | E | Tralee | wind | DSO | connected | Pre-Gate | 6.8 | N | wind uncontrolled
Beale Hill (2) | E | Trien | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Beale Hill (1) | E | Trien | wind | DSO | connected | Pre-Gate | 1.65 | N | wind uncontrolled
Tursillagh (1) | E | Tralee | wind | DSO | connected | Pre-Gate | 15 | N | wind uncontrolled
Beenageeha (1) | E | Tralee | wind | DSO | connected | Pre-Gate | 3.96 | N | wind uncontrolled
Ballybane (Glanta Commons) Wind Farm | F | Ballylickey | wind | DSO | connected | Pre-Gate | 19.55 | Y | wind priority
Kilvinane (1) | F | Bandon | wind | DSO | connected | Pre-Gate | 4.5 | N | wind uncontrolled
Lahanaght Hill (1) | F | Dunmanway | wind | DSO | connected | Pre-Gate | 4.25 | N | wind uncontrolled
Kealkil (Curraglass) (1) | F | Ballylickey | wind | DSO | connected | Pre-Gate | 8.5 | N | wind uncontrolled
Coomatallin (1) | F | Dunmanway | wind | DSO | connected | Pre-Gate | 5.95 | Y | wind priority
Milane Hill (1) | F | Dunmanway | wind | DSO | connected | Pre-Gate | 5.94 | N | wind uncontrolled
Currabwee (1) | F | Dunmanway | wind | DSO | connected | Pre-Gate | 4.62 | N | wind uncontrolled
Mountain Lodge (1) | G | Ratrussan | wind | TSO | connected | Pre-Gate | 24.8 | Y | wind priority
Ratrussan (1a) | G | Ratrussan | wind | TSO | connected | Pre-Gate | 48 | Y | wind priority
Carrickallen Wind Farm | G | Shankill | wind | DSO | connected | Pre-Gate | 22 | Y | wind priority
Mountain Lodge (2) | G | Shankill | wind | DSO | connected | Pre-Gate | 3 | N | wind uncontrolled
Gartnaneane (1) | G | Meath Hill | wind | DSO | connected | Pre-Gate | 10.5 | N | wind uncontrolled
Gartnaneane (2) | G | Meath Hill | wind | DSO | connected | Pre-Gate | 4.5 | N | wind uncontrolled
Ballinlough (1) | H1 | Nenagh | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Ballinveny (1) | H1 | Nenagh | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Curraghgraigue (1) | H1 | Nenagh | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Arklow Bank (1) | H2 | Arklow | offshore wind | DSO | connected | Pre-Gate | 25.2 | Y | wind priority
Ballywater (1) | H2 | Ballywater | wind | TSO | connected | Pre-Gate | 31.5 | Y | wind priority
Richfield (1) | H2 | Wexford | wind | DSO | connected | Pre-Gate | 20.25 | Y | wind priority
Cronelea Upper (1) | H2 | Carlow | wind | DSO | connected | Pre-Gate | 2.55 | N | wind uncontrolled
Greenoge (1) | H2 | Crane | wind | DSO | connected | Pre-Gate | 4.99 | N | wind uncontrolled
Carnsore (1) | H2 | Wexford | wind | DSO | connected | Pre-Gate | 11.9 | N | wind uncontrolled
Beallough (1) | K | Butlerstown | wind | DSO | connected | Pre-Gate | 1.7 | N | wind uncontrolled
Meentycat (2) | A | Meentycat | wind | TSO | connected | Gate 1 | 14 | Y | wind priority
Killin Hill (1) | A | Binbane | wind | DSO | connected | Gate 1 | 6 | Y | wind priority
Corkermore (1) | A | Binbane | wind | DSO | connected | Gate 1 | 9.99 | Y | wind priority
Meenachullalan (1) | A | Binbane | wind | DSO | connected | Gate 1 | 11.9 | Y | wind priority
Loughderryduff (1) | A | Binbane | wind | DSO | connected | Gate 1 | 7.65 | Y | wind priority
Lurganboy (1) | A | Letterkenny | wind | DSO | connected | Gate 1 | 4.99 | N | wind uncontrolled
Killybegs (1) | A | Binbane | wind | DSO | connected | Gate 1 | 2.55 | N | wind uncontrolled
Lackan (1) | B | Moy | wind | DSO | connected | Gate 1 | 6 | Y | wind priority
Moneypoint WF | E | Moneypoint | wind | TSO | connected | Gate 1 | 17.25 | Y | wind priority
Beenanaspock and Tobertooreen Wind Farm | E | Athea | wind | TSO | connected | Gate 1 | 23.15 | Y | wind not priority
Athea (1)a | E | Athea | wind | TSO | connected | Gate 1 | 34.35 | Y | wind priority
Glanlee (1) | E | Glanlee | wind | TSO | connected | Gate 1 | 29.8 | Y | wind priority
Clahane (1) | E | Clahane | wind | TSO | connected | Gate 1 | 37.8 | Y | wind priority
Muingnaminnane (1) | E | Reamore | wind | DSO | connected | Gate 1 | 15.3 | Y | wind priority
Mount Eagle (2) | E | Tralee | wind | DSO | connected | Gate 1 | 1.7 | N | wind uncontrolled
Knockawarriga (1) | E | Trien | wind | DSO | connected | Gate 1 | 22.5 | Y | wind priority
Tournafulla (2) | E | Trien | wind | DSO | connected | Gate 1 | 17.2 | Y | wind priority
Coomacheo (1) | E | Garrow | wind | TSO | connected | Gate 1 | 41.225 | Y | wind priority
Mullananalt (1) | G | Meath Hill | wind | DSO | connected | Gate 1 | 7.5 | Y | wind priority
Dunmore (1) | G | Drybridge | wind | DSO | connected | Gate 1 | 1.7 | N | wind uncontrolled
Knocknalour (1) | H2 | Crory | wind | DSO | connected | Gate 1 | 5 | Y | wind priority
Ballycadden (1) | H2 | Crory | wind | DSO | connected | Gate 1 | 14.45 | Y | wind priority
Cronelea (1) | H2 | Carlow | wind | DSO | connected | Gate 1 | 4.99 | Y | wind priority
Richfield (2) | H2 | Wexford | wind | DSO | connected | Gate 1 | 6.75 | Y | wind priority
Mulreavy (Mulreavy (1)) | A | Mulreavy | wind | TSO | connected | Gate 2 | 82 | Y | wind priority
Mulreavy Ext (Croaghnameal (1)) | A | Mulreavy | wind | TSO | connected | Gate 2 | 4.25 | Y | wind priority
Mulreavy Ext (Meenadreen South (1)) | A | Mulreavy | wind | TSO | connected | Gate 2 | 3.6 | Y | wind priority
Garvagh - Glebe (1a) | A | Garvagh | wind | TSO | connected | Gate 2 | 26 | Y | wind priority
Garvagh - Tullynahaw (1c) | A | Garvagh | wind | TSO | connected | Gate 2 | 22 | Y | wind priority
Sorne Hill Single Turbine (Enros) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 2.3 | N | wind uncontrolled
Three Trees (1) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 4.25 | N | wind uncontrolled
Tullynamoyle 3 (Carrane Hill merged capacity) | A | Corderry | wind | DSO | connected | Gate 2 | 1.598 | N | wind uncontrolled
Meenanilta (3) | A | Letterkenny | wind | DSO | connected | Gate 2 | 3.4 | N | wind uncontrolled
Tullynamoyle (1) | A | Corderry | wind | DSO | connected | Gate 2 | 9 | Y | wind priority
Seltanaveeny (1) | A | Arigna | wind | DSO | connected | Gate 2 | 4.6 | N | wind uncontrolled
Shannagh (1) previously Kilcar | A | Binbane | wind | DSO | connected | Gate 2 | 2.55 | N | wind uncontrolled
Flughland (1) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 9.2 | Y | wind priority
Meenkeeragh (1) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 4.2 | N | wind uncontrolled
Glackmore Hill (2) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 1.4 | N | wind uncontrolled
Sorne Hill (2) | A | Sorne Hill | wind | DSO | connected | Gate 2 | 7.4 | Y | wind priority
Kingsmountain (2) | B | Cunghill | wind | TSO | connected | Gate 2 | 11.05 | Y | wind priority
Raheen Barr extension (was Derrynadivva extension) | B | Castlebar | wind | DSO | connected | Gate 2 | 6.8 | Y | wind not priority
Bunnyconnellan (1) | B | Glenree | wind | DSO | connected | Gate 2 | 28 | Y | wind not priority
Cloonlusk (1) | B | Cloon | wind | DSO | connected | Gate 2 | 4.25 | N | wind uncontrolled
Roosky (1) | B | Tonroe | wind | DSO | connected | Gate 2 | 3.6 | N | wind uncontrolled
Carrowleagh (1) | B | Glenree | wind | DSO | connected | Gate 2 | 34.15 | Y | wind priority
Lenanavea (Burren) Wind Farm | B | Castlebar | wind | DSO | connected | Gate 2 | 4.65 | N | wind uncontrolled
Cuillalea (2) | B | Castlebar | wind | DSO | connected | Gate 2 | 1.59 | N | wind uncontrolled
Mace Upper (1) | B | Dalton | wind | DSO | connected | Gate 2 | 2.55 | N | wind uncontrolled
Derrynadivva Wind Farm (prev. Raheen Bar 2) | B | Castlebar | wind | DSO | connected | Gate 2 | 8.5 | Y | wind priority
Leabeg (1) | C | Dallow | wind | DSO | connected | Gate 2 | 4.25 | N | wind uncontrolled
Skrine (1) | C | Lanesboro | wind | DSO | connected | Gate 2 | 4.6 | N | wind uncontrolled
Knockalassa (formerly Keelderry) | D | Slievecallan | wind | TSO | connected | Gate 2 | 26.875 | Y | wind priority
Booltiagh (2) | D | Booltiagh | wind | TSO | connected | Gate 2 | 12 | Y | wind priority
Boolinrudda (formerly Loughaun North) | D | Slievecallan | wind | TSO | connected | Gate 3 | 45 | Y | wind priority
Mauricetown (Glenduff) Wind Farm | E | Glenlara 220kV side | wind | DSO | connected | Gate 2 | 13.8 | Y | wind not priority
Knocknagashel Wind (Cloghboola (1)) | E | Cloghboola | wind | TSO | connected | Gate 2 | 46 | Y | wind priority
Knockacummer (1) | E | Knockacummer | wind | TSO | connected | Gate 2 | 105 | Y | wind priority
Boggeragh (1) | E | Boggeragh | wind | TSO | connected | Gate 2 | 57 | Y | wind priority
Coomagearlahy (3) | E | Coomagearlahy | wind | TSO | connected | Gate 2 | 30 | Y | wind priority
Coomacheo (2) | E | Garrow | wind | TSO | connected | Gate 2 | 18 | Y | wind priority
Coomagearlahy (2) | E | Coomagearlahy | wind | TSO | connected | Gate 2 | 8.5 | Y | wind priority
Esk (1) | E | Boggeragh | wind | DSO | connected | Gate 2 | 5.95 | Y | wind not priority
Knockawarriga Extension (Glenduff & Caherlevoy) | E | Trien | wind | DSO | connected | Gate 2 | 6.6 | Y | wind not priority
Cloghanaleskirt (1) | E | Cloghboola | wind | DSO | connected | Gate 2 | 12.55 | Y | wind priority
Glanaruddery 1 (formerly Dromadda More Wind Farm) | E | Cloghboola | wind | DSO | connected | Gate 2 | 20 | Y | wind priority
Coollegrean (1) | E | Cordal | wind | DSO | connected | Gate 2 | 18.5 | Y | wind priority
Scartaglen (1) | E | Cordal | wind | DSO | connected | Gate 2 | 35.45 | Y | wind priority
Beale Hill (3) | E | Trien | wind | DSO | connected | Gate 2 | 1.3 | N | wind uncontrolled
Knocknagoum (1) | E | Reamore | wind | DSO | connected | Gate 2 | 42.55 | Y | wind priority
Knockaneden (1) | E | Oughtragh | wind | DSO | connected | Gate 2 | 9 | Y | wind priority
Clydaghroe (1) | E | Garrow | wind | DSO | connected | Gate 2 | 4.99 | N | wind uncontrolled
Caherdowney (1) | E | Garrow | wind | DSO | connected | Gate 2 | 10 | Y | wind priority
Dromdeeveen (2) | E | Glenlara 220kV side | wind | DSO | connected | Gate 2 | 16.5 | Y | wind priority
Grouse Lodge (1) | E | Rathkeale | wind | DSO | connected | Gate 2 | 15 | Y | wind priority
Carrons (1) | E | Rathkeale | wind | DSO | connected | Gate 2 | 4.99 | N | wind uncontrolled
WEDcross (1) | E | Knockearagh | wind | DSO | connected | Gate 2 | 4.5 | N | wind uncontrolled
Killaveenoge Windfarm (Derryvacorneen merge with Barrboy Windfarm) | F | Dunmanway | wind | DSO | connected | Gate 2 | 17 | Y | wind priority
Garranereagh (1) | F | Bandon | wind | DSO | connected | Gate 2 | 8.75 | Y | wind priority
Bawnmore (1) formerly Burren (Cork) | F | Macroom | wind | DSO | connected | Gate 2 | 24 | Y | wind priority
Ballybane 2 (Glanta Commons) Wind Farm | F | Ballylickey | wind | DSO | connected | Gate 2 | 8.4 | Y | wind priority
Reenascreena (1) | F | Dunmanway | wind | DSO | connected | Gate 2 | 4.5 | N | wind uncontrolled
Mountain Lodge (3) | G | Ratrussan | wind | TSO | connected | Gate 2 | 5.82 | Y | wind priority
Dunmore (2) | G | Drybridge | wind | DSO | connected | Gate 2 | 1.8 | N | wind uncontrolled
Lisheen (1a) | H1 | Lisheen | wind | TSO | connected | Gate 2 | 23 | Y | wind priority
Lisheen (1) | H1 | Lisheen | wind | TSO | connected | Gate 2 | 36 | Y | wind priority
Cappawhite B | H1 | Cauteen | wind | DSO | connected | Gate 2 | 13.18 | Y | wind priority
Cappawhite A Wind Farm (Gate 2) | H1 | Cauteen | wind | DSO | connected | Gate 2 | 2.92 | Y | wind priority
Holyford (1) | H1 | Cauteen | wind | DSO | connected | Gate 2 | 9 | Y | wind priority
Garracummer (1) | H1 | Cauteen | wind | DSO | connected | Gate 2 | 36.9 | Y | wind priority
Templederry (1) | H1 | Nenagh | wind | DSO | connected | Gate 2 | 3.9 | N | wind uncontrolled
Curraghgraigue (2) | H1 | Nenagh | wind | DSO | connected | Gate 2 | 2.44 | N | wind uncontrolled
Glenough (1) | H1 | Cauteen | wind | DSO | connected | Gate 2 | 33 | Y | wind priority
Slievereagh (1) | H1 | Tipperary | wind | DSO | connected | Gate 2 | 3 | N | wind uncontrolled
Ballywater (2) | H2 | Ballywater | wind | TSO | connected | Gate 2 | 10.5 | Y | wind priority
Castledockrell (3) | H2 | Castledockrell | wind | TSO | connected | Gate 2 | 3.3 | Y | wind priority
Castledockrell (4) | H2 | Castledockrell | wind | TSO | connected | Gate 2 | 16.1 | Y | wind priority
Kilbranish (1) | H2 | Crane | wind | DSO | connected | Gate 2 | 2.5 | Y | wind priority
Ballyduff (1) | H2 | Crory | wind | DSO | connected | Gate 2 | 4 | N | wind uncontrolled
Ballynancoran (1) | H2 | Crory | wind | DSO | connected | Gate 2 | 4 | N | wind uncontrolled
Gibbet Hill (1) | H2 | Crory | wind | DSO | connected | Gate 2 | 14.8 | Y | wind priority
Ballaman formerly (Kennystown) (1) | H2 | Crory | wind | DSO | connected | Gate 2 | 3.6 | N | wind uncontrolled
Ballymartin (1) | H2 | Waterford | wind | DSO | connected | Gate 2 | 6 | Y | wind priority
Gortahile (1) | H2 | Carlow | wind | DSO | connected | Gate 2 | 21 | Y | wind priority
Cronelea (2) | H2 | Carlow | wind | DSO | connected | Gate 2 | 4.5 | Y | wind priority
Cronelea Upper (2) | H2 | Carlow | wind | DSO | connected | Gate 2 | 1.7 | N | wind uncontrolled
Castledockrell (1) | H2 | Castledockrell | wind | TSO | connected | Gate 2 | 20 | Y | wind priority
Castledockrell (2) | H2 | Castledockrell | wind | TSO | connected | Gate 2 | 2 | Y | wind priority
Rahora (1) | H2 | Waterford | wind | DSO | connected | Gate 2 | 4.25 | N | wind uncontrolled
Pluckanes (1) | I | Kilbarry | wind | DSO | connected | Gate 2 | 0.85 | N | wind uncontrolled
Crocane (1) | I | Midleton | wind | DSO | connected | Gate 2 | 1.7 | N | wind uncontrolled
Dromada (1) | E | Dromada | wind | TSO | connected | Gate 2 | 28.5 | Y | wind priority
Martinstown Solar formerly Crowinstown Great wind | G | Navan | solar | DSO | due to connected | Gate 2 | 4.999 | Y | solar not priority
Mulreavy Ext (Meenadreen South (2)) | A | Mulreavy | wind | TSO | connected | Gate 3 | 5.4 | Y | wind priority
Clogheravaddy Wind Farm (Phase 2) | A | Binbane | wind | DSO | connected | Gate 3 | 10.8 | Y | wind not priority
Clogheravaddy Wind Farm (Phase 1) | A | Binbane | wind | DSO | connected | Gate 3 | 9.2 | Y | wind not priority
Derrysallagh Wind Farm (Formerly Kilronan 2) | A | Garvagh | wind | DSO | connected | Gate 3 | 34 | Y | wind not priority
Cronalaght (2) | A | Ardnagappary | wind | DSO | connected | Gate 3 | 17.96 | Y | wind not priority
Corvin Wind Turbine | A | Sorne Hill | wind | DSO | connected | Gate 3 | 2.1 | N | wind uncontrolled
Meenaward | A | Trillick | wind | DSO | connected | Gate 3 | 6.9 | Y | wind priority
Tullynamoyle 2 Wind Farm | A | Corderry | wind | DSO | connected | Gate 3 | 10.225 | Y | wind priority
Tullynamoyle Wind Farm 3 (Formerly Geevagh 2) | A | Corderry | wind | DSO | connected | Gate 3 | 11.98 | Y | wind priority
Cooly (1) | A | Trillick | wind | DSO | connected | Gate 3 | 4 | N | wind uncontrolled
Spaddan (1) | A | Cathaleen's Fall | wind | DSO | connected | Gate 3 | 17.5 | Y | wind priority
Knockalough (1) | B | Knockranny | wind | TSO | connected | Gate 3 | 33.6 | Y | wind priority
Uggool (1) | B | Uggool | wind | TSO | connected | Gate 3 | 64 | Y | wind priority
Oweninny Power (1) | B | Bellacorick | wind | TSO | connected | Gate 3 | 89 | Y | wind not priority
Seecon (1) | B | Uggool | wind | TSO | connected | Gate 3 | 105 | Y | wind priority
Bunnahowen (1) | B | Bellacorick | wind | DSO | connected | Gate 3 | 2.55 | N | wind uncontrolled
Rossaveel Wind | B | Screebe | wind | DSO | connected | Gate 3 | 3 | N | wind uncontrolled
Killala Wind Farm (Phase 1) | B | Tawnaghmore | wind | DSO | connected | Gate 3 | 19.2 | Y | wind priority
Carrowleagh (2) | B | Glenree | wind | DSO | connected | Gate 3 | 2.65 | Y | wind not priority
Magheramore and Cloontooa (1) | B | Dalton | wind | DSO | connected | Gate 3 | 40.8 | Y | wind priority
Faughary (1) | B | Sligo | wind | DSO | connected | Gate 3 | 6 | Y | wind priority
Carrickeeney (1) | B | Sligo | wind | DSO | connected | Gate 3 | 7.65 | Y | wind priority
Leitir Guingaid & Doire Chrith1 & 2 Merge | B | Salthill | wind | DSO | connected | Gate 3 | 40.9 | Y | wind priority
Sliabh Bawn (1) | C | Sliabh Bawn | wind | TSO | connected | Gate 3 | 58 | Y | wind priority
Meenwaun WF | C | Dallow | wind | DSO | connected | Gate 3 | 9.99 | Y | wind priority
Cahermurphy (1) | D | Booltiagh | wind | DSO | connected | Gate 3 | 6 | Y | wind not priority
Kiltumper | D | Booltiagh | wind | DSO | connected | Gate 3 | 4.99 | N | wind uncontrolled
Lissycasey (1) | D | Booltiagh | wind | DSO | connected | Gate 3 | 13.399 | Y | wind not priority
Boolynagleragh (1) | D | Booltiagh | wind | DSO | connected | Gate 3 | 36.98 | Y | wind not priority
Sorrell Island (prev Glenmore) (1) | D | Booltiagh | wind | DSO | connected | Gate 3 | 24 | Y | wind not priority
Tullabrack (1) | D | Tullabrack | wind | DSO | connected | Gate 3 | 13.8 | Y | wind priority
Carrownawelaun (1) | D | Tullabrack | wind | DSO | connected | Gate 3 | 4.6 | N | wind uncontrolled
Clahane (2) | E | Clahane | wind | TSO | connected | Gate 3 | 13.8 | Y | wind priority
Boggeragh 2 | E | Boggeragh | wind | TSO | connected | Gate 3 | 65.7 | Y | wind priority
Grousemount WF | E | Coomataggart | wind | TSO | connected | Gate 3 | 114.2 | Y | wind not priority
Esk Wind Farm (sub metered Gneeves 2 Merge) | E | Boggeragh | wind | DSO | connected | Gate 3 | 5.4 | Y | wind not priority
Boolard Wind Farm (Charlevile) | E | Charleville | wind | DSO | connected | Gate 3 | 4.45 | N | wind uncontrolled
Cleanrath (1) | E | Coomataggart | wind | DSO | connected | Gate 3 | 42.64 | Y | wind not priority
Glantaunyalkeen Windfarm( Cloghboola (2) Ext) | E | Cloghboola | wind | DSO | connected | Gate 3 | 9.999 | Y | wind priority
Rathnacally (1) | E | Charleville | wind | DSO | connected | Gate 3 | 4.45 | N | wind uncontrolled
Glanaruddery 2 (formerly Dromadda More 2) | E | Cloghboola | wind | DSO | connected | Gate 3 | 12 | Y | wind priority
Ballagh (1) | E | Trien | wind | DSO | connected | Gate 3 | 4.6 | N | wind uncontrolled
Gortnacloghy Wind Farm | E | Trien | wind | DSO | connected | Gate 3 | 4.4 | N | wind uncontrolled
Leanamore (1) (formerly Tarbert (1)) | E | Kilpaddoge | wind | DSO | connected | Gate 3 | 18 | Y | wind priority
Curraghderrig (1) | E | Trien | wind | DSO | connected | Gate 3 | 4.5 | N | wind uncontrolled
Scartaglen (2) | E | Cordal | wind | DSO | connected | Gate 3 | 3.8 | Y | wind priority
Castlepook (1) | E | Charleville | wind | DSO | connected | Gate 3 | 33.1 | Y | wind priority
Knocknatallig | E | Charleville | wind | DSO | connected | Gate 3 | 18.3 | Y | wind priority
Kilberehert (1) | E | Charleville | wind | DSO | connected | Gate 3 | 4.799 | N | wind uncontrolled
Kilmeedy (1) | E | Charleville | wind | DSO | connected | Gate 3 | 4.7 | N | wind uncontrolled
Knocknagoum (2) formerly Muingnatee (3) | E | Reamore | wind | DSO | connected | Gate 3 | 1.8 | N | wind uncontrolled
Cordal (1+2) | E | Cordal | wind | TSO | connected | Gate 3 | 54 | Y | wind priority
Ballybane 2A (Glanta Commons) Wind Farm Extension | F | Ballylickey | wind | DSO | connected | Gate 3 | 1.55 | Y | wind priority
Ballybane 3 (Glanta Commons) Wind Farm | F | Ballylickey | wind | DSO | connected | Gate 3 | 4.45 | Y | wind priority
Killaveenoge Windfarm (Derryvacorneen merge with Barrboy) | F | Dunmanway | wind | DSO | connected | Gate 3 | 7.8 | Y | wind priority
Ballybane 2A | F | Ballylickey | wind | DSO | connected | Gate 3 | 17.5 | Y | wind priority
Carrigdangan (formerly Barnadivine) | F | Dunmanway | wind | TSO | connected | Gate 3 | 60 | Y | wind not priority
Raragh (2) | G | Meath Hill | wind | DSO | connected | Gate 3 | 11.5 | Y | wind not priority
Tullynamalra (1) | G | Meath Hill | wind | DSO | connected | Gate 3 | 2.638 | N | wind uncontrolled
Teevurcher | G | Meath Hill | wind | DSO | connected | Gate 3 | 9 | Y | wind priority
Grove Hill (1) formerly Tullynageer | G | Dundalk | wind | DSO | connected | Gate 3 | 16.1 | Y | wind priority
Collon Wind Power | G | Drybridge | wind | DSO | connected | Gate 3 | 2.3 | N | wind uncontrolled
Kill Hill (1) - phase 1 | H1 | Kill Hill | wind | TSO | connected | Gate 3 | 36 | Y | wind priority
Ballinacurry WF | H1 | Thurles | wind | DSO | connected | Gate 3 | 4.6 | N | wind uncontrolled
An Cnoc | H1 | Thurles | wind | DSO | connected | Gate 3 | 11.5 | Y | wind priority
Gurteen (1) | H1 | Thurles | wind | DSO | connected | Gate 3 | 2.3 | N | wind uncontrolled
Foyle Windfarm | H1 | Thurles | wind | DSO | connected | Gate 3 | 9.6 | Y | wind priority
Ballybay Wind Farm (Tullaroan) | H1 | Thurles | wind | DSO | connected | Gate 3 | 13.8 | Y | wind priority
Cappawhite A | H1 | Cauteen | wind | DSO | connected | Gate 3 | 49.08 | Y | wind priority
Glencarbry (1) | H1 | Cauteen | wind | DSO | connected | Gate 3 | 33 | Y | wind priority
Barranafaddock (1) | H1 | Barrymore | wind | DSO | connected | Gate 3 | 32.4 | Y | wind priority
Garracummer (2) | H1 | Cauteen | wind | DSO | connected | Gate 3 | 1 | Y | wind priority
Slievereagh Wind Farm (2) | H1 | Tipperary | wind | DSO | connected | Gate 3 | 1.6 | N | wind uncontrolled
Bruckana (1) | H1 | Lisheen | wind | DSO | connected | Gate 3 | 39.6 | Y | wind priority
Monaincha Bog Wind Farm | H1 | Ikerrin | wind | DSO | connected | Gate 3 | 35.95 | Y | wind priority
Ballycumber (1) | H2 | Arklow | wind | DSO | connected | Gate 3 | 18 | Y | wind priority
Raheenleagh (1) | H2 | Arklow | wind | DSO | connected | Gate 3 | 35.2 | Y | wind priority
Knocknalour (2) | H2 | Crory | wind | DSO | connected | Gate 3 | 3.95 | N | wind uncontrolled
Ballymartin (2) | H2 | Waterford | wind | DSO | connected | Gate 3 | 8.28 | Y | wind priority
Ballycadden (2) | H2 | Crory | wind | DSO | connected | Gate 3 | 9.762 | Y | wind priority
Mount Lucas (1) | J | Mount Lucas | wind | TSO | connected | Gate 3 | 79.2 | Y | wind priority
Lisdowney (1) | H2 | Ballyragget | wind | DSO | connected | Gate 3 | 9.2 | Y | wind priority
Woodhouse (1) | K | Woodhouse | wind | TSO | connected | Gate 3 | 20 | Y | wind priority
Ballycurreen (1) | K | Dungarvan | wind | DSO | connected | Gate 3 | 4.99 | N | wind uncontrolled
Ardderoo 2 (Formerly Buffy) | B | Knockranny | wind | TSO | connected | Gate 3 | 64.2 | Y | wind not priority
Ardderoo Wind Farm | B | Knockranny | wind | TSO | connected | Gate 3 | 27 | Y | wind not priority
Oweninny Power (2) | B | Bellacorick | wind | TSO | connected | Gate 3 | 83 | Y | wind not priority
Sheskin (1) | B | Bellacorick | wind | DSO | connected | Gate 3 | 32.9 | Y | wind not priority
Knocknamona Wind Farm (Prev. Crohaun) | K | Woodhouse | wind | TSO | due to connected | Gate 3 | 34 | Y | wind not priority
Oriel 1 | G | Oriel 220kV | offshore wind | TSO | due to connected | Gate 3 | 210 | Y | wind not priority
Lettergull (1) | A | Letterkenny | wind | DSO | due to connected | Gate 3 | 20 | Y | wind not priority
Meenachullalan (2) | A | Binbane | wind | DSO | due to connected | Gate 3 | 1.9 | Y | wind not priority
Corvoderry (was Gortnahurra (1)) | B | Bellacorick | wind | DSO | due to connected | Gate 3 | 33.9 | Y | wind not priority
Oweninny 3 (Previously Oweninny 5) | B | Bellacorick | wind | TSO | due to connected | Gate 3 | 50 | Y | wind not priority
Stack's Mountain | E | Reamore | wind | DSO | due to connected | Gate 3 | 25.3 | Y | wind not priority
Derreenacrinnig West (prev Kilvinane 2 WF) | F | Ballylickey | wind | DSO | due to connected | Gate 3 | 5.82 | Y | wind not priority
Coolberrin Wind Farm (formerly Bragan Wind Farm) | G | Lisdrum | wind | DSO | due to connected | Gate 3 | 33.1 | Y | wind not priority
Cureeny (1) | H1 | Killonan | wind | DSO | due to connected | Gate 3 | 84 | Y | wind not priority
Knockadosan Solar (formerly Springfarm Wind Farm) | H2 | Arklow | solar | DSO | due to connected | Gate 3 | 6 | Y | solar not priority
Dooray WF | J | Portlaoise | wind | DSO | due to connected | Gate 3 | 45.001 | Y | wind not priority
Grady Joinery | B | Tonroe | wind | DSO | connected | Non GPA | 2.5 | N | wind uncontrolled
Kelwin Power Plant | E | Kilpaddoge | wind | TSO | connected | Non GPA | 37 | Y | wind priority
Liffey Autoproduction Project | G | Shankill | wind | DSO | connected | Non GPA | 1.6 | N | wind uncontrolled
Liffey Autoproduction Project (extension) | G | Shankill | wind | DSO | connected | Non GPA | 1.417 | N | wind uncontrolled
DePuy | I | Barnahely | wind | DSO | connected | Non GPA | 2.5 | N | wind uncontrolled
Wind Energy Project (Janssen) | I | Barnahely | wind | DSO | connected | Non GPA | 2 | N | wind uncontrolled
Knockglass Solar Farm | F | Macroom | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Hilltown PV | G | Baltrasna | solar | DSO | connected | Non GPA | 9.99 | Y | solar not priority
Ballycullane Solar Park | H2 | Great Island | solar | DSO | connected | Non GPA | 4.99 | Y | solar not priority
Blusheens Solar (1) | H2 | Wexford | solar | DSO | connected | Non GPA | 7.98 | Y | solar not priority
Curraghmartin Solar Park | H2 | Waterford | solar | DSO | connected | Non GPA | 3.99 | Y | solar not priority
Millvale PV | H2 | Ballybeg | solar | DSO | connected | Non GPA | 8 | Y | solar not priority
Hortland PV (from merge Knockanally and Hortland) | J | Dunfirth | solar | DSO | connected | Non GPA | 14 | Y | solar not priority
Featherbed Lane Solar | J | Glasmore | Solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Marlinstown Solar Farm (prev Russellstown) | C | Mullingar | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Barnderg Solar Farm | B | Cloon | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Lisduff Solar Park (Claremorris) | B | Dalton | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Shantallow Solar | B | Shantallow | solar | TSO | due to connected | Non GPA | 35 | Y | solar not priority
Ballycrissane Solar Farm | C | Somerset | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Creevy Solar | C | Lanesboro | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Lisnageeragh Solar Farm | C | Richmond | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Liss Solar Farm (prev Lands at Liss) | C | Mullingar | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Rathleg Solar Farm | C | Carrick on Shannon | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Shannagh Beg Solar Farm | C | Athlone | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Ballinknockane Solar Farm | E | Ballinknockane | solar | TSO | due to connected | Non GPA | 50 | Y | solar not priority
Banemore Solar Farm | E | Clahane | solar | TSO | due to connected | Non GPA | 34 | Y | solar not priority
Crossfield | E | Mallow | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
Dromalour | E | Glenlara | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
Drombeg Solar Park | E | Drombeg | solar | TSO | connected | Non GPA | 50 | Y | solar not priority
Maine Solar | E | Oughtragh | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Beaulieu PV | G | Drybridge | solar | DSO | connected | Non GPA | 3.99 | Y | solar not priority
Carrickabane Solar Farm | G | Shankill | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Grangegeeth Solar | G | Drybridge | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Kilkeelan Solar Farm | G | Navan | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Painestown Hill Solar Farm | G | Baltrasna | solar | DSO | connected | Non GPA | 7.14 | Y | solar not priority
Carrick Solar | H1 | Ballydine | solar | DSO | due to connected | Non GPA | 5.8 | Y | solar not priority
Farranlahassery Solar | H1 | Cahir | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Laghtane Solar Farm | H1 | Ahane | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Lisbrien Solar Farm | H1 | Nenagh | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Ballytobin Solar PV | H2 | Kilkenny | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Castlekelly Solar PV Farm | H2 | Kilkenny | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Courtown Solar Farm (previously Coolnastudd) | H2 | Banoge | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Rosspile Solar Farm | H2 | Rosspile | solar | TSO | connected | Non GPA | 95 | Y | solar not priority
Tullabeg Solar Park | H2 | Tullabeg | solar | TSO | connected | Non GPA | 50 | Y | solar not priority
Coolyduff | I | Kilbarry | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
DePuy Synthes Turbine2 | I | Barnahely | wind | DSO | connected | Non GPA | 0.99 | N | wind uncontrolled
Drumgarriff South | I | Kilbarry | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
Leacht Cross Solar | I | Barnahely | solar | DSO | due to connected | Non GPA | 4.95 | Y | solar not priority
Monatooreen Solar | I | Knockraha | solar | TSO | due to connected | Non GPA | 25.7 | Y | solar not priority
Shanagraigue | I | Trabeg | solar | DSO | connected | Non GPA | 4.95 | Y | solar not priority
Blundelstown | J | Blundelstown | solar | TSO | connected | Non GPA | 60 | Y | solar not priority
Bodenstown Solar Farm | J | Monread | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Bullstown Solar Farm | J | Finglas | solar | DSO | connected | Non GPA | 8.42 | Y | solar not priority
Dunmurry Springs PV | J | Newbridge | solar | DSO | connected | Non GPA | 12 | Y | solar not priority
Gallanstown Solar | J | Gallanstown | solar | TSO | connected | Non GPA | 119 | Y | solar not priority
Harristown Solar PV | J | Harristown | solar | TSO | due to connected | Non GPA | 42.3 | Y | solar not priority
Kerdiffstown PV | J | Monread | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Lehinch Solar Farm | J | Thornsberry | solar | DSO | connected | Non GPA | 4 | Y | solar not priority
Loughteague | J | Coolnabacky | solar | TSO | due to connected | Non GPA | 55 | Y | solar not priority
Muinagh Solar Farm | J | Thornsberry | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Shanderry Solar Farm | J | Portlaoise | solar | DSO | due to connected | Non GPA | 4 | Y | solar not priority
Taghadoe Solar Farm | J | Griffinrath | solar | DSO | due to connected | Non GPA | 25 | Y | solar not priority
Threecastles Solar Farm | J | Kilteel | solar | DSO | due to connected | Non GPA | 15 | Y | solar not priority
Timahoe North solar | J | Timahoe | solar | TSO | connected | Non GPA | 70 | Y | solar not priority
Woodstock North Solar Farm | J | Athy | solar | DSO | due to connected | Non GPA | 4.99 | Y | solar not priority
Black Lough (1) | B | Glenree | wind | DSO | connected | ECP-1 | 12.5 | Y | wind not priority
Sorrell Island (Glenmore) WF Ext | D | Booltiagh | wind | DSO | connected | ECP-1 | 8 | Y | wind not priority
ESK Wind Farm Phase 2 | E | Boggeragh | wind | DSO | connected | ECP-1 | 12 | Y | wind not priority
Carrigdangan Wind Farm - Phase 2 | F | Dunmanway | wind | TSO | due to connected | ECP-1 | 7.95 | Y | wind not priority
Cloncreen Wind farm | J | Cushaling | wind | TSO | connected | ECP-1 | 75 | Y | wind not priority
Lenalea Wind Farm | A | Lenalea | wind | TSO | connected | ECP-1 | 30.1 | Y | wind not priority
Cloghan Wind Farm | C | Derrycarney | wind | TSO | connected | ECP-1 | 34 | Y | wind not priority
Taghart (1) | G | Meath Hill | wind | DSO | connected | ECP-1 | 23.06 | Y | wind not priority
Lisheen 3 | H1 | Lisheen | wind | TSO | connected | ECP-1 | 28.8 | Y | wind not priority
Macallian Solar | H2 | Crane | solar | DSO | connected | ECP-1 | 9 | Y | solar not priority
Gorey Solar | H2 | Banoge | solar | DSO | connected | ECP-1 | 4 | Y | solar not priority
Davidstown Solar | H2 | Wexford | solar | DSO | connected | ECP-1 | 4.95 | Y | solar not priority
Lurrig Solar Farm | I | Midleton | solar | DSO | connected | ECP-1 | 3.6 | Y | solar not priority
Currabeha | F | Bandon | solar | DSO | due to connected | ECP-1 | 4.95 | Y | solar not priority
Knockeenbui (1) | F | Dunmanway | wind | DSO | due to connected | ECP-1 | 13.8 | Y | wind not priority
Glen Solar | A | Garvagh | solar | TSO | due to connected | ECP-1 | 40 | Y | solar not priority
Croaghonagh 1 Windfarm (Merged with Carrickalangan) | A | Croaghonagh | wind | TSO | connected | ECP-1 | 138.1 | Y | wind not priority
Mully Graffy Windfarm (Kilgorman) | A | Tievebrack | wind | TSO | due to connected | ECP-1 | 29.9 | Y | wind not priority
Cloonascragh Solar | B | Cloon | solar | DSO | due to connected | ECP-1 | 20 | Y | solar not priority
Dooleeg More (1) | B | Bellacorick | wind | DSO | due to connected | ECP-1 | 2.5 | Y | wind not priority
Firlough TG371 was Carrowleagh-Kilbride DG741 | B | Firlough | wind | TSO | due to connected | ECP-1 | 48.3 | Y | wind not priority
Blackwater Bog Solar 1 | C | Shannonbridge | solar | TSO | due to connected | ECP-1 | 65 | Y | solar not priority
Cleggill Solar Park | C | Richmond | solar | DSO | due to connected | ECP-1 | 8 | Y | solar not priority
Clooncon East Single WTG | C | Athlone | wind | DSO | connected | ECP-1 | 0.9 | N | wind uncontrolled
Rooaun Solar | C | Athlone | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Roxborough | C | Lanesboro | wind | DSO | due to connected | ECP-1 | 4.95 | Y | wind not priority
Tullynally Estate | C | Mullingar | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Crossmore (1) | D | Booltiagh | wind | DSO | connected | ECP-1 | 15 | Y | wind not priority
Dromroe Solar | E | Tralee | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Callatrim South Solar Farm (prev. Kilcawha) | F | Bandon | solar | DSO | due to connected | ECP-1 | 5.95 | Y | solar not priority
Garryndruig | F | Bandon | solar | DSO | due to connected | ECP-1 | 4.95 | Y | solar not priority
Cluide Solar | G | Drybridge | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Friarspark (was Glebe Golf Course) | G | Navan | solar | DSO | connected | ECP-1 | 4 | Y | solar not priority
Gaskinstown Solar Farm | G | Deenes | solar | TSO | connected | ECP-1 | 85 | Y | solar not priority
Gillinstown Solar | G | Garballagh | solar | TSO | connected | ECP-1 | 95 | Y | solar not priority
Willville Solar Park | G | Dundalk | solar | DSO | due to connected | ECP-1 | 3.99 | Y | solar not priority
Ballymacadam (Monraha) Solar PV Farm | H1 | Cahir | solar | DSO | connected | ECP-1 | 21 | Y | solar not priority
Horsepasture Solar Farm (Grian PV) | H1 | Doon | solar | DSO | due to connected | ECP-1 | 8 | Y | solar not priority
Monroe East solar from merge Ballyfowloo Lawclon | H1 | Cahir | solar | DSO | connected | ECP-1 | 8 | Y | solar not priority
Ballyedock | H2 | Great Island | solar | DSO | due to connected | ECP-1 | 12 | Y | solar not priority
Bilboa (1) | H2 | Carlow | wind | DSO | due to connected | ECP-1 | 15 | Y | wind not priority
Kilcarrig Solar PV Farm | H2 | Carlow | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Templerainey East Solar Farm (Ballycooleen) | H2 | Arklow | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Ballynacrusha | I | Cow Cross | solar | DSO | due to connected | ECP-1 | 4.95 | Y | solar not priority
Tead More Solar (Meelshane) | I | Midleton | solar | DSO | due to connected | ECP-1 | 3.95 | Y | solar not priority
Clonfad Solar | J | Clonfad | solar | TSO | due to connected | ECP-1 | 100 | Y | solar not priority
Confey Solar Park | J | Griffinrath | solar | DSO | due to connected | ECP-1 | 15.5 | Y | solar not priority
Drumroe East Solar Farm | K | Dungarvan | solar | DSO | due to connected | ECP-1 | 15 | Y | solar not priority
Foxhall PV | K | Dungarvan | solar | DSO | due to connected | ECP-1 | 3.99 | Y | solar not priority
Keiloge Solar (Prev Coolnagapogue Solar Farm Phase 1) | K | Butlerstown | solar | DSO | due to connected | ECP-1 | 3.95 | Y | solar not priority
Rathnaskilloge | K | Rathnaskilloge | solar | TSO | connected | ECP-1 | 95 | Y | solar not priority
Firgrove | D | Drumline | solar | DSO | due to connected | ECP-1 | 4 | Y | solar not priority
Stamullen Solar Park | G | Drybridge | solar | DSO | due to connected | ECP-1 | 3.99 | Y | solar not priority
Middleton solar (Longford) | C | Lanesboro | solar | TSO | due to connected | ECP-2.1 | 56.6 | Y | solar not priority
Clogheravaddy Wind Farm (Phase 3) | A | Binbane | wind | DSO | connected | ECP-2.1 | 3.6 | Y | wind not priority
Drumlins Park wind | G | Lislea | wind | TSO | connected | ECP-2.1 | 48.8 | Y | wind not priority
Willville Extension Solar Park | G | Dundalk | solar | DSO | due to connected | ECP-2.1 | 1 | Y | solar not priority
Bilboa Wind farm Ext | H2 | Carlow | wind | DSO | due to connected | ECP-2.1 | 6 | Y | wind not priority
Bradán Wind Farm (Killybegs Community Wind Turbine) | A | Binbane | wind | DSO | due to connected | ECP-2.1 | 4.2 | Y | wind not priority
Tullyhaw Community Wind Turbine | A | Gortawee | wind | DSO | due to connected | ECP-2.1 | 4.2 | Y | wind not priority
Tullynamoyle Wind Farm 5 | A | Corderry | wind | DSO | due to connected | ECP-2.1 | 16.35 | Y | wind not priority
Ardderoo wind extension | B | Knockranny | wind | TSO | due to connected | ECP-2.1 | 18 | Y | wind not priority
Claremorris 2 Solar Farm | B | Dalton | solar | DSO | due to connected | ECP-2.1 | 4 | Y | solar not priority
Dooleeg More Ext. | B | Bellacorick | wind | DSO | due to connected | ECP-2.1 | 1.3 | Y | wind not priority
Firlough Wind Farm | B | Firlough | wind | TSO | due to connected | ECP-2.1 | 27.3 | Y | wind not priority
Knockranny wind | B | Knockranny | wind | TSO | due to connected | ECP-2.1 | 47.3 | Y | wind not priority
Templehouse Community Wind Turbine | B | Sligo | wind | DSO | due to connected | ECP-2.1 | 4.08 | Y | wind not priority
Clondardis Solar | C | Shanonagh | solar | TSO | due to connected | ECP-2.1 | 58.6 | Y | solar not priority
Coole wind | C | Mullingar | wind | TSO | due to connected | ECP-2.1 | 88 | Y | wind not priority
Derryadd wind | C | Lanesboro | wind | TSO | due to connected | ECP-2.1 | 90 | Y | wind not priority
WEP Solar Slanemore Mullingar | C | Mullingar | solar | DSO | due to connected | ECP-2.1 | 16.85 | Y | solar not priority
Crossmore (2) | D | Booltiagh | wind | DSO | connected | ECP-2.1 | 10.2 | Y | wind not priority
Dromsallagh Solar | D | Ardnacrusha | solar | DSO | due to connected | ECP-2.1 | 4 | Y | solar not priority
Gortaheera CM2 Windfarm | D | Booltiagh | wind | DSO | due to connected | ECP-2.1 | 3 | Y | wind not priority
Ballylongford Windfarm | E | Drombeg | wind | DSO | due to connected | ECP-2.1 | 25.2 | Y | wind not priority
Coumaclovane Solar Extension | E | Coomagearlahy | solar | TSO | due to connected | ECP-2.1 | 7 | Y | solar not priority
Knocknamork solar | E | Ballyvouskil 220 | solar | TSO | due to connected | ECP-2.1 | 12.5 | Y | solar not priority
Knocknamork wind | E | Ballyvouskil 220 | wind | TSO | due to connected | ECP-2.1 | 42 | Y | wind not priority
Farrangalway Solar PV Farm | F | Bandon | solar | DSO | due to connected | ECP-2.1 | 4.95 | Y | solar not priority
Friarspark Solar 2 | G | Navan | solar | DSO | due to connected | ECP-2.1 | 2.1 | Y | solar not priority
Kilkeelan Phase 2 Solar Farm | G | Navan | solar | DSO | due to connected | ECP-2.1 | 1.35 | Y | solar not priority
Ballinalard Solar Farm | H1 | Tipperary | solar | DSO | due to connected | ECP-2.1 | 4 | Y | solar not priority
Erkina solar | H1 | Timoney | solar | TSO | due to connected | ECP-2.1 | 66.56 | Y | solar not priority
Farran South | H1 | Barrymore | solar | DSO | due to connected | ECP-2.1 | 15 | Y | solar not priority
Ballymanus Wind Farm | H2 | Arklow | wind | DSO | due to connected | ECP-2.1 | 39.99 | Y | wind not priority
Coolnagloose Community Solar Farm | H2 | Arklow | solar | DSO | due to connected | ECP-2.1 | 0.85 | N | solar uncontrolled
Coppenagh solar | H2 | Carlow | solar | DSO | due to connected | ECP-2.1 | 4.6 | Y | solar not priority
Keatingstown Solar Farm | H2 | Kilkenny | solar | DSO | due to connected | ECP-2.1 | 6 | Y | solar not priority
Loan PV | H2 | Ballyragget | solar | DSO | due to connected | ECP-2.1 | 4.99 | Y | solar not priority
North Arklow Solar | H2 | Arklow | solar | TSO | due to connected | ECP-2.1 | 47 | Y | solar not priority
Parksgrove solar | H2 | Ballyragget | solar | DSO | due to connected | ECP-2.1 | 35 | Y | solar not priority
Pinewoods wind | H2 | Garrintaggart | wind | TSO | due to connected | ECP-2.1 | 49.5 | Y | wind not priority
The Dell Solar | H2 | Crory | solar | DSO | due to connected | ECP-2.1 | 20 | Y | solar not priority
Tracystown Solar | H2 | Wexford | solar | TSO | due to connected | ECP-2.1 | 101.1 | Y | solar not priority
Ballinrea Solar Park | I | Raffeen | solar | TSO | due to connected | ECP-2.1 | 55 | Y | solar not priority
Lysaghtstown Solar | I | Lysaghtstown | solar | TSO | connected | ECP-2.1 | 87 | Y | solar not priority
Cushaling wind (loop into Cushaling - Newbridge) | J | Philipstown | wind | TSO | connected | ECP-2.1 | 50 | Y | wind not priority
Drehid wind | J | Mulgeeth | wind | TSO | connected | ECP-2.1 | 60 | Y | wind not priority
Clonin North solar | J | Derryiron | solar | TSO | due to connected | ECP-2.1 | 47 | Y | solar not priority
Dysart PV | J | Dunfirth | solar | DSO | due to connected | ECP-2.1 | 17.5 | Y | solar not priority
Moanvane wind | J | Mount Lucas | wind | TSO | connected | ECP-2.1 | 56.4 | Y | wind not priority
Harlockstown Solar (Gallanstown Solar Extension) | J | Gallanstown | solar | TSO | connected | ECP-2.1 | 31.6 | Y | solar not priority
Mainscourt | J | Grange | solar | DSO | due to connected | ECP-2.1 | 39.99 | Y | solar not priority
Yellow River Wind Farm | J | Derryiron | wind | TSO | connected | ECP-2.1 | 101 | Y | wind not priority
Muinagh Solar Farm phase 2 | J | Thornsberry | solar | DSO | due to connected | ECP-2.1 | 1.8 | Y | solar not priority
Cooltubbrid West Solar | K | Dungarvan | solar | DSO | connected | ECP-2.1 | 4 | Y | solar not priority
Kilcannon | K | Dungarvan | solar | DSO | due to connected | ECP-2.1 | 4.95 | Y | solar not priority
Rathlockstown Solar | J | Gallanstown | solar | TSO | connected | ECP-2.1 | 18.9 | Y | solar not priority
Clooninagh Wind Farm | B | Cloon | wind | DSO | due to connected | ECP-2.1 | 4.5 | Y | wind not priority
Barnesmore Windfarm Repowering | A | Golagh | wind | TSO | due to connected | ECP-2.2 | 48 | Y | wind not priority
Ballymoneen Solar Park | B | Cashla | solar | TSO | due to connected | ECP-2.2 | 100 | Y | solar not priority
Barnacurragh Solar Park | B | Cloon | solar | TSO | due to connected | ECP-2.2 | 50 | Y | solar not priority
Milltown Community Solar Farm | B | Cloon | solar | DSO | due to connected | ECP-2.2 | 4.99 | Y | solar not priority
Ardnadoman Solar Farm | C | Somerset | solar | DSO | due to connected | ECP-2.2 | 4 | Y | solar not priority
Coole Wind Farm - Extension | C | Mullingar | wind | TSO | due to connected | ECP-2.2 | 9.5 | Y | wind not priority
Derrinlough Wind Farm | C | Stonestown | wind | TSO | connected | ECP-2.2 | 105 | Y | wind not priority
Leamór Community Wind Turbine | C | Dallow | wind | DSO | due to connected | ECP-2.2 | 4.99 | Y | wind not priority
Lissane West Solar Farm | D | Ennis | solar | DSO | due to connected | ECP-2.2 | 18.3 | Y | solar not priority
Manusmore Solar Park | D | Ennis | solar | TSO | due to connected | ECP-2.2 | 60 | Y | solar not priority
Ballyenaghty Solar Park | E | Tralee | solar | DSO | due to connected | ECP-2.2 | 9.9 | Y | solar not priority
Ballyroe Solar | E | Charleville | solar | TSO | due to connected | ECP-2.2 | 120 | Y | solar not priority
Islanduane Solar Farm | E | Limerick | solar | DSO | due to connected | ECP-2.2 | 4.95 | Y | solar not priority
Berrings Solar Farm | F | Macroom | solar | DSO | due to connected | ECP-2.2 | 13.8 | Y | solar not priority
Finnis PV | F | Bandon | solar | DSO | connected | ECP-2.2 | 8.5 | Y | solar not priority
Darthogue Solar Farm | J | Crakenstown | solar | TSO | due to connected | ECP-2.2 | 47 | Y | solar not priority
Drumman Solar Farm | G | Shankill | solar | DSO | due to connected | ECP-2.2 | 7 | Y | solar not priority
Garballagh2 Solar Farm | G | Garballagh | solar | TSO | due to connected | ECP-2.2 | 48 | Y | solar not priority
Monvallet Hybrid Solar & Battery Farm | G | Louth | solar | TSO | due to connected | ECP-2.2 | 50 | Y | solar not priority
Erkina Solar Park Extension | H1 | Timoney | solar | TSO | due to connected | ECP-2.2 | 90 | Y | solar not priority
Magherareagh Solar PV Farm | H1 | Cahir | solar | DSO | due to connected | ECP-2.2 | 3.3 | Y | solar not priority
Ballinaclough Solar Farm | H2 | Ballybeg | solar | DSO | due to connected | ECP-2.2 | 8.5 | Y | solar not priority
Clashwilliam Solar | H2 | Kilkenny | solar | DSO | due to connected | ECP-2.2 | 44 | Y | solar not priority
Coolboy Solar Farm | H2 | Arklow | solar | DSO | due to connected | ECP-2.2 | 5.99 | Y | solar not priority
Farranrory Wind Farm | H2 | Ballyragget | wind | DSO | due to connected | ECP-2.2 | 45 | Y | wind not priority
Garreenleen Solar Farm | H2 | Kellis | solar | TSO | due to connected | ECP-2.2 | 81 | Y | solar not priority
Johnstown North PV | H2 | Arklow | solar | DSO | due to connected | ECP-2.2 | 22 | Y | solar not priority
Thomastown Road Solar | H2 | Kilkenny | solar | DSO | due to connected | ECP-2.2 | 4 | Y | solar not priority
Tomsallagh Solar | H2 | Effernoge | solar | TSO | due to connected | ECP-2.2 | 50 | Y | solar not priority
Ballyduff PV | I | Midleton | solar | DSO | due to connected | ECP-2.2 | 7 | Y | solar not priority
Ballyvatta Solar Extension | I | Knockraha | solar | TSO | due to connected | ECP-2.2 | 16.3 | Y | solar not priority
Leacht Cross Solar Phase 2 | I | Barnahely | solar | DSO | due to connected | ECP-2.2 | 5 | Y | solar not priority
Ballyboughlin Solar Farm | J | Thornsberry | solar | DSO | due to connected | ECP-2.2 | 14 | Y | solar not priority
East Laois Solar Farm Extension | J | Coolnabacky | solar | TSO | due to connected | ECP-2.2 | 25 | Y | solar not priority
Fieldstown Solar | J | Finglas | solar | TSO | due to connected | ECP-2.2 | 75 | Y | solar not priority
Garr Solar & Storage | J | Derryiron | solar | TSO | due to connected | ECP-2.2 | 85 | Y | solar not priority
Smithstown | J | Griffinrath | solar | DSO | due to connected | ECP-2.2 | 25.3 | Y | solar not priority
Timahoe North Phase 2 Solar Farm | J | Timahoe | solar | TSO | due to connected | ECP-2.2 | 60 | Y | solar not priority
Carriglong Solar Park | K | Butlerstown | solar | DSO | due to connected | ECP-2.2 | 32.7 | Y | solar not priority
Farranmacedmond Solar Farm | H2 | Waterford | solar | DSO | due to connected | ECP-2.2 | 6 | Y | solar not priority
Poulbautia Solar Farm | K | Dungarvan | solar | DSO | due to connected | ECP-2.2 | 19 | Y | solar not priority
Coppenagh Solar Park Extension | H2 | Carlow | solar | DSO | due to connected | ECP-2.2 | 4.7 | Y | solar not priority
Derrykillew Wind Farm | A | Cathaleen's Fall | wind | DSO | due to connected | ECP-2.2 | 37.5 | Y | wind not priority
Aught Wind Farm | A | Letterkenny | wind | TSO | due to connected | ECP-2.4 | 57.4 | Y | wind not priority
Cuilmore Solar Park | C | Athlone | solar | DSO | due to connected | ECP-2.3 | 40 | Y | solar not priority
Carrownagowan Wind Farm | D | Ardnacrusha | wind | TSO | due to connected | ECP-2.3 | 91.2 | Y | wind not priority
Stacks Mountain Wind Farm 2 | E | Reamore | wind | DSO | due to connected | ECP-2.3 | 4.5 | Y | wind not priority
Carrigraigue Solar Extension | E | Boggeragh | solar | TSO | due to connected | ECP-2.3 | 11.5 | Y | solar not priority
Gorman Solar Farm | G | Gorman | solar | TSO | due to connected | ECP-2.3 | 46 | Y | solar not priority
Milltown Solar | G | Balruntagh | solar | TSO | due to connected | ECP-2.3 | 115 | Y | solar not priority
Farran South Solar Phase 2 | H1 | Barrymore | solar | DSO | due to connected | ECP-2.3 | 5.49 | Y | solar not priority
Barnaleen Solar Farm | H1 | Cauteen | solar | TSO | due to connected | ECP-2.3 | 55 | Y | solar not priority
Tullabeg Phase 2 | H2 | Tullabeg | solar | TSO | due to connected | ECP-2.3 | 105 | Y | solar not priority
Lysaghtstown Phase 2 | I | Lysaghtstown | solar | TSO | due to connected | ECP-2.3 | 45 | Y | solar not priority
Fieldstown Solar Farm Ext | J | Finglas | solar | TSO | due to connected | ECP-2.3 | 18.27 | Y | solar not priority
Altcor Wind Farm | A | Binbane | wind | DSO | due to connected | ECP-2.3 | 9 | Y | wind not priority
Drumnahough Wind Farm | A | Lenalea | wind | TSO | due to connected | ECP-2.3 | 72 | Y | wind not priority
Chafhill Wind Farm (prev. Glenree) | B | Glenree | wind | DSO | due to connected | ECP-2.3 | 4.95 | Y | wind not priority
Ballykenny Solar | C | Richmond | solar | DSO | due to connected | ECP-2.3 | 9 | Y | solar not priority
Taduff Solar Park | C | Athlone | solar | TSO | due to connected | ECP-2.3 | 80 | Y | solar not priority
Ballingaddy Solar | D | Ennis | solar | DSO | due to connected | ECP-2.3 | 4.99 | Y | solar not priority
Drombeg Solar Park Phase II (Ballydonohoe) | E | Drombeg | solar | TSO | due to connected | ECP-2.3 | 44 | Y | solar not priority
Shrownowen Windfarm | E | Pollagh | wind | TSO | due to connected | ECP-2.3 | 50 | Y | wind not priority
Kilcurly Solar | G | Dundalk | solar | DSO | due to connected | ECP-2.3 | 44.9 | Y | solar not priority
Reask Solar Farm | J | Crakenstown | solar | TSO | due to connected | ECP-2.3 | 55 | Y | solar not priority
Gortdrum Solar PV | H1 | Cauteen | solar | DSO | due to connected | ECP-2.3 | 48 | Y | solar not priority
Grian PV Ballyboe | H1 | Ballydine | solar | DSO | due to connected | ECP-2.3 | 12 | Y | solar not priority
Kiloran Solar PV Farm | H1 | Lisheen | solar | TSO | due to connected | ECP-2.3 | 76 | Y | solar not priority
Ballymoney PV | H2 | Arklow | solar | DSO | due to connected | ECP-2.3 | 7.6 | Y | solar not priority
Grangeford Solar PV | H2 | Kellis | solar | TSO | due to connected | ECP-2.3 | 48 | Y | solar not priority
Monart Spa Ground Mount 3 | H2 | Crane | solar | DSO | due to connected | ECP-2.3 | 1.3 | Y | solar not priority
Castlebanny Wind Farm | H2 | Kilvinoge | wind | TSO | due to connected | ECP-2.3 | 138.6 | Y | wind not priority
Barryscourt Solar Farm (Solar) | I | Cow Cross | solar | DSO | due to connected | ECP-2.3 | 8 | Y | solar not priority
Ballyteige Solar Park | J | Thornsberry | solar | TSO | due to connected | ECP-2.3 | 90 | Y | solar not priority
Clonymeath Solar (Solar) | J | Fosterstown | solar | TSO | due to connected | ECP-2.3 | 78.8 | Y | solar not priority
Kilcush Solar Farm | J | Philipstown | solar | TSO | due to connected | ECP-2.3 | 50 | Y | solar not priority
Old Court Solar Farm | J | Timahoe | solar | TSO | due to connected | ECP-2.3 | 90 | Y | solar not priority
Bracklyn Wind Farm (Wind) | J | Bracklyn | wind | TSO | due to connected | ECP-2.3 | 64.8 | Y | wind not priority
Toolestown Solar | J | Maynooth | solar | TSO | due to connected | ECP-2.3 | 50 | Y | solar not priority
Treascon Solar Farm | J | Bracklone | solar | TSO | due to connected | ECP-2.3 | 60 | Y | solar not priority
Pickardstown PV | K | Butlerstown | solar | DSO | due to connected | ECP-2.3 | 8.8 | Y | solar not priority
Cahershaughnessy Solar | D | Ennis | solar | DSO | due to connected | ECP-2.3 | 8.8 | Y | solar not priority
Darthogue Solar Farm Extension | J | Crakenstown | solar | TSO | due to connected | ECP-2.3 | 70 | Y | solar not priority
Carrigogna Solar | I | Midleton | solar | DSO | due to connected | ECP-2.3 | 10 | Y | solar not priority
College Export AutoProducer (solar) | G | Meath Hill | solar | DSO | due to connected | ECP-2.3 (Cat B) | 0.4 | Y | solar not priority
Carrowgarve Solar | B | Moy | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4 | Y | solar not priority
Lissavilla Polecat Solar | C | Carrick on Shannon | solar | DSO | due to connected | ECP-2.3 (Cat C) | 0.14 | N | solar uncontrolled
Amberhill Community Solar Farm | K | Butlerstown | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4.99 | Y | solar not priority
Cloonbar WF | B | Cloon | wind | DSO | due to connected | ECP-2.3 (Cat C) | 4.99 | Y | wind not priority
Knockreagh Community Solar | E | Oughtragh | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4.4 | Y | solar not priority
Clonmel Renewable Energy Community A | H1 | Doon | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4.99 | Y | solar not priority
LT SolarFruit | J | Finglas | solar | DSO | due to connected | ECP-2.3 (Cat C) | 2.8 | Y | solar not priority
Polecat Community PV | C | Carrick on Shannon | solar | DSO | due to connected | ECP-2.3 (Cat C) | 4.99 | Y | solar not priority
Loughdenee Solar | K | Butlerstown | solar | DSO | due to connected | ECP-2.3 | 9 | Y | solar not priority
Oriel offshore new A | G | Oriel 220kV | offshore wind | TSO | due to connected | Offshore wind | 165 | Y | wind not priority
Arklow Bank Phase 2 A | H2 | Arklow 220kV | offshore wind | TSO | due to connected | Offshore wind | 400 | Y | wind not priority
Arklow Bank Phase 2 B | H2 | Arklow 220kV | offshore wind | TSO | due to connected | Offshore wind | 400 | Y | wind not priority
North Irish Sea Array A | J | Belcamp 220kV | offshore wind | TSO | due to connected | Offshore wind | 250 | Y | wind not priority
North Irish Sea Array B | J | Belcamp 220kV | offshore wind | TSO | due to connected | Offshore wind | 250 | Y | wind not priority
Kish Bank (Dublin Array) | J | Carrickmines 220kV | offshore wind | TSO | due to connected | Offshore wind | 412 | Y | wind not priority
Bray Bank (Dublin Array) | J | Carrickmines 220kV | offshore wind | TSO | due to connected | Offshore wind | 412 | Y | wind not priority
Codling Offshore Wind A | J | Poolbeg north 220kV | offshore wind | TSO | due to connected | Offshore wind | 400 | Y | wind not priority
Codling Offshore Wind B | J | Poolbeg south 220kV | offshore wind | TSO | due to connected | Offshore wind | 450 | Y | wind not priority
Codling Offshore Wind C | J | Poolbeg south 220kV | offshore wind | TSO | due to connected | Offshore wind | 450 | Y | wind not priority
Great Island OWF | H2 | Great Island 220kV | offshore wind | TSO | due to connected | Offshore wind | 450 | Y | wind not priority
Knockraha | I | Knockraha 220kV | offshore wind | TSO | due to connected | Offshore wind | 450 | Y | wind not priority
Kilrue Solar | J | Crakenstown | solar | TSO | due to connected | ECP-2.3 | 195 | Y | solar not priority
TULLYNAMOYLE WIND FARM 6 | A | Corderry | Wind | DSO | due to connected | ECP-2.4 | 20.2 | Y | wind not priority
Spion Kop Windfarm Ext. (Ext to DG978) | A | Arigna | Wind | DSO | due to connected | ECP-2.4 | 1.5 | Y | wind not priority
Cronalaght 3 Wind Farm | A | Ardnagappary | Wind | DSO | due to connected | ECP-2.4 | 9 | Y | wind not priority
Ballymoneen Phase 2 | B | Cashla | Solar | TSO | due to connected | ECP-2.4 | 5 | Y | solar not priority
Seven Hills Wind Farm | C | Athlone | Wind | TSO | due to connected | ECP-2.4 | 122.4 | Y | wind not priority
Kilcormac Solar | C | Derrycarney | Solar | TSO | due to connected | ECP-2.4 | 125 | Y | solar not priority
Cloondara Solar Park | C | Richmond | Solar | DSO | due to connected | ECP-2.4 | 4 | Y | solar not priority
Ballykenny Solar Extension | C | Richmond | Solar | DSO | due to connected | ECP-2.4 | 6 | Y | solar not priority
Clondardis Solar Extension | C | Shanonagh | Solar | TSO | due to connected | ECP-2.4 | 11.4 | Y | solar not priority
Leam Windfarm | C | Carrick on Shannon | Wind | DSO | due to connected | ECP-2.4 | 6.9 | Y | wind not priority
Drummin Solar | D | Ardnacrusha | Solar | DSO | due to connected | ECP-2.4 | 35 | Y | solar not priority
Ballycunneen PV | D | Drumline | Solar | DSO | due to connected | ECP-2.4 | 12 | Y | solar not priority
Ballyglass Solar Farm | D | Ardnacrusha | Solar | TSO | due to connected | ECP-2.4 | 80.019 | Y | solar not priority
Ballylongford Solar | E | Pollagh | Solar | TSO | due to connected | ECP-2.4 | 128 | Y | solar not priority
Ballyroe Solar Extension | E | Charleville | Solar | TSO | due to connected | ECP-2.4 | 45 | Y | solar not priority
Sandford Energy Solar Farm Ext. | E | Tralee | Solar | DSO | due to connected | ECP-2.4 | 1.5 | Y | solar not priority
Maine Solar Extension | E | Oughtragh | Solar | DSO | due to connected | ECP-2.4 | 1 | Y | solar not priority
Mill Farm Solar | G | Ricetown | Solar | TSO | due to connected | ECP-2.4 | 63 | Y | solar not priority
Reask Phase 2 | J | Crakenstown | Solar | TSO | due to connected | ECP-2.4 | 30 | Y | solar not priority
Mullagharoy Solar Farm | G | Drybridge | Solar | DSO | due to connected | ECP-2.4 | 0.99 | Y | solar not priority
Drumgoolan Solar and Battery Farm | G | Louth | Solar | TSO | due to connected | ECP-2.4 | 75 | Y | solar not priority
Coom Green Energy Park | H1 | Barrymore | Wind | TSO | due to connected | ECP-2.4 | 105.6 | Y | wind not priority
Ballyvalode Solar | H1 | Cauteen | Solar | TSO | due to connected | ECP-2.4 | 113 | Y | solar not priority
Knockroe Wind Farm | H1 | Doon | Wind | DSO | due to connected | ECP-2.4 | 33.6 | Y | wind not priority
Barnaleen Solar Phase 2 | H1 | Cauteen | Solar | TSO | due to connected | ECP-2.4 | 35 | Y | solar not priority
White Hill Wind Farm | H2 | Kellymount | Wind | TSO | due to connected | ECP-2.4 | 50.4 | Y | wind not priority
Garreenleen Solar Farm Phase 2 | H2 | Kellis | Solar | TSO | due to connected | ECP-2.4 | 82 | Y | solar not priority
Tincurry Solar Farm | H2 | Lodgewood | Solar | TSO | due to connected | ECP-2.4 | 109 | Y | solar not priority
Friarstown Solar Farm | H2 | Carlow | Solar | TSO | due to connected | ECP-2.4 | 50 | Y | solar not priority
Golden Forth Solar Park | H2 | Stratford | Solar | DSO | due to connected | ECP-2.4 | 0.999 | Y | solar not priority
JOHNSTOWN SOLAR PARK | H2 | Carlow | Solar | DSO | due to connected | ECP-2.4 | 9.99 | Y | solar not priority
Tullabeg Phase 3 | H2 | Tullabeg | Solar | TSO | due to connected | ECP-2.4 | 30 | Y | solar not priority
Templemichael Solar Plus Storage Facility | H2 | Arklow | Solar | TSO | due to connected | ECP-2.4 | 30 | Y | solar not priority
Coolcarrigan Solar P2 | J | Timahoe | Solar | TSO | due to connected | ECP-2.4 | 120 | Y | solar not priority
Culmullin Solar Farm | J | Arodstown | Solar | TSO | due to connected | ECP-2.4 | 70 | Y | solar not priority
Fieldstown Extension No.2 | J | Finglas | Solar | TSO | due to connected | ECP-2.4 | 60 | Y | solar not priority
Darthogue Solar Farm Ext 2 | J | Gallanstown | Solar | TSO | due to connected | ECP-2.4 | 13.5 | Y | solar not priority
Dernacart Windfarm | J | Bracklone | Wind | TSO | due to connected | ECP-2.4 | 57.6 | Y | wind not priority
Lyrenacarriga Windfarm and BESS | K | Woodhouse | Wind | TSO | due to connected | ECP-2.4 | 85 | Y | wind not priority
Modelligo Solar Farm | K | Dungarvan | Solar | TSO | due to connected | ECP-2.4 | 80 | Y | solar not priority
Ballymac Solar | K | Dungarvan | Solar | TSO | due to connected | ECP-2.4 | 5 | Y | solar not priority
Ardass Solar Ext. | C | Carrick on Shannon | Solar | DSO | due to connected | ECP-2.4 (Cat C) | 4.99 | Y | solar not priority
Brighter Community Solar Farm Kilcummin | E | Knockearagh | Solar | DSO | due to connected | ECP-2.4 (Cat C) | 4.99 | Y | solar not priority
Project GiMAT | J | Fosterstown | Solar | DSO | due to connected | ECP-2.4 (Cat C) | 4.99 | Y | solar not priority
Moy Valley Decarbonising Community CLG | B | Castlebar | Solar | DSO | due to connected | ECP-2.4 (Cat C) | 4.99 | Y | solar not priority
AMS solar | I | Castleview | Solar | DSO | due to connected | ECP-2.4 | 3.49 | Y | solar not priority
Culmullin Solar Farm Ext | J | Arodstown | Solar | TSO | due to connected | ECP-2.5 | 120 | Y | solar not priority
Cregg Solar | C | Cregg | Solar | TSO | due to connected | ECP-2.5 | 75 | Y | solar not priority
Blackhall Solar | J | Arodstown | Solar | TSO | due to connected | ECP-2.5.1 | 165.6 | Y | solar not priority
Inchamore | E | Glanlee | Wind | TSO | due to connected | ECP-2.5.1 | 26 | Y | wind not priority
Knockanarragh | G | Balruntagh | Wind | TSO | due to connected | ECP-2.5.1 | 50.4 | Y | wind not priority
Glenard (1) | A | Letterkenny | Wind | TSO | due to connected | ECP-2.5.1 | 93 | Y | wind not priority
Gortyrahilly | E | Coomataggart | Wind | TSO | due to connected | ECP-2.5.1 | 85.8 | Y | wind not priority
Kildallan Solar | C | Shanonagh | Solar | TSO | due to connected | ECP-2.5.1 | 130 | Y | solar not priority
Oweninney (3) extension | B | Bellacorick | Wind | TSO | due to connected | ECP-2.5.1 | 40 | Y | wind not priority
Meenawley | A | Binbane | Wind | DSO | due to connected | ECP-2.5 | 4.5 | Y | wind not priority
Sheskin South | B | Bellacorick | Wind | TSO | due to connected | ECP-2.5 | 129.6 | Y | wind not priority
Moyvilla Solar | B | Cashla | Solar | TSO | due to connected | ECP-2.5 | 85 | Y | solar not priority
Kilrue Solar extension | J | Crakenstown | Solar | TSO | due to connected | ECP-2.5.1 | 175 | Y | solar not priority
Kilbeg Solar | B | Dalton | Solar | DSO | due to connected | ECP-2.5 | 12 | Y | solar not priority
Ballymoneen ph3 solar | B | Cashla | Solar | TSO | due to connected | ECP-2.5 | 20 | Y | solar not priority
Cush | C | Dallow | Wind | TSO | due to connected | ECP-2.5 | 57.6 | Y | wind not priority
Derrycarney solar | C | Derrycarney | Solar | TSO | due to connected | ECP-2.5 | 105 | Y | solar not priority
Lumcloon | C | Derrycarney | Solar | TSO | due to connected | ECP-2.5 | 95 | Y | solar not priority
Rath Solar PV (ECP2.4+2.5) | C | Derrycarney | Solar | TSO | due to connected | ECP-2.5 | 119.25 | Y | solar not priority
Ballydonagh | C | Somerset | Solar | TSO | due to connected | ECP-2.5 | 90 | Y | solar not priority
Fahybeg | D | Ardnacrusha | Wind | DSO | due to connected | ECP-2.5 | 40 | Y | wind not priority
Manusmore Solar 2 | D | Coolshamroge | Solar | TSO | due to connected | ECP-2.5 | 60 | Y | solar not priority
Esk (3) | E | Boggeragh | Solar | DSO | due to connected | ECP-2.5 | 12.7 | Y | solar not priority
Ballinagree | E | Clashavoon | Wind | TSO | due to connected | ECP-2.5 | 112 | Y | wind not priority
Brinny solar non export | F | Bandon | Solar | TSO | due to connected | ECP-2.5 | 8.2 | N | solar uncontrolled
Milltown ph2 solar | G | Balruntagh | solar | TSO | due to connected | ECP-2.5 | 19 | Y | solar not priority
Hawkinstown Solar | G | Deenes | Solar | TSO | due to connected | ECP-2.5 | 85 | Y | solar not priority
Borrisbeg | H1 | Borrisbeg | Wind | TSO | due to connected | ECP-2.5 | 54 | Y | wind not priority
Mothel solar | H1 | Curraghduff | solar | TSO | due to connected | ECP-2.5 | 125 | Y | solar not priority
Ballyboe ph2 | H1 | Doon | solar | DSO | due to connected | ECP-2.5 | 4 | Y | solar not priority
Springmount PV | H1 | Springmount | solar | TSO | due to connected | ECP-2.5 | 65 | Y | solar not priority
Erkina Solar ph2 | H1 | Timoney | Solar | TSO | due to connected | ECP-2.5 | 15 | Y | solar not priority
Rathduff Solar | H1 | Tipperary | Solar | DSO | due to connected | ECP-2.5 | 25 | Y | solar not priority
Ballymoney Solar ph2 | H2 | Arklow | solar | DSO | due to connected | ECP-2.5 | 6.3 | Y | solar not priority
Coppenagh Solar ph3 | H2 | Carlow | Solar | DSO | due to connected | ECP-2.5 | 20 | Y | solar not priority
Tomsallagh ph2 | H2 | Effernoge | solar | DSO | due to connected | ECP-2.5 | 1 | Y | solar not priority
Brownstown Solar | H2 | Kilkenny | solar | TSO | due to connected | ECP-2.5 | 50 | Y | solar not priority
Kilderry Solar | H2 | Kilkenny | Solar | DSO | due to connected | ECP-2.5 | 35 | Y | solar not priority
Baunogephlure Solar | H2 | Kellis | Solar | TSO | due to connected | ECP-2.5 | 55 | Y | solar not priority
Grangeford Solar ph2 | H2 | Kellis | Solar | TSO | due to connected | ECP-2.5 | 22 | Y | solar not priority
Garravagh Solar ph2 | I | Coolroe | Solar | DSO | due to connected | ECP-2.5 | 14 | Y | solar not priority
Ballynahina Solar | I | Kilbarry | Solar | DSO | due to connected | ECP-2.5 | 30 | Y | solar not priority
Rahanisky | I | Kilbarry | Solar | DSO | due to connected | ECP-2.5 | 39.9 | Y | solar not priority
Ballyduff solar ph2 | I | Midleton | Solar | DSO | due to connected | ECP-2.5 | 8 | Y | solar not priority
Rathcoursey Solar | I | Rathcoursey | Solar | TSO | due to connected | ECP-2.5 | 110 | Y | solar not priority
Bishopswood Solar | J | Bracklone | Solar | TSO | due to connected | ECP-2.5 | 25 | Y | solar not priority
Ballivor | J | Craddanstown | Wind | TSO | due to connected | ECP-2.5 | 182 | Y | wind not priority
Clonymeath Solar ph2 | J | Curraghdoo | Solar | TSO | due to connected | ECP-2.5 | 4 | Y | solar not priority
Delamain Solar | J | Dunstown | Solar | TSO | due to connected | ECP-2.5 | 210 | Y | solar not priority
Rathdrinagh Solar | G | Garballagh | Solar | TSO | due to connected | ECP-2.5 | 72 | Y | solar not priority
Kinnegad solar non export | J | Kinnegad | Solar | TSO | due to connected | ECP-2.5 | 12 | N | solar uncontrolled
Ballyteigue Solar ph2 | J | Thornsberry | solar | TSO | due to connected | ECP-2.5 | 90 | Y | solar not priority
Gormagh Solar Farm | J | Thornsberry | Solar | TSO | due to connected | ECP-2.5 | 40 | Y | solar not priority
Dolanstown Solar Farm | J | Griffinrath | Solar | DSO | due to connected | ECP-2.5 | 4.9 | Y | solar not priority
Kilcash Wind Farm | C | Lanesboro | Wind | DSO | due to connected | ECP-2.5 | 4.5 | Y | wind not priority
Lissanore Wind Turbine | C | Richmond | Wind | DSO | due to connected | ECP-2.5 | 4.5 | Y | wind not priority
Carrigaline PV | I | Barnahely | Solar | DSO | due to connected | ECP-2.5 | 4 | N | solar uncontrolled
Liss Wind Farm | H1 | Thurles | Wind | DSO | due to connected | ECP-2.5 | 2.35 | Y | wind not priority
Clonloghan Solar Farm | D | Drumline | Solar | DSO | due to connected | ECP-2.5 | 9.99 | Y | solar not priority
Derrylough WF | C | Athlone | Wind | DSO | due to connected | ECP-2.5 | 4.99 | Y | wind not priority
Derryveagh solar | C | Athlone | Solar | DSO | due to connected | ECP-2.5 | 4.99 | Y | solar not priority
Ardass Solar | C | Carrick on Shannon | Solar | DSO | due to connected | ECP-2.5 | 4.99 | Y | solar not priority
Extension Maothail Solar | C | Carrick on Shannon | Solar | DSO | due to connected | ECP-2.5 | 1 | Y | solar not priority
Dundalk Golf club | G | Dundalk | Solar | DSO | due to connected | ECP-2.5 | 4.99 | Y | solar not priority
Boliden Tara Mines Solar Farm (non export) | G | Navan | Solar | DSO | due to connected | ECP-2.5 | 17 | N | solar uncontrolled
Cloonaraher Wind Farm | B | Tonroe | Wind | DSO | due to connected | ECP-2.5 | 4.99 | Y | wind not priority
Ballinderry Solar | B | Cloon | Solar | DSO | due to connected | ECP-2.5 | 4.99 | Y | solar not priority
Ballinakilla Wind Farm | B | Cloon | Wind | DSO | due to connected | ECP-2.5 | 4.5 | Y | wind not priority
Dexcom Roadrunner - Battery CHP Solar | B | Galway | Solar | DSO | due to connected | ECP-2.5 | 1.2 | Y | solar not priority
Debsborough Solar Farm | H1 | Nenagh | Solar | DSO | due to connected | ECP-2.5 | 42 | Y | solar not priority
Croagh Wind Farm | A | Garvagh | Wind | DSO | due to connected | ECP-GSS1 | 48 | Y | wind not priority
Cooloo Wind Farm | B | Cloon | Wind | TSO | due to connected | ECP-GSS1 | 64.8 | Y | wind not priority
Cloonanny Wind Farm | C | Richmond | Wind | DSO | due to connected | ECP-GSS1 | 14 | Y | wind not priority
Ballycar Windfarm | D | Ardnacrusha | Wind | TSO | due to connected | ECP-GSS1 | 54 | Y | wind not priority
Knockshanvo Wind Farm | D | Ardnacrusha | Wind | TSO | due to connected | ECP-GSS1 | 64.8 | Y | wind not priority
Lackareagh Wind farm | D | Ardnacrusha | Wind | TSO | due to connected | ECP-GSS1 | 46.2 | Y | wind not priority
Knockanedan wind Farm | D | Booltiagh | Wind | TSO | due to connected | ECP-GSS1 | 48 | Y | wind not priority
Ballykett Windfarm | D | Tullabrack | Wind | DSO | due to connected | ECP-GSS1 | 18 | Y | wind not priority
Moanmore Lower Wind Farm | D | Tullabrack | Wind | DSO | due to connected | ECP-GSS1 | 13.5 | Y | wind not priority
Annagh Wind Farm | E | Charleville | Wind | DSO | due to connected | ECP-GSS1 | 37.2 | Y | wind not priority
Ballinlee Windfarm | E | Charleville | Wind | TSO | due to connected | ECP-GSS1 | 76.5 | Y | wind not priority
Garrane Windfarm | E | Charleville | Wind | TSO | due to connected | ECP-GSS1 | 54 | Y | wind not priority
Cummeennabuddoge Wind Farm | E | Garrow | Wind | TSO | due to connected | ECP-GSS1 | 122.4 | Y | wind not priority
Kilgarvan Wind Farm Repower | E | Glanlee | Wind | TSO | due to connected | ECP-GSS1 | 10 | Y | wind not priority
Tullacondra Windfarm | E | Mallow | Wind | DSO | due to connected | ECP-GSS1 | 40.5 | Y | wind not priority
Cloonkett Windfarm | E | Prospect | Wind | TSO | due to connected | ECP-GSS1 | 63 | Y | wind not priority
Ballynalacken Wind Farm | H2 | Ballyragget | Wind | TSO | due to connected | ECP-GSS1 | 50.4 | Y | wind not priority
Seskin Renewables Wind Farm | H2 | Ballyragget | Wind | TSO | due to connected | ECP-GSS1 | 48 | Y | wind not priority
Athclare (prev Croaghaun) Wind Farm | H2 | Castledockrell | Wind | DSO | due to connected | ECP-GSS1 | 38.5 | Y | wind not priority
Agharue wind Farm | H2 | Kilkenny | wind | TSO | due to connected | ECP-GSS1 | 46.2 | Y | wind not priority
Derrynadarragh Windfarm | J2 | Bracklone | Wind | TSO | due to connected | ECP-GSS1 | 64.8 | Y | wind not priority
Leamore single turbine | J2 | Dallow | Wind | DSO | due to connected | ECP-GSS1 | 4.5 | Y | wind not priority
Ballinla Wind Farm | J2 | Derryiron | Wind | TSO | due to connected | ECP-GSS1 | 55 | Y | wind not priority
Scart Mountain Wind Farm | K | Woodhouse | Wind | TSO | due to connected | ECP-GSS1 | 108 | Y | wind not priority
Ballymahon PV and BESS | C | Foigha | solar | TSO | due to connected | ECP-GSS1 | 70 | Y | solar not priority
Shessy PV and BESS | D | Derrybrien | solar | TSO | due to connected | ECP-GSS1 | 70 | Y | solar not priority
Ballycunneen PV and BESS P2 | D | Drumline | solar | DSO | due to connected | ECP-GSS1 | 14 | Y | solar not priority
Laccamore PV and BESS | E | Tralee | solar | TSO | due to connected | ECP-GSS1 | 100 | Y | solar not priority
Castlegarden Solar Farm and Battery | H2 | Kilkenny | solar | TSO | due to connected | ECP-GSS1 | 56 | Y | solar not priority
Rosehill PV and BESS | H2 | Kilkenny | solar | DSO | due to connected | ECP-GSS1 | 5 | Y | solar not priority
Shelbourne Solar Farm | H2 | Loughtown | solar | TSO | due to connected | ECP-GSS1 | 200 | Y | solar not priority
Mullacash Solar and Battery | J | Dunstown | solar | TSO | due to connected | ECP-GSS1 | 231.8 | Y | solar not priority
Swordlestown Solar and Battery | J | Dunstown | solar | TSO | due to connected | ECP-GSS1 | 250 | Y | solar not priority
Kilmullen (prev Bracklone) PV and BESS | J2 | Bracklone | solar | DSO | due to connected | ECP-GSS1 | 10 | Y | solar not priority
Hiskinstown Solar and Battery | J2 | Kinnegad | solar | TSO | due to connected | ECP-GSS1 | 75 | Y | solar not priority
Cadamstown Solar | J2 | Timahoe | solar | TSO | due to connected | ECP-GSS1 | 343 | Y | solar not priority
Lahardan BESS Solar | K | Cullenagh | solar | TSO | due to connected | ECP-GSS1 | 50 | Y | solar not priority
Bocade Glebe (prev Killeshandra) Solar | A | Gortawee | Solar | DSO | due to connected | ECP-GSS1 | 5 | Y | solar not priority
South Galway Solar | B | Cashla | Solar | TSO | due to connected | ECP-GSS1 | 101 | Y | solar not priority
Barnacurragh Solar 2 | B | Cloon | Solar | TSO | due to connected | ECP-GSS1 | 20 | Y | solar not priority
Ballinrobe Solar Farm | B | Dalton | Solar | DSO | due to connected | ECP-GSS1 | 1 | Y | solar not priority
Western Brand South Site | B | Dalton | Solar | DSO | due to connected | ECP-GSS1 | 3 | Y | solar not priority
Foigha Solar | C | Foigha | Solar | TSO | due to connected | ECP-GSS1 | 85 | Y | solar not priority
Mogullaun Solar Farm | D | Drumline | Solar | TSO | due to connected | ECP-GSS1 | 70.2 | Y | solar not priority
Ballyroe Solar | E | Charleville | Solar | TSO | due to connected | ECP-GSS1 | 7 | Y | solar not priority
Kilmorna Solar | E | Knockanure | Solar | TSO | due to connected | ECP-GSS1 | 116 | Y | solar not priority
Ardgoulbeg Solar | E | Rathkeale | Solar | TSO | due to connected | ECP-GSS1 | 54 | Y | solar not priority
Coolvallanane Beg Solar Farm | F | Brinny | Solar | DSO | due to connected | ECP-GSS1 | 11.95 | Y | solar not priority
Killary Solar Farm | G | Gorman | Solar | TSO | due to connected | ECP-GSS1 | 70 | Y | solar not priority
Rathcoon Solar Farm | G | Gorman | Solar | TSO | due to connected | ECP-GSS1 | 80 | Y | solar not priority
Fyanstown Solar | G | Navan | Solar | TSO | due to connected | ECP-GSS1 | 100 | Y | solar not priority
Ballybeg Solar Farm | H1 | Barrymore | Solar | DSO | due to connected | ECP-GSS1 | 1.96 | Y | Solar not priority
Glenpatrick Solar Farm | H1 | Doon | Solar | DSO | due to connected | ECP-GSS1 | 8 | Y | solar not priority
Boscabell Solar Farm | H1 | Meldrum | Solar | TSO | due to connected | ECP-GSS1 | 80 | Y | solar not priority
Killough Solar | H1 | Thurles | Solar | TSO | due to connected | ECP-GSS1 | 140 | Y | solar not priority
Kilcandra Solar Farm | H2 | Ballybeg | Solar | TSO | due to connected | ECP-GSS1 | 134 | Y | solar not priority
Drumdowney Solar Farm | H2 | Great Island | Solar | TSO | due to connected | ECP-GSS1 | 125 | Y | solar not priority
Ballyloo Solar | H2 | Kellis | Solar | TSO | due to connected | ECP-GSS1 | 241 | Y | solar not priority
Garreenleen Phase 3 Solar Farm & Garreenleen BESS | H2 | Kellis | Solar | TSO | due to connected | ECP-GSS1 | 63 | Y | solar not priority
Shelburne Solar Farm | H2 | Rosspile | Solar | TSO | due to connected | ECP-GSS1 | 60 | Y | solar not priority
Ballysallagh Solar | I | Knockraha | Solar | TSO | due to connected | ECP-GSS1 | 159 | Y | solar not priority
Tibbotstown Solar (Lysaghtstown 3) | I | Lysaghtstown | Solar | TSO | due to connected | ECP-GSS1 | 74 | Y | solar not priority
Culmullin Solar Farm Extension | J | Arodstown | Solar | TSO | due to connected | ECP-GSS1 | 110 | Y | solar not priority
Knockdinnin Solar | J | Richardstown | Solar | TSO | due to connected | ECP-GSS1 | 110 | Y | solar not priority
Whitestown PV | J | Stephenstown | Solar | DSO | due to connected | ECP-GSS1 | 9.99 | Y | solar not priority
Cappakeel Solar Farm | J2 | Bracklone | Solar | TSO | due to connected | ECP-GSS1 | 226 | Y | solar not priority

## Battery Generation Table
ECP-GSS-1 IE Battery Draft Assumptions This data has been collated using the best information available. Maximum Export Capacity (MEC) has been rounded up for reporting purposes, exact MEC figures have been used within the model. Data freeze date: Q1 2026. Pipeline Battery Projects add up to an estimated 76 due to be connected Projects. This is an approximate Sum of Maximum Export Capacity (MEC) of 5632 MW and a sum of Total Battery capacity of 15217.75 MWh*. To Note, for the purposes of modelling, the MIC has been set equal to the MEC. * Due to the nature of technology configuration, an estimate may have been applied for Battery Capacity (MWh) due to far out date of connection. Please see below summary of data used.
Project Name | Area | Node | System Operator | Connection Status | Processing Type | Maximum Export Capacity (MW) | Battery Capacity (MWh)
Aghada BESS 01 | I | Aghada | TSO | connected | Post Gate 1 | 19 | 38
Aghada BESS 02 | I | Aghada | TSO | connected | Pre-Gate 1 | 159 | 318
Golagh (1) (battery) | A | Golagh | TSO | connected | Pre-Gate | 3 | 3
Beenanaspock and Tobertooreen Wind Farm (battery) | E | Athea | TSO | connected | Gate 2 | 11 | 5.5
Killala Battery - Phase 2 | B | Tawnaghmore | DSO | connected | Gate 3 | 10.8 | 10.8
Lumcloon ESS (Derrycarney) | C | Derrycarney | TSO | connected | Gate 3 | 100 | 50
Shannonbridge ESS | C | Shannonbridge | TSO | connected | Gate 3 | 100 | 50
Kelwin Power Plant - Phase 2 | E | Kilpaddoge | TSO | connected | Gate 3 | 26.6 | 19.95
Kelwin Power Plant (battery) | E | Kilpaddoge | TSO | connected | Non GPA | 2.6 | 5.2
Cushaling ESPS | J | Cushaling | TSO | connected | T-3 2024/25 | 20 | 40
Shannonbridge B ESS | C | Shannonbridge | TSO | connected | T-3 2024/25 | 63.2 | 158
Inchicore BESS | J | Inchicore | DSO | connected | T-4 2022/23 | 30 | 60
Poolbeg BESS | J | Poolbeg | TSO | connected | T-4 2022/23 | 75 | 150
South Wall BESS | J | Irishtown | TSO | connected | T-4 2022/23 | 30 | 60
Kish (Crag Wicklow) | H2 | Oaklands | TSO | due to connected | T-4 2026/27 | 114 | *
Brianstown BESS | C | Richmond | DSO | due to connected | T-4 2026/27 | 5.45 | *
Gorman (Graigs) Energy Storage Station | G | Gorman | TSO | connected | ECP-1 | 30 | 15
Gorman Energy Storage Station - Extension | G | Gorman | TSO | connected | ECP-1 | 20 | 10
Lisdrumdoagh Energy Storage Facility | G | Lisdrum | TSO | connected | ECP-1 | 60 | 30
Gorey Battery Energy Storage | H2 | Banoge | DSO | connected | ECP-1 | 9 | 4.5
Cloncreen Wind farm (battery) | J | Cushaling | TSO | connected | ECP-1 | 25 | 50
Porterstown Battery Storage Facility | J | Kilteel | TSO | connected | ECP-1 | 30 | 30
Rhode 37.5MW ESS | J | Derryiron | DSO | due to connected | ECP-1 | 37.5 | *
Avonbeg ESS | H2 | Crane | DSO | connected | ECP-1 | 16 | 8
Gardnershill FGS | J | Stephenstown | DSO | connected | ECP-1 | 8.5 | 9.35
Carrowbeg Battery Storage (Prev MCB) | B | Dalton | DSO | due to connected | ECP-1 | 12 | *
Kilmannock Battery Storage Facility | H2 | Great Island | DSO | due to connected | ECP-1 | 30 | *
Derryadd battery | C | Lanesboro | TSO | due to connected | ECP-2.1 | 16 | *
North Arklow battery | H2 | Arklow | TSO | due to connected | ECP-2.1 | 30 | *
Porterstown BS Facility Ph.2 | J | Kilteel | TSO | due to connected | ECP-2.1 | 60 | *
Ardagh South Energy Storage Facility | G | Meath Hill | TSO | due to connected | ECP-2.2 | 60 | *
Monvallet Hybrid Solar & Battery Farm (battery) | G | Louth | TSO | due to connected | ECP-2.2 | 134.4 | *
Kilmannock Battery Storage Facility Phase 2 | H2 | Great Island | TSO | due to connected | ECP-2.2 | 90 | *
Rosspile2 Solar plus Storage Facility | H2 | Rosspile | TSO | due to connected | ECP-2.2 | 100 | *
Garr Solar & Storage | J | Derryiron | TSO | due to connected | ECP-2.2 | 50 | *
Coldwinters Energy Hub battery | J | Finglas | DSO | due to connected | ECP-2.2 | 15 | *
Timahoe North ph2 battery | J | Timahoe | TSO | due to connected | ECP-2.2 | 20 | *
Ballyvouskil Battery Storage | E | Ballyvouskil 220 | TSO | due to connected | ECP-2.3 | 70 | *
Gortawee Battery Storage Facility | A | Gortawee | TSO | due to connected | ECP-2.3 | 75 | *
Tawnaghmore BESS | B | Tawnaghmore | TSO | due to connected | ECP-2.3 | 80 | *
Booltiagh Energy Storage | D | Booltiagh | TSO | due to connected | ECP-2.3 | 30 | *
Barryscourt Solar Farm (Battery) | I | Cow Cross | DSO | due to connected | ECP-2.3 | 2 | *
Midleton Battery Storage Facility | I | Midleton | TSO | due to connected | ECP-2.3 | 80 | *
Bracklyn Wind Farm (Battery) | J | Bracklyn | TSO | due to connected | ECP-2.3 | 25 | *
Clonymeath Solar (Battery) | J | Fosterstown | TSO | due to connected | ECP-2.3 | 10 | *
Thornsberry Battery Storage Facility | J | Thornsberry | TSO | due to connected | ECP-2.3 | 150 | *
Ballina Beverages Energy Centre (battery) | B | Moy | DSO | due to connected | ECP-2.3 (Cat B) | 2 | *
Ballymoneen Phase 2 Battery | B | Cashla | TSO | due to connected | ECP-2.4 | 75 | *
Ballysumaghan BESS & SC | B | Srananagh | TSO | due to connected | ECP-2.4 | 200 | *
Flagford Battery Storage | C | Flagford | TSO | due to connected | ECP-2.4 | 100 | *
Tarbert BESS | E | Tarbert | TSO | due to connected | ECP-2.4 | 100 | *
Kilmorna Energy Storage Facility | E | Knockanure | TSO | due to connected | ECP-2.4 | 170 | *
Drumgoolan Solar and Battery Farm Battery | G | Louth | TSO | due to connected | ECP-2.4 | 40.5 | *
Coom Green Energy Park Battery | H1 | Barrymore | TSO | due to connected | ECP-2.4 | 50 | *
Ballyglasheen West BESS Facility | H1 | Tipperary | TSO | due to connected | ECP-2.4 | 60 | *
Tincurry Solar Farm Battery | H2 | Lodgewood | TSO | due to connected | ECP-2.4 | 60 | *
Friarstown Solar Farm Battery | H2 | Carlow | TSO | due to connected | ECP-2.4 | 30 | *
Templemichael Solar Plus Storage Facility Battery | H2 | Arklow | TSO | due to connected | ECP-2.4 | 20 | *
Coolcarrigan Solar P2 Battery | J | Timahoe | TSO | due to connected | ECP-2.4 | 80 | *
Lyrenacarriga Windfarm and BESS Battery | K | Woodhouse | TSO | due to connected | ECP-2.4 | 60 | *
Ballymac Phase 1 and 2 | K | Dungarvan | TSO | due to connected | ECP-2.4 | 55 | *
AMS battery | I | Castleview | DSO | due to connected | ECP-2.4 | 1 | *
Taduff Battery | C | Athlone | TSO | due to connected | ECP-2.5.1 | 80 | *
ShannonB BESS new | C | Shannonbridge | TSO | due to connected | ECP-2.5.1 | 75 | *
Creemore Battery | J | Woodland | TSO | due to connected | ECP-2.5.1 | 290 | *
Meenadreen BESS ECP-2.5 | A | Clogher | TSO | due to connected | ECP-2.5 | 75 | *
Barretspark Battery | B | Cashla | TSO | due to connected | ECP-2.5 | 100 | *
Drumlins BESS | G | Lislea | TSO | due to connected | ECP-2.5 | 20 | *
Mothel Battery | H1 | Curraghduff | TSO | due to connected | ECP-2.5 | 55 | *
Powerscourt BESS | H1 | Doon | TSO | due to connected | ECP-2.5 | 100 | *
Kellistown Battery | H2 | Kellis | TSO | due to connected | ECP-2.5 | 100 | *
Brownstown Battery | H2 | Kilkenny | TSO | due to connected | ECP-2.5 | 50 | *
Baunogephlure Battery | H2 | Kellis | TSO | due to connected | ECP-2.5 | 50 | *
Rathcoursey Battery | I | Rathcoursey | TSO | due to connected | ECP-2.5 | 30 | *
Gormagh Battery | J | Thornsberry | TSO | due to connected | ECP-2.5 | 40 | *
Brianstown Bess Phase 2 | C | Richmond | DSO | due to connected | ECP-2.5 | 9.55 | *
Knockraha BESS | I | Knockraha | TSO | due to connected | T-4 2028/29 | 100 | *
Dexcom Roadrunner - Battery CHP Solar | B | Galway | DSO | due to connected | ECP-2.5 | 6 | *
Ballymahon PV and BESS | C | Foigha | TSO | due to connected | ECP-GSS1 | 70 | *
Shessy PV and BESS | D | Derrybrien | TSO | due to connected | ECP-GSS1 | 40 | *
Laccamore PV and BESS | E | Tralee | TSO | due to connected | ECP-GSS1 | 60 | *
Castlegarden Solar Farm and Battery | H2 | Kilkenny | TSO | due to connected | ECP-GSS1 | 80 | *
Rosehill PV and BESS | H2 | Kilkenny | DSO | due to connected | ECP-GSS1 | 5 | *
Shelbourne Solar Farm | H2 | Loughtown | TSO | due to connected | ECP-GSS1 | 50 | *
Mullacash Solar and Battery | J | Dunstown | TSO | due to connected | ECP-GSS1 | 138.4 | *
Swordlestown Solar and Battery | J | Dunstown | TSO | due to connected | ECP-GSS1 | 200 | *
Hiskinstown Solar and Battery | J2 | Kinnegad | TSO | due to connected | ECP-GSS1 | 50 | *
Cadamstown Solar | J2 | Timahoe | TSO | due to connected | ECP-GSS1 | 211 | *
Lahardan BESS Solar | K | Cullenagh | TSO | due to connected | ECP-GSS1 | 133 | *
Screeb Battery storage | B | Screebe | TSO | due to connected | ECP-GSS1 | 120 | *
Lanesboro BESS 2 | C | Lanesboro | TSO | due to connected | ECP-GSS1 | 100 | *
Shannonbridge BESS 2 | C | Shannonbridge | TSO | due to connected | ECP-GSS1 | 100 | *
Prospect BESS | E | Prospect | TSO | due to connected | ECP-GSS1 | 200 | *
Sillouge BESS | G | Navan | TSO | due to connected | ECP-GSS1 | 150 | *
Seskin Storage | H1 | Cauteen | TSO | due to connected | ECP-GSS1 | 50 | *
Ballyragget BESS | H2 | Ballyragget | TSO | due to connected | ECP-GSS1 | 79 | *
Bracklone BESS | J2 | Bracklone | TSO | due to connected | ECP-GSS1 | 115 | *
Meath Hill BESS | G | Meath Hill | TSO | due to connected | ECP-GSS1 | 100 | *