## Slide 1: EirGrid GCRP Meeting
27 March 2025
1

## Slide 2: EirGrid GCRP Agenda
27/03/2025

## Slide 3: MPID 319 Incorporation of the SCU Requirements.
27/03/2025
1. Proposed Modification: 10 minutes

## Slide 4: MPID319 Incorporation of the SCU Requirements.
This modification proposal was discussed at the JGCRP.
We will now seek agreement from members for the submission of a recommendation paper to the CRU.
27/03/2025

## Slide 5: MPID 328 DSU Notice to Respond
27/03/2025
2. Proposed Modification: 10 minutes

## Slide 6: MPID328 DSU Notice to Respond.
This modification proposal was discussed at the JGCRP.
We will now seek agreement from members for the submission of a recommendation paper to the CRU.
27/03/2025

## Slide 7: MPID 329 Clarification of Demarcation
27/03/2025
3. Proposed Modification: 10 minutes

## Slide 8: MPID329 Clarification of Demarcation
Requirements in the Grid Code which are not marked by a symbol and border are applicable to all relevant Users (which expression means all persons (other than the TSO) to whom any individual section of the Grid Code applies).
Requirements in the Grid Code which are marked by a symbol and border are applicable to the corresponding Users as per Table 1: Demarcation of Requirements.
27/03/2025

## Slide 9: MPID329 Clarification of Demarcation
However, in the case of Users with Non-RfG Generation Units, Non-DCC Units or Non-HVDC Units to which some RfG Generation Unit, DCC Unit or HVDC Unit requirements apply, such Users will find that the relevant requirements demarcated for RfG Generation Units, DCC Unit and/or HVDC Units are also applicable to them.
It is proposed that text providing this clarification is added to the Grid Code to align with custom and practice as described in the guideline document jointly published by EirGrid and ESB Networks in September 2020:
Guideline for the Application to Existing Users of Commission Regulation (EU) 2016/631 establishing a network code on requirements for grid connection of generators (RfG), Commission Regulation (EU) 2016/1388 establishing a Network Code on Demand Connection (DCC) and Commission Regulation (EU) 2016/1447 establishing a network code on requirements for grid connection of high voltage direct current systems and direct current connected power park modules (HVDC)
27/03/2025

## Slide 10: MPID329 Clarification of Demarcation
27/03/2025

## Slide 11: MPID 331 Derogation Procedures
27/03/2025
4. Proposed Modification: 10 minutes

## Slide 12: MPID331 Derogation Procedures
The text in section GC.9 Derogations should be corrected to reflect that fact that the requirement for a User to report a non-compliance to the TSO without delay, and make reasonable efforts to remedy such non-compliance, applies to all Users, and not only Non-Connection Network Code (CNC) Users.
Currently, this requirement sits within the derogation process for Non-CNC users applying for derogation from a Non-CNC requirement:
27/03/2025

## Slide 13: MPID331 Derogation Procedures
Changes to text and demarcations are also required to demonstrate clear separation between the Non-CNC requirements derogation procedure and the CNC requirements derogation procedure, and to provide greater context around which Users each procedure applies to, and when.
These changes align with the guideline document jointly published by EirGrid and ESB Networks in September 2020
Additionally, these changes support the incorporation of the DCC Unit procedure for TSOs requesting a derogation for classes of DCC Units, which was left out of the original DCC Grid Code incorporation due to an error in the EU regulation document.
27/03/2025

## Slide 14: MPID331 Derogation Procedures
Clause numbering to be corrected

## Slide 15: MPID331 Derogation Procedures
Clause numbering to be corrected

## Slide 16: MPID331 Derogation Procedures

## Slide 17: MPID 332 Reactive Energy
27/03/2025
5. Proposed Modification: 10 minutes

## Slide 18: MPID332 Reactive Energy Definition
Purpose of Proposed Modification
To include a new definition for Reactive Energy in the Grid Code for the purposes of clarity and transparency.
The proposed definition is aligned with the definition of Reactive Energy under the Metering Code. It will remove any ambiguity, without impacting the existing metering section CC.9 of the Grid Code.
This proposed Modification sets out to clarify this term in the definitions section, and to bold and capitalise the term where applicable in the Grid Code.
  Definitions
  CC.10.13.2
27/03/2025

## Slide 19: MPID332 Reactive Energy Definition
27/03/2025

## Slide 20: 3. Updates: 30 minutes
  Housekeeping Modification Process Trial;
  DSU/TSO Working Group for MPID293;
  GCRP Members Roles;
  Grid Code Modification Stats since previous meeting;
  Grid Code Derogations;
  CRU.
27/03/2025

## Slide 21: Update Housekeeping Modification Process Trial
27/03/2025

## Slide 22: Housekeeping Modification Trial Process
1st October – 23rd December 2024
Initial approved trial period
22nd October – 5th November 2024
Batch one issued to GCRP members
5th November – 15th November 2024
Batch one approved by CRU
29th November 2024 – 18th February 2025
15th November – 29th November 2024
Bathc two issued to GCRP member
Batch two approved by CRU
Extension to June 2025
Batch 3
GCRP members review
20th Feb – 6th March
CRU review
7th March – ongoing
V14.3
V14.3

## Slide 23: Housekeeping Modification Trial Process
Housekeeping Modification Trail Process | Iteration 1 | Iteration 2 | Iteration 3
Number of Mods within Iteration | 30 | 30 | 30
Duration of time with GC team for review | 11 days | 2 days | 4 days
Duration of time under review by GCRP | 10 days | 10 days | 10 days
Number queries from GCRP | 1 | 0 | 0
Number of rejection/ request for change by GCRP | 0 | 0 | 0
Duration of time under review by CRU | 10 days | 54 days (Christmas & Extension request) | In progress
Number queries from CRU | 1 | 0 | Pending review
Number of rejection/ request for change by CRU | 0 | 0 | Pending review
Duration of time to make revised edits to mods | na | na | Pending review
Version of Grid Code applicable to | 14.3 | 14.3 | Pending review

## Slide 24: Housekeeping Modification Trial Process
Chart: Modification Title
| Replacing undefined terms with defined terms | Correction of references and broken hyperlinks | Addition of Unit | Correction of grammar | Correction of numbering of sections/clauses/ pages etc. | Correction for clarity | Removal of acronym/term/definition no longer in use | Terms that are not defined under the Grid Code should not appear bolded | Correction of typos | Defined terms should appear bolded and capitalised
Iteration 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 4 | 4 | 18
Iteration 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 27
Iteration 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 28

## Slide 25: Housekeeping Modification Trial Process
Next steps
Batch 4
GCRP: 26th March – 9th April
Survey
16th – 30th April 2025
Report to CRU
May 2025
Officiate Process
Add to the Grid Code & Constitution
CRU: 9th April
Targeting June 2025

## Slide 26: Update DSU/TSO Working Group for MPID293;
27/03/2025

## Slide 27: CRU Decision Paper
Oct 2024: the CRU extended the terms of reference of the MPID293 working group to enable the DSU representatives to propose a “practical and proportionate” interim solution;
Two working group meetings were held under the extended Terms of Reference;
The DSU representatives proposed three interim solutions to the TSO for consideration – “Ideas from DSU representatives for interim workarounds”.
The TSO subsequently assess the three proposed solutions and submitted their assessment to the CRU on 31 January.
Both the “Ideas from DSU representatives for interim workarounds” and the TSO assessment are with the CRU for consideration.
27/03/2025

## Slide 28: Update GCRP Member Roles
27/03/2025

## Slide 29: GCRP Member Roles
Grid Code Constitution:
The Grid Code Review Panel (GCRP) is a panel of industry representatives with the objectives to:
generally review and discuss the Grid Code and its workings;
review and discuss all suggestions for amendments to the Grid Code which the TSO, the Commission, any User or any potential User may wish to submit to the TSO for consideration by the Panel from time to time;
discuss what changes are necessary to the Grid Code arising out of any unforeseen circumstances referred to it by the TSO under the Grid Code; and
make and publish recommendations and ensure that User consultation of such recommendations has occurred through Grid Code Review Panel members.
There is at least one industry representative for each cohort of transmission-connected user. The role of that representative is to represent the interests of their relevant cohort, e.g. at GCRP meetings, the Thermal Generator representative shall represent the interests of Thermal Generators connected to the Transmission System.
27/03/2025

## Slide 30: GCRP Member Roles
To support members in representing the interests of their relevant cohort, we wish to provide members’ contact details to constituents publish members contact information on the EirGrid Grid Code webpage, and issue an email to constituents directing them to this webpage if they wish to make contact with their representative and provide feedback on anything relevant to Grid Code.
To facilitate this, we ask your permission to include your contact details on our webpage. We will issue an email post this meeting asking for your consent to do this and will only publish your preferred details if we receive a response email confirming consent.
To further facilitate this, we plan to issue regular emails to all constituents indicating upcoming GCRP meetings, proposed and approved modifications, Grid Code relevant consultations, etc. and again directing constituents to the webpage with members details for if they wish to provide feedback.
27/03/2025

## Slide 31: Update Grid Code Modification Stats
27/03/2025

## Slide 32: Modification Update
Modification | #
Decisions made by CRU since 04 December 2024 | 0
Recommendation papers with CRU for decision | 7
Housekeeping Modification Batch: Approved With CRU for Decision | 2 1
Proposals being put forward at GCRP 04 December(today) | 5
Further information on modifications can be found on the EirGrid website here.
27/03/2025
32

## Slide 33: Update Derogations
27/03/2025

## Slide 34: Current Derogations Stats for GCRP March 2025
Total
Under TSO Assessment 161
Approved by CRU 512
Still Valid 199
With CRU 141
Under TSO Assessment
Type
WFPS 68
Conventional 39
TEG 6
BESS 18
DSU 23
Categories
APC/Frequency 55
Reactive Power 33
FRT 30
RoCoF 4
Since last GCRP 24 September 2024
Submitted to TSO 3
Forwarded to CRU 14
Approved by CRU 7
Withdrawn 8
27/03/2025

## Slide 35: Update CRU
27/03/2025

## Slide 36: AOB
27/03/2025
36
Meeting Minutes will be issued by COB 10 April 2025