## Wks 31 - 32
Report covers outages commencing/returning/spanning the period: 31/07/2023 - 13/08/2023
Outages commencing/returning in Week 31
OUTAGE ID | PLANT |  | Week 31 | [6 empty] | Week 32
|  | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo
|  | 30 | 31 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
TO-23-MCE-110SA2-01 | MACETOWN 110SA2 | bar: Week 31 Mo 31 to Week 31 Fr 4
TO-23-MCE-SNU-1-01 | MACETOWN SNUGBOROUGH | bar: Week 31 Mo 31 to Week 31 Fr 4
TO-23-MCE-T102-01 | MACETOWN T102 | bar: Week 31 Mo 31 to Week 31 Fr 4
TO-23-MCE-T124-01 | MACETOWN T124 | bar: Week 31 Mo 31 to Week 31 Fr 4
TO-23-PB-R2001-01 | POOLBEG R2001 | bar: Week 31 Mo 31 to Week 31 Fr 4
TO-23-110 kV A1 @ KLN-02 | KILLONAN 110 kV A1 | bar: Week 31 Mo 31 to Week 32 We 9
TO-23-110 kV B1 @ KLN-02 | KILLONAN 110 kV B1 | bar: Week 31 Mo 31 to Week 32 We 9
TO-23-KLN-LIM-1-01 | KILLONAN LIMERICK 1 | bar: Week 31 Mo 31 to Week 32 We 9
TO-23-BUT-T141-02 | BUTLERSTOWN T141
TO-23-WOO-T4202-01 | WOODLAND T4202
TO-23-KLS-KKY-1-02 | KELLIS KILKENNY | bar: Su 30 to Week 31 Mo 31
TO-23-110 kV B2 @ KBY-03 | KILBARRY 110 kV B2 | bar: Su 30 to Week 31 Mo 31
TO-23-KKY-110SA1-2CB-02 | KILKENNY 110SA1-2CB | bar: Su 30 to Week 31 Mo 31
TO-23-KKY-T141-02 | KILKENNY T141 | bar: Su 30 to Week 31 Mo 31
TO-23-110 kV A1 @ SH-03 | SHANNONBRIDGE 110 kV A1 | bar: Su 30 to Week 31 Mo 31
TO-23-110 kV A2 @ SH-04 | SHANNONBRIDGE 110 kV A2 | bar: Su 30 to Week 31 Mo 31
TO-23-110 kV B1 @ SH-07 | SHANNONBRIDGE 110 kV B1 | bar: Su 30 to Week 31 Mo 31
TO-23-110 kV B2 @ SH-03 | SHANNONBRIDGE 110 kV B2 | bar: Su 30 to Week 31 Mo 31
TO-23-110 kV A2 @ CBT-02 | CASTLEBAGOT 110 kV A2 | bar: Week 31 Tu 1
TO-23-110 kV A4 @ CBT-02 | CASTLEBAGOT 110 kV A4 | bar: Week 31 Tu 1
TO-23-CBT-110SA2-4CB-01 | CASTLEBAGOT 110SA2-4CB | bar: Week 31 Tu 1
TO-23-MLN-T124-01 | MULLAGHARLIN T124 | bar: Week 31 Tu 1 to Week 31 We 2
TO-23-110 kV A2 @ KBY-02 | KILBARRY 110 kV A2 | bar: Week 31 Tu 1 to Week 31 Th 3
TO-23-110 kV B2 @ KBY-02 | KILBARRY 110 kV B2 | bar: Week 31 Tu 1 to Week 31 Th 3
TO-23-MLC-110SA1-02 | MOUNTLUCAS 110SA1 | bar: Week 31 Tu 1 to Week 31 Th 3
TO-23-MLC-110SA2-02 | MOUNTLUCAS 110SA2 | bar: Week 31 Tu 1 to Week 31 Th 3
TO-23-MLC-TSB-1-05 | MOUNTLUCAS THORNSBERRY | bar: Week 31 Tu 1 to Week 31 Th 3
TO-23-ROP-WEX-1-01 | ROSSPILE WEXFORD | bar: Week 31 Tu 1 to Week 32 Mo 14
TO-23-TIV-110SA1-2CB-01 | TIEVEBRACK 110SA1-2CB | bar: Week 31 We 2 to Week 31 Th 3
TO-23-LIS-LOU-1-01 | LISDRUM LOUTH | bar: Week 31 We 2 to Week 31 Su 6
TO-23-LOU-110K1-2-01 | LOUTH 110K1-2 | bar: Week 31 We 2 to Week 31 Su 6
TO-23-LOU-MTH-1-01 | LOUTH MEATH HILL | bar: Week 31 We 2 to Week 31 Su 6
TO-23-LOU-T2102-02 | LOUTH T2102 | bar: Week 31 We 2 to Week 31 Su 6
TO-23-LOU-T2104-02 | LOUTH T2104 | bar: Week 31 We 2 to Week 31 Su 6
TO-23-BRT-T224-01 | BRACETOWN T224 | bar: Week 31 We 2 to Week 32 Tu 8
TO-23-CDU-MUL-1-02 | CORDUFF MULLINGAR | bar: Su 30 to Week 31 We 2
TO-23-MLN-T123-01 | MULLAGHARLIN T123 | bar: Week 31 Th 3 to Week 31 Fr 4
TO-23-KBY-MR-1-01 | KILBARRY MARINA 1 | bar: Su 30 to Week 31 Th 3
TO-23-KBY-MR-2-03 | KILBARRY MARINA 2 | bar: Su 30 to Week 31 Th 3
TO-23-LET-TIV-1-01 | LETTERKENNY TIEVEBRACK | bar: Su 30 to Week 31 Th 3
TO-23-AD-KRA-1-04 | AGHADA KNOCKRAHA 1 | bar: Week 31 Fr 4 to Week 32 Fr 11
TO-23-KRA-220SB2-4CB-03 | KNOCKRAHA 220SB2-4CB | bar: Week 31 Fr 4 to Week 32 Fr 11
TO-23-BIN-CF-1-01 | BINBANE CATHALEENS FALL | bar: Week 31 Fr 4 to Week 32 Mo 14
TO-23-DSN-T4202-01 | DUNSTOWN T4202 | bar: Week 31 Fr 4 to Week 32 Mo 14
TO-23-110 kV B1 @ SH-01 | SHANNONBRIDGE 110 kV B1 | bar: Week 31 Fr 4 to Week 32 Mo 14
TO-23-220 kV A4 @ CDU-01 | CORDUFF 220 kV A4 | bar: Su 30 to Week 31 Fr 4
TO-23-220 kV B4 @ CDU-01 | CORDUFF 220 kV B4 | bar: Su 30 to Week 31 Fr 4
TO-23-DER-T1/T2-01 | DERRYIRON RHODE T1/T2 | bar: Su 30 to Week 31 Fr 4
Outages commencing/returning in Week 32
OUTAGE ID | PLANT | Week 31 Mo 31: Week 31; Week 32 Mo 7: Week 32
|  | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo
|  | 30 | 31 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
TO-23-COW-OLD-1-01 | COW CROSS OLDCOURT 1 | bar: Week 32 Mo 7; Week 32 We 9 to Week 32 Fr 11
TO-23-DRY-110SA1-04 | DRYBRIDGE 110SA1 | bar: Week 32 Mo 7; Week 32 We 9 to Week 32 Fr 11
TO-23-DRY-110SA2-04 | DRYBRIDGE 110SA2 | bar: Week 32 Mo 7; Week 32 We 9 to Week 32 Fr 11
TO-23-DRY-T141-03 | DRYBRIDGE T141 | bar: Week 32 Mo 7; Week 32 We 9 to Week 32 Fr 11
TO-23-OLD-T101-01 | OLDCOURT T101 | bar: Week 32 Mo 7; Week 32 We 9 to Week 32 Fr 11
TO-23-CLW-T141-01 | CARLOW T141 | bar: Week 32 Mo 7; Week 32 We 9 to Week 32 Mo 14
TO-23-DRY-LOU-1-02 | DRYBRIDGE LOUTH | bar: Week 32 Mo 7; Week 32 We 9 to Week 32 Mo 14
Report covers outages commencing/returning/spanning the period: 31/07/2023 - 13/08/2023
Outages commencing/returning in Week 32
OUTAGE ID | PLANT | Week 31 Mo 31: Week 31; Week 32 Mo 7: Week 32
|  | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo
|  | 30 | 31 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
TO-23-DRY-PLA-1-04 | DRYBRIDGE PLATIN | bar: Week 32 Mo 7; Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-PLA-110SA1-03 | PLATIN 110SA1 | bar: Week 32 Mo 7; Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-PLA-110SA2-03 | PLATIN 110SA2 | bar: Week 32 Mo 7; Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-PLA-T101/2/3/4-03 | PLATIN T101/2/3/4 | bar: Week 32 Mo 7; Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV B2 @ CBT-03 | CASTLEBAGOT 110 kV B2
TO-23-110 kV B4 @ CBT-03 | CASTLEBAGOT 110 kV B4
TO-23-CBT-110SB2-4CB-01 | CASTLEBAGOT 110SB2-4CB
TO-23-CBR-CAP2-01 | CASTLEBAR CAP2 | bar: Week 32 We 9
TO-23-KLN-T2102-01 | KILLONAN T2102 | bar: Week 32 We 9
TO-23-110 kV A2 @ GAL GIS-04 | GALWAY GIS 110 kV A2 | bar: Week 32 We 9
TO-23-110 kV B2 @ GAL GIS-04 | GALWAY GIS 110 kV B2 | bar: Week 32 We 9
TO-23-GAL GIS-110K2-04 | GALWAY GIS 110K2 | bar: Week 32 We 9
TO-23-GAL GIS-110SA1-2CB-05 | GALWAY GIS 110SA1-2CB | bar: Week 32 We 9
TO-23-GAL GIS-110SB1-2CB-05 | GALWAY GIS 110SB1-2CB | bar: Week 32 We 9
TO-23-BVK-COT-1-01 | BALLYVOUSKILL COOMATAGGART | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-COT-110SA1-01 | COOMATAGGART 110SA1 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-COT-110SA2-01 | COOMATAGGART 110SA2 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-COT-FILTER1-02 | COOMATAGGART FILTER1 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-COT-T132-01 | COOMATAGGART T132 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-COT-T141-01 | COOMATAGGART T141 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV A4 @ CDU-03 | CORDUFF 110 kV A4 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV B4 @ CDU-03 | CORDUFF 110 kV B4 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-CUS-PLS-1-02 | CUSHALING PORTLAOISE | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV A1 @ LOU-02 | LOUTH 110 kV A1 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV B1 @ LOU-02 | LOUTH 110 kV B1 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV A3 @ MAY-01 | MAYNOOTH 110 kV A3 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV A4 @ MAY-01 | MAYNOOTH 110 kV A4 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV B3 @ MAY-01 | MAYNOOTH 110 kV B3 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV B4 @ MAY-01 | MAYNOOTH 110 kV B4 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-MAY-110K3-4-01 | MAYNOOTH 110K3-4 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV A2 @ PLS-02 | PORTLAOISE 110 kV A2 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-110 kV B2 @ PLS-02 | PORTLAOISE 110 kV B2 | bar: Week 32 We 9; Week 32 Su 13 to Week 32 Mo 14
TO-23-CUS-T101-01 | CUSHALING T101 | bar: Week 32 Su 13 to Week 32 Mo 14
TO-23-ARV-NAV-1-01 | ARVA NAVAN | bar: Su 30 to Week 32 Mo 7; Week 32 We 9
TO-23-ARV-SKL-2-03 | ARVA SHANKILL 2 | bar: Week 32 Su 13
TO-23-RRU-SKL-1-03 | RATRUSSAN SHANKILL | bar: Week 32 Su 13
TO-23-SKL-110SA1-03 | SHANKILL 110SA1 | bar: Week 32 Su 13
TO-23-SKL-110SA2-02 | SHANKILL 110SA2 | bar: Week 32 Su 13
TO-23-SKL-T141-02 | SHANKILL T141 | bar: Week 32 Su 13
TO-23-LIS-SKL-1-06 | LISDRUM SHANKILL | bar: Week 32 Su 13 to Week 32 Mo 14
Outages spanning Weeks 31-32
OUTAGE ID | PLANT | Week 31 Mo 31: Week 31; Week 32 Mo 7: Week 32
|  | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo
|  | 30 | 31 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
TO-23-220 kV A2 @ AD-01 | AGHADA 220 kV A2
TO-23-220 kV B2 @ AD-01 | AGHADA 220 kV B2
TO-23-AD-SA1-2CB-01 | AGHADA 220SA1-2CB
TO-23-AD-SB1-2CB-01 | AGHADA 220SB1-2CB
TO-23-AD-T2001-03 | AGHADA T2001
TO-23-BDN-CUL-1-01 | BALLYDINE CULLENAGH
TO-23-BDN-MRK1-01 | BALLYDINE MRK1
TO-23-110 kV A2 @ CSH-01 | CASHLA 110 kV A2
TO-23-110 kV B2 @ CSH-02 | CASHLA 110 kV B2
TO-23-CSH-CAP2-04 | CASHLA CAP2
TO-23-CSH-GAL-2-02 | CASHLA GALWAY 2
TO-23-CLG-110K1-01 | CLOGHRAN 110K1
TO-23-DRY-T141-02 | DRYBRIDGE T141
TO-23-DDK-LOU-1-01 | DUNDALK LOUTH
TO-23-220 kV A2 @ FIN-02 | FINGLAS 220 kV A2
TO-23-FIN-T2104-02 | FINGLAS T2104
Report covers outages commencing/returning/spanning the period: 31/07/2023 - 13/08/2023
Outages spanning Weeks 31-32
OUTAGE ID | PLANT | Week 31 Mo 31: Week 31; Week 32 Mo 7: Week 32
|  | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo | Tu | We | Th | Fr | Sa | Su | Mo
|  | 30 | 31 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
TO-23-FLA-SLI-1-01 | FLAGFORD SLIGO
TO-23-GAL-110K2-3-02 | GALWAY 110K2-3
TO-23-GGO-220K1-2-01 | GLANAGOW 220K1-2
TO-23-INC-220K1-2-01 | INCHICORE 220K1-2
TO-23-INC-ISH-1-03 | INCHICORE IRISHTOWN
TO-23-IA-MAC-1-03 | INNISCARRA MACROOM
TO-23-KLS-220K1-2-04 | KELLIS 220K1-2
TO-23-KPG-TB-1-02 | KILPADDOGE TARBERT 1
TO-23-220 kV B1/B2 @ KRA-01 | KNOCKRAHA 220 kV B1/B2
TO-23-KRA-220K1-05 | KNOCKRAHA 220K1
TO-23-KRA-220K1-2-03 | KNOCKRAHA 220K1-2
TO-23-KRA-220SB2-4CB-02 | KNOCKRAHA 220SB2-4CB
TO-23-LET-M/CAP1-01 | LETTERKENNY M/CAP1
TO-23-110 kV A2 @ LOU-01 | LOUTH 110 kV A2
TO-23-110 kV B2 @ LOU-01 | LOUTH 110 kV B2
TO-23-220 kV A1/A2 @ LOU-03 | LOUTH 220 kV A1/A2
TO-23-220 kV A1/A2 @ LOU-01
TO-23-LOU-220K1-2-03 | LOUTH 220K1-2
TO-23-MP GIS-T4202-02 | MONEYPOINT GIS T4202
TO-23-MUL-CAP1-02 | MULLINGAR CAP1
TO-23-PB-R2002-02 | POOLBEG R2002
TO-23-PRO-TB-1-04 | PROSPECT TARBERT
TO-23-TB-220K1-2-01 | TARBERT 220K1-2
TO-23-TB-T101-02 | TARBERT T101
TO-23-TB-T2003-03 | TARBERT T2003
TO-23-TB-T2004-02 | TARBERT T2004
TO-23-TB-T2004-03
TO-23-TB-T2101-02 | TARBERT T2101
TO-23-TB-T2101-03
TO-23-THU-CAP2-01 | THURLES CAP2