## Process
IMPORTANT - PLEASE READ
Load profile request form must be submitted for any testing or changes to WFPS characteristics or software upgrades.
Test Request
1. Fill in all details highlighted in - |  | YELLOW
2. Timeline in column A may be amended/extended as appropriate.
3. Available MW in column B should be estimated based on wind forecast.
4. Submit a separate tab for each day.
5. This application must be submitted to generator_testing@eirgrid.com by 10am, 2 days prior to commencement.
Before any modification to a Generator Unit/WFPS takes place the User must inform the TSO. Modifications which are made without informing the TSO which alter the technical capabilities, flexibilities or limitations of the Unit either positively or negatively with respect to the requirements of the Grid Code may result in the withdrawal of a valid Operational Certificate or Operational Readiness Confirmation. All Users are obliged to inform the TSO of any changes to the technical capabilities, flexibilities or limitations of their Unit due to ageing of plant or apparatus.

## Within Day Profile (Test Date1)
WFPS Load Profile Request Form
Time | Available MW | MW | MVAr | Available for MW Dispatch | Available for Mvar Dispatch | Comment | UNIT NAME | (Windfarm Name)
8:00 | XX | As Required | As Required | Y | Y |  | Registered Capacity (MW) | XX
8:05 | XX | As Required | As Required | Y | Y |  | Test Date | xx/xx/20xx
8:10 | XX | As Required | As Required | Y | Y |  | Risk of Tripping During Test? | High/Low
8:15 | XX | As Required | As Required | Y | Y |  | NCC Operator Signals/Commands required? YES/NO
8:20 | XX | As Required | As Required | Y | Y |  | If NCC interaction required, outline extent; e.g. none e.g. 10 Setpoints required over 30minute period e.g. Turn frequency response on and change curve after 1 Hour.
8:25 | XX | As Required | As Required | Y | Y
8:30 | XX | As Required | As Required | Y | Y
8:35 | XX | As Required | As Required | Y | Y
8:40 | XX | As Required | As Required | Y | Y
8:45 | XX | As Required | As Required | Y | Y |  | Purpose & Description of Test/Software Update
8:50 | XX | As Required | As Required | Y | Y |  | The WFPS will be Uncontrollable/Controllable. Explain reason for test/ impact of software update; e.g. Improve ramp rate during frequency response e.g. test bumpless transfer
8:55 | XX | As Required | As Required | Y | Y
9:00 | XX | 0 | 0 | N | N
9:05 | XX | 0 | 0 | N | N
9:10 | XX | 0 | 0 | N | N
9:15 | XX | 0 | 0 | N | N |  | Contact Name | Mobile | Position/Role
9:20 | XX | 0 | 0 | N | N
9:25 | XX | 0 | 0 | N | N
9:30 | XX | 0 | 0 | N | N
9:35 | XX | 0 | 0 | N | N
9:40 | XX | 0 | 0 | N | N
9:45 | XX | 0 | 0 | N | N
9:50 | XX | 0 | 0 | N | N
9:55 | XX | 0 | 0 | N | N
10:00 | XX | 0 | 0 | N | N
10:05 | XX | 0 | 0 | N | N
10:10 | XX | 0 | 0 | N | N
10:15 | XX | 0 | 0 | N | N
10:20 | XX | 0 | 0 | N | N
10:25 | XX | 0 | 0 | N | N
10:30 | XX | 0 | 0 | N | N
10:35 | XX | 0 | 0 | N | N
10:40 | XX | 0 | 0 | N | N
10:45 | XX | 0 | 0 | N | N
10:50 | XX | As Required | As Required | Y | Y
10:55 | XX | As Required | As Required | Y | Y
11:00 | XX | As Required | As Required | Y | Y
11:05 | XX | As Required | As Required | Y | Y
11:10 | XX | As Required | As Required | Y | Y
11:15 | XX | As Required | As Required | Y | Y
11:20 | XX | As Required | As Required | Y | Y
11:25 | XX | As Required | As Required | Y | Y
11:30 | XX | As Required | As Required | Y | Y
11:35 | XX | As Required | As Required | Y | Y
11:40 | XX | As Required | As Required | Y | Y
11:45 | XX | As Required | As Required | Y | Y
11:50 | XX | As Required | As Required | Y | Y
Note on B6: Based on best available forecast
Note on I6: PLEASE ENTER THE UNIT NAME AND EMS NAME
Note on H7: Lesser of Installed Capacity and MEC. If a capacity limit is in place then it should be reflected here.

## Within Day Profile (Test Date2)
WFPS Load Profile Request Form
Time | Available MW | MW | MVAr | Available for MW Dispatch | Available for Mvar Dispatch | Comment | UNIT NAME | (Windfarm Name)
8:00 | XX | As Required | As Required | Y | Y |  | Registered Capacity (MW) | XX
8:05 | XX | As Required | As Required | Y | Y |  | Test Date | xx/xx/20xx
8:10 | XX | As Required | As Required | Y | Y |  | Risk of Tripping During Test? | High/Low
8:15 | XX | As Required | As Required | Y | Y |  | NCC Operator Signals/Commands required? YES/NO
8:20 | XX | As Required | As Required | Y | Y |  | If NCC interaction required, outline extent; e.g. none e.g. 10 Setpoints required over 30minute period e.g. Turn frequency response on and change curve after 1 Hour.
8:25 | XX | As Required | As Required | Y | Y
8:30 | XX | As Required | As Required | Y | Y
8:35 | XX | As Required | As Required | Y | Y
8:40 | XX | As Required | As Required | Y | Y
8:45 | XX | As Required | As Required | Y | Y |  | Purpose & Description of Test/Software Update
8:50 | XX | As Required | As Required | Y | Y |  | The WFPS will be Uncontrollable/Controllable. Explain reason for test/ impact of software update; e.g. Improve ramp rate during frequency response e.g. test bumpless transfer
8:55 | XX | As Required | As Required | Y | Y
9:00 | XX | 0 | 0 | N | N
9:05 | XX | 0 | 0 | N | N
9:10 | XX | 0 | 0 | N | N
9:15 | XX | 0 | 0 | N | N |  | Contact Name | Mobile | Position/Role
9:20 | XX | 0 | 0 | N | N
9:25 | XX | 0 | 0 | N | N
9:30 | XX | 0 | 0 | N | N
9:35 | XX | 0 | 0 | N | N
9:40 | XX | 0 | 0 | N | N
9:45 | XX | 0 | 0 | N | N
9:50 | XX | 0 | 0 | N | N
9:55 | XX | 0 | 0 | N | N
10:00 | XX | 0 | 0 | N | N
10:05 | XX | 0 | 0 | N | N
10:10 | XX | 0 | 0 | N | N
10:15 | XX | 0 | 0 | N | N
10:20 | XX | 0 | 0 | N | N
10:25 | XX | 0 | 0 | N | N
10:30 | XX | 0 | 0 | N | N
10:35 | XX | 0 | 0 | N | N
10:40 | XX | 0 | 0 | N | N
10:45 | XX | 0 | 0 | N | N
10:50 | XX | As Required | As Required | Y | Y
10:55 | XX | As Required | As Required | Y | Y
11:00 | XX | As Required | As Required | Y | Y
11:05 | XX | As Required | As Required | Y | Y
11:10 | XX | As Required | As Required | Y | Y
11:15 | XX | As Required | As Required | Y | Y
11:20 | XX | As Required | As Required | Y | Y
11:25 | XX | As Required | As Required | Y | Y
11:30 | XX | As Required | As Required | Y | Y
11:35 | XX | As Required | As Required | Y | Y
11:40 | XX | As Required | As Required | Y | Y
11:45 | XX | As Required | As Required | Y | Y
11:50 | XX | As Required | As Required | Y | Y
Note on B6: Based on best available forecast
Note on I6: PLEASE ENTER THE UNIT NAME AND EMS NAME
Note on H7: Lesser of Installed Capacity and MEC. If a capacity limit is in place then it should be reflected here.